## CS001
4 |  | MICROSTATION | 1) | SETUP THE MICROSTATION DRAWING WITH A BORDER INSERTED AT A SCALE OF 1:1
|  | INSERTION | 2) | COPY THE PORTION OF THE SPREADSHEET REQUIRED (SELECT AND PRESS CONTROL-C) <--- TIP: PROVIDE WHITESPACE AROUND BORDER
|  | INSTRUCTIONS: | 3) | PASTE INTO MICROSTATION USING THE "EDIT ---> PASTE SPECIAL"
|  |  | 4) | SELECT "LINKED MICROSOFT EXCEL WORKSHEET"
|  |  | 5) | SELECT "PASTE AS LINK" AND METHOD "BY SIZE"
|  |  | 6) | SELECT SCALE AS "20"
|  |  | 7) | PICK THE LOCATION TO INSERT THE TABLE
|  |  | 8) | WHEN THE SPREADSHEET IS UPDATED YOU CAN UPDATE THE MICROSTATION DRAWING USING THE "EDIT ---> UPDATE LINKS"
|  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
|  | INSTRUCTIONS: | 2) | DO NOT ENTER ANY DATA INTO THE ITEM NUMBER, ITEM DESCRIPTION & ITEM UNITS
|  |  | 3) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
|  |  | 4) | ENTER ALL DATA REQUIRED
|  |  | 5) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| ENTER DATA IN THESE COLUMNS ONLY |  |  |  |  | DO NOT ENTER DATA IN THESE COLUMNS
[7 empty] | CALC: |  | DATE: |  | SUBSUMMARY
| Page # | [5 empty] | CHECKED: |  | DATE: |  |  |  | SUPPLEMENTAL INFO
| P.28 | ITEM_CODE | ADDITIONAL_DESCRIPTION | Qty | See Sheet |  | ITEM | EXTENSION | TOTAL | UNIT | DESCRIPTION | SEE SHEET
Split #
1
| 1 | 625e00450 |  | 4 |  |  | 625 | 00450 | 4 | EACH | CONNECTION, FUSED PULL APART |  |  | 0
| 1 | 625e00460 |  | 2 |  |  | 625 | 00460 | 2 | EACH | CONNECTION, UNFUSED PULL APART |  |  | 0
| 1 | 625e18500 |  | 2 |  |  | 625 | 18500 | 2 | EACH | BRACKET ARM, 25' |  |  | 0
| 1 | 625e23000 |  | 825 |  |  | 625 | 23000 | 825 | FT | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE |  |  | 0
| 1 | 625e23400 |  | 390 |  |  | 625 | 23400 | 390 | FT | NO. 10 AWG POLE AND BRACKET CABLE |  |  | 0
1
| 1 | 625e25500 |  | 134 |  |  | 625 | 25500 | 134 | FT | CONDUIT, 3", 725.04 |  |  | 0
| 1 | 625E25902 | , 3" | 738 |  |  | 625 | 25902 | 738 | FT | CONDUIT, JACKED OR DRILLED, 725.04, 3" |  | SPECIFY SIZE | 1
| 1 | 625e26250 | , TYPE III | 2 |  |  | 625 | 26250 | 2 | EACH | LUMINAIRE, CONVENTIONAL, TYPE III |  | ADD SUPPLEMENTAL DESCRIPTION | 1
| 1 | 625e29000 |  | 118 |  |  | 625 | 29000 | 118 | FT | TRENCH |  |  | 0
| 1 | 625e30510 |  | 2 |  |  | 625 | 30510 | 2 | EACH | PULL BOX, 725.06, SIZE 4
1
| 1 | 625e30520 |  | 5 |  |  | 625 | 30520 | 5 | EACH | PULL BOX, 725.06, SIZE 7
| 1 | 625E32000 |  | 7 |  |  | 625 | 32000 | 7 | EACH | GROUND ROD |  |  | 0
| 1 | 630E79100 |  | 3 |  |  | 630 | 79100 | 3 | EACH | SIGN HANGER ASSEMBLY, MAST ARM |  |  | 0
| 1 | 630E80100 |  | 18 |  |  | 630 | 80100 | 18 | SF | SIGN, FLAT SHEET |  |  | 0
| 1 | 630e80510 |  | 1 |  |  | 630 | 80510 | 1 | EACH | SIGN, STREET NAME |  |  | 0
1
| 1 | 632E05006 |  | 7 |  |  | 632 | 05006 | 7 | EACH | VEHICULAR SIGNAL HEAD, (LED), 3-SECTION, 12" LENS, 1-WAY, POLYCARBONATE |  |  | 0
| 1 | 632E05064 |  | 2 |  |  | 632 | 05064 | 2 | EACH | VEHICULAR SIGNAL HEAD, (LED), 4-SECTION, 12" LENS, 1-WAY, POLYCARBONATE |  |  | 0
| 1 | 632E20731 |  | 4 | P.26 |  | 632 | 20731 | 4 | EACH | PEDESTRIAN SIGNAL HEAD (LED) , (COUNTDOWN), TYPE D2, AS PER PLAN | P.26 |  | 0
| 1 | 632E25000 |  | 9 |  |  | 632 | 25000 | 9 | EACH | COVERING OF VEHICULAR SIGNAL HEAD |  |  | 0
| 1 | 632E25010 |  | 4 |  |  | 632 | 25010 | 4 | EACH | COVERING OF PEDESTRIAN SIGNAL HEAD |  |  | 0
1
| 1 | 632E26001 |  | 2 | P.27 |  | 632 | 26001 | 2 | EACH | PEDESTRIAN PUSHBUTTON, AS PER PLAN | P.27 |  | 0
| 1 | 632E40500 |  | 551 |  |  | 632 | 40500 | 551 | FT | SIGNAL CABLE, 5 CONDUCTOR, NO. 14 AWG |  |  | 0
| 1 | 632E40700 |  | 938 |  |  | 632 | 40700 | 938 | FT | SIGNAL CABLE, 7 CONDUCTOR, NO. 14 AWG |  |  | 0
| 1 | 632E64020 |  | 3 |  |  | 632 | 64020 | 3 | EACH | PEDESTAL FOUNDATION |  |  | 0
| 1 | 632E64011 |  | 3 | P.27 |  | 632 | 64011 | 3 | EACH | SIGNAL SUPPORT FOUNDATION, AS PER PLAN | P.27 |  | 0
1
| 1 | 632E65200 |  | 368 |  |  | 632 | 65200 | 368 | FT | LOOP DETECTOR LEAD-IN CABLE |  |  | 0
| 1 | 632E68200 |  | 149 |  |  | 632 | 68200 | 149 | FT | POWER CABLE, 2 CONDUCTOR, NO. 6 AWG |  |  | 0
| 1 | 632e69800 |  | 15 |  |  | 632 | 69800 | 15 | FT | SERVICE CABLE, 3 CONDUCTOR, NO. 6 AWG |  |  | 0
| 1 | 632E70000 |  | 1 |  |  | 632 | 70000 | 1 | EACH | POWER SERVICE |  |  | 0
| 1 | 632E70400 |  | 1 |  |  | 632 | 70400 | 1 | EACH | CONDUIT RISER, 2" DIAMETER |  |  | 0
1
| 1 | 632E72131 |  | 1 | P.27 |  | 632 | 72131 | 1 | EACH | SIGNAL SUPPORT, TYPE TC-81.22 DESIGN 12 POLE, AS PER PLAN | P.27
| 1 | 632E79101 |  | 2 | P.27 |  | 632 | 79101 | 2 | EACH | COMBINATION SIGNAL SUPPORT, TYPE TC-81.22, DESIGN 2, AS PER PLAN | P.27
| 1 | 632E89600 |  | 1 |  |  | 632 | 89600 | 1 | EACH | PEDESTAL, 8' |  |  | 0
| 1 | 632E89750 |  | 2 |  |  | 632 | 89750 | 2 | EACH | PEDESTAL, 15'
| 1 | 632E90101 |  | 1 | P-.26 |  | 632 | 90101 | 1 | EACH | REMOVAL OF TRAFFIC SIGNAL INSTALLATION, AS PER PLAN | P-.26 |  | 0
1
| 1 | 632E90400 | PEDESTAL FOUNDATION REMOVED | 1 | P-.27 |  | 632 | 90400 | 1 | EACH | SIGNALIZATION, MISC.: PEDESTAL FOUNDATION REMOVED | P-.27 | ADD SUPPLEMENTAL DESCRIPTION | 1
| 1 | 632E90400 | STOP-LINE RADAR DETECTION RELOCATED | 1 | P-.27 |  | 632 | 90400 | 1 | EACH | SIGNALIZATION, MISC.: STOP-LINE RADAR DETECTION RELOCATED | P-.27 | ADD SUPPLEMENTAL DESCRIPTION | 1
| 1 | 633E45001 |  | 1 | P-.27 |  | 633 | 45001 | 1 | EACH | GPS (GLOBAL POSITIONING SYSTEM) CLOCK ASSEMBLY, AS PER PLAN | P-.27
| 1 | 633E65511 |  | 1 | P-.27 |  | 633 | 65511 | 1 | EACH | CABINET, TYPE TS-2, AS PER PLAN | P-.27 |  | 0
| 1 | 633E67501 |  | 1 | P-.27 |  | 633 | 67501 | 1 | EACH | UNINTERRUPTIBLE POWER SUPPLY (UPS), BATTERY REPLACEMENT, AS PER PLAN | P-.27 |  | 0
| 1 | 633E99000 | CONTROLLER, TYPE SIEMENS M-60 | 1 | P-.27 |  | 633 | 99000 | 1 | EACH | CONTROLLER ITEM, MISC.: CONTROLLER, TYPE SIEMENS M-60 | P-.27 | ADD SUPPLEMENTAL DESCRIPTION | 1
1
1
1
1
1
1