## CONTROL CENTER DATA TABLE
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | LINE VOLTS | CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | CIRCUIT NO. | CIRCUIT LOAD AMPS | CIRCUIT FUSE SIZE AMPS | CIRCUIT CABLE SIZE AWG | MAINTAINING AGENCY
PSS | 240/480V, I Phase, 3 Wire Grounded Neutral | *66 | NO. I/0 | 150 | 51 | 29.9 | 30 | PER POWER COMPANY | ODOT
| 120 |  | 1/0
| 240 |  | 2/0
| 480 |  | 2
4