## Sheet1
REFERENCE NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[5 empty] | CONNECTION, FUSED PULLAPART | CONNECTION, UNFUSED PERMANENT | CONNECTION, UNFUSED PULLAPART | LIGHT POLE, CONVENTIONAL, AT8B40 | LIGHT POLE, CONVENTIONAL, AT12B40 | LIGHT POLE FOUNDATION, 24"X8' DEEP | NO. 6 AWG 2400 VOLT DISTRIBUTION CABLE | NO. 10 AWG POLE AND BRACKET CABLE | 1-1/2" DUCT CABLE WITH THREE NO. 6 AWG 240 VOLT CABLES | CONDUIT, 3", 725.04 | LUMINARE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN, TYPE III | TRENCH, 24" DEEP | PULLBOX, 725.08, 18" | PULLBOX, 725.08, 24" | GROUND ROD | POWER SERVICE, AS PER PLAN
[5 empty] | EACH | EACH | EACH | EACH | EACH | EACH | LF | LF | LF | LF | EACH | LF | EACH | EACH | EACH | EACH
L-2 | $LP001$ | RT. | REF. "SW" | STA. 103+29.20 | 2 |  | 1 |  | 1 | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 103+29.20 TO STA. 102+59.04 | [8 empty] | 77 |  |  | 67
L-1 | $LP001$ | RT. | REF. "SW" | STA. 102+59.04 | 2 |  | 1 |  | 1 | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 102+59.04 TO STA. 102+47.97 | [8 empty] | 22 |  |  | 12
PB-1 | $LP001$ | RT. | REF. "SW" | STA. 102+47.97 |  | 3 | [10 empty] | 1
| $LP001$ |  |  | STA. 102+47.97 TO STA. 402+69.39 | [6 empty] | 282 |  |  | 84 |  | 84
PB-6 | $LP001$ | LT. | REF. "NW" | STA. 402+69.39 |  | 3 | [10 empty] | 1
| $LP001$ |  |  | STA. 402+39.39 TO STA. 402+79.39 | [8 empty] | 25 |  |  | 15
L-8 | $LP001$ | LT. | REF. "NW" | STA. 402+79.39 | 2 |  | 1 | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 402+79.39 TO STA. 403+52.44 | [8 empty] | 90 |  |  | 80
L-7 | $LP001$ | LT. | REF. "NW" | STA. 403+52.44 | 2 |  | 1 |  | 1 | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 403+52.44 TO STA. 403+71.48 | [8 empty] | 33 |  |  | 23
PB-5 | $LP001$ | LT. | REF. "NW" | STA. 403+71.48 |  | 3 | [11 empty] | 1
L-3 | $LP001$ | RT. | REF. "SE" | STA. 202+47.47 | 2 |  | 1 |  | 1 | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001$ | RT. | REF. "SE" | STA. 202+47.47 TO STA. 205+36.74 | [8 empty] | 106 |  |  | 96
L-4 | $LP001$ | RT. | REF. "SE" | STA. 205+36.74 | 2 |  | 1 | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 205+36.74 TO STA. 205+46.94 | [8 empty] | 25 |  |  | 15
PB-2 | $LP001$ | RT. | REF. "SE" | STA. 205+46.94 |  | 3 | [10 empty] | 1
| $LP001$ |  |  | STA. 205+46.94 TO STA. 303+21.11 | [6 empty] | 258 |  |  | 76 |  | 76
PB-3 | $LP001$ | RT. | REF. "NE" | STA. 303+21.11 |  | 3 | [10 empty] | 1
| $LP001$ |  |  | STA. 303+21.11 TO STA. 303+32.09 | [8 empty] | 23 |  |  | 13
L-5 | $LP001$ | RT. | REF. "NE" | STA. 303+32.09 | 2 |  | 1 |  | 1 | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 303+32.09 TO STA. 303+91.99 | [8 empty] | 68 |  |  | 58
L-6 | $LP001$ | RT. | REF. "NE" | STA. 303+91.99 | 2 |  | 1 |  | 1 | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001$ |  |  | STA. 303+91.99 TO STA. 303+21.11 | [8 empty] | 23 |  |  | 13
PB-4 | $LP001$ | RT. | REF. "NE" | STA. 303+21.11 |  | 3 | [10 empty] | 1
| $LP001$ |  |  | STA. 303+21.11 TO STA. 403+71.48 | [6 empty] | 258 |  |  | 76 |  | 76
| $LP001$ |  |  | STA. 403+71.48 TO STA. 403+89.29 | [6 empty] | 75 |  |  | 15 |  | 15
LCC | $LP001$ | LT. | REF. "NW" | STA. 403+89.29 | [15 empty] | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  |  |  | 16 | 18 | 8 | 2 | 6 | 8 | 873 | 816 | 492 | 251 | 8 | 643 | 5 | 1 | 8 | 1

## Sheet1 (Final Mod)
REFERENCE NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[5 empty] | CONNECTION, FUSED PULLAPART | CONNECTION, UNFUSED PULLAPART | CONNECTION, UNFUSED PERMANENT | LIGHT POLE, CONVENTIONAL, AT12B40 | LIGHT POLE, CONVENTIONAL, AT8B40 | LIGHT POLE, CONVENTIONAL, AT6B40 | LIGHT POLE FOUNDATION, 24"X8' DEEP | NO. 6 AWG 2400 VOLT DISTRIBUTION CABLE | NO. 10 AWG POLE AND BRACKET CABLE | 1-1/2" DUCT CABLE WITH THREE NO. 6 AWG 2400 VOLT CABLES | CONDUIT, 3", 725.04 | LUMINARE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN, TYPE III | TRENCH, 24" DEEP | UNDERGROUND WARNING/ MARKING TAPE | PULLBOX, 725.08, 24" | GROUND ROD | POWER SERVICE, AS PER PLAN
[5 empty] | EACH | EACH | EACH | EACH | EACH | EACH | EACH | LF | LF | LF | LF | EACH | LF | LF | EACH | EACH | EACH
L-5 | $LP001 | LT. | U.S. 68 | STA. 199+67.46 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 199+67.46 TO STA. 201+08.25 | [9 empty] | 166 |  |  | 156 | 156
L-6 | $LP001 | LT. | U.S. 68 | STA. 201+08.25 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 201+08.25 TO STA. 201+93.44 | [9 empty] | 122 |  |  | 112 | 112
L-7 | $LP001 | LT. | U.S. 68 | STA. 201+93.44 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 201+93.44 TO STA. 110+99.31 | [9 empty] | 117 |  |  | 107 | 107
L-8 | $LP001 | LT. | S.R. 235 | STA. 110+99.31 | 2 | 1 |  |  |  | 1 | 1 |  | 92 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 110+99.31 TO STA. 111+65.50 | [9 empty] | 96 |  |  | 86 | 86
L-9 | $LP001 | LT. | S.R. 235 | STA. 112+28.88 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 112+28.88 TO STA. 111+65.50 | [9 empty] | 76 |  |  | 66 | 66
PB-2 | $LP001 | LT. | S.R. 235 | STA. 111+65.50 |  |  | 3 | [11 empty] | 1
| $LP001 |  |  | STA. 111+65.50 TO STA. 111+75.54 | [7 empty] | 237 |  |  | 69 |  | 69 | 69
PB-3 | $LP001 | RT. | S.R. 235 | STA. 111+75.54 |  |  | 3 | [11 empty] | 1
| $LP001 |  |  | STA. 111+75.54 TO STA. 111+67.46 | [9 empty] | 19 |  |  | 9 | 9
L-10 | $LP001 | RT. | S.R. 235 | STA. 111+67.46 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 111+67.46 TO STA. 203+57.55 | [9 empty] | 95 |  |  | 85 | 85
L-11 | $LP001 | LT. | U.S. 68 | STA. 203+57.55 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 203+57.55 TO STA. 204+41.04 | [9 empty] | 88 |  |  | 78 | 78
PB-4 | $LP001 | LT. | U.S. 68 | STA. 204+41.04 |  |  | 3 | [11 empty] | 1
| $LP001 |  |  | STA. 204+41.04 TO STA. 204+43.69 | [7 empty] | 204 |  |  | 58 |  | 58 | 58
PB-1 | $LP001 | RT. | U.S. 68 | STA. 204+43.69 |  |  | 3 | [11 empty] | 1
| $LP001 |  |  | STA. 204+43.69 TO STA. 204+37.71 | [9 empty] | 27 |  |  | 17 | 17
L-12 | $LP001 | RT. | U.S. 68 | STA. 204+37.71 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 204+37.71 TO STA. 203+51.96 | [9 empty] | 110 |  |  | 100 | 100
L-4 | $LP001 | RT. | U.S. 68 | STA. 200+40.05 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 200+40.05 TO STA. 201+63.14 | [9 empty] | 142 |  |  | 132 | 132
L-3 | $LP001 | RT. | U.S. 68 | STA. 201+63.14 | 2 | 1 |  | 1 |  |  | 1 |  | 104 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 201+63.14 TO STA. 202+41.70 | [9 empty] | 96 |  |  | 86 | 86
L-2 | $LP001 | RT. | U.S. 68 | STA. 202+41.70 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 202+41.70 TO STA. 202+37.60 | [9 empty] | 119 |  |  | 109 | 109
L-1 | $LP001 | RT. | U.S. 68 | STA. 202+37.60 | 2 | 1 |  |  | 1 |  | 1 |  | 96 |  |  | 1 |  |  |  | 1
| $LP001 |  |  | STA. 202+37.60 TO STA. 203+51.96 | [9 empty] | 35 |  |  | 25 | 25
PB-5 | $LP001 | RT. | U.S. 68 | STA. 203+51.96 |  |  | 3 | [11 empty] | 1
| $LP001 |  |  | STA. 203+51.96 TO STA. 203+63.00 | [9 empty] | 32 |  |  | 22 | 22
LCC | $LP001 | RT. | U.S. 68 | STA. 203+63.00 | [16 empty] | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  |  |  | 24 | 12 | 15 | 1 | 10 | 1 | 12 | 441 | 1156 | 1340 | 127 | 12 | 1317 | 1317 | 5 | 12 | 1