ADA Curb Ramp Waiver Form

When existing physical conditions affect the feasibility of achieving full conformance with accessibility criteria in an alteration, the design/project engineer should determine what degree of usability can reasonably be achieved within the scope of the project.

Features that might contribute to the feasibility of certain accessibility features include:

- The existence of an underground structure, such as a utility vault, manhole, or sewer inlet.

- Geometric design of existing roadways, bridges, or tunnels constrained by structural elements.

- Differences in finished grade at curbside and elevations at existing building entrances at the back-of-sidewalk that may preclude compliance with cross slope provisions across the entire public sidewalk width.

- Existing fixed equipment, such as fire hydrants or street lighting located on a public sidewalk and connected to below-grade water, ground power, signal and similar distribution systems.

| Waiver Submitted By: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| First Name |  | Matthew |  |  | Email | Matthew.keating@woolpert.com |  |  |  |
| Last Name |  | Keating |  |  | Phone | 614-827-6122 | District | 8 |  |
| Project Information: |  |  |  |  |  |  |  |  |  |
| PID | 113713 |  | CRS | HAM-CR90-3.89 |  | Unique ADA Ramp ID | Pippin Rd at Stout Rd North | Ramp Type | Type B3 |
| Proposed Modification |  |  |  |  |  | Project Development Plan (PDP) Phase |  |  |  |
| No Change to Existing Ramp |  |  |  |  | [ ] | Planning |  |  | [ ] |
| Alteration of Existing Ramp |  |  |  |  | [ X ] | Design |  |  | [ X ] |
| New Construction |  |  |  |  | [ ] | Construction |  |  | [ ] |
| ADA Ramp Conditions (PROWAG Values Shown): |  |  |  |  |  |  |  |  |  |
| Ramp Slope % (Exist) 8.33% - 12:1 |  | 2.53% |  | Ramp Slope % (Prop) 8.33% - 12:1 | 5.38% | Cross Slope (Exist) 2% - 50:1 | 7.39% | Cross Slope % (Prop) 2% - 50:1 | 7.39% |
| Ramp Width (Exist) 4’min. |  | 4’ |  | Ramp Width (Prop) 4’min. | 4’ | Landing Length (Exist) 4’min. | 4’ | Landing Length (Prop) 4’ min. | 4.8’ |
| Landing Width (Exist) 4’min. |  | 4’ |  | Landing Width (Prop) 4’ min. | 4’ | Landing Cross Slope (Exist) 2% - 50:1 | 7.07% | Landing Cross Slope (Prop) 2% - 50:1 | 1.54% |
| LT Flare Slope (Exist) 10% -10:1 |  | N/A |  | LT Flare Slope (Prop) 10% -10:1 | N/A | RT Flare Slope (Exist) 10% -10:1 | N/A | RT Flare Slope (Prop) 10% -10:1 | N/A |
| Ramp Location: |  |  |  |  |  |  |  |  |  |
| Project Scope: Installing a new sidewalk along the west side of Pippin Road between Struble Road and Stout Road and improving the crossings at the intersections. |  |  |  |  | Support for Deviation: Matching existing pavement grade at bottom of curb ramp |  |  |  |  |