## SUBSUMMARY
[6 empty] | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[6 empty] | INSTRUCTIONS: | 2) | DO NOT ENTER ANY DATA INTO THE ITEM NUMBER, ITEM DESCRIPTION & ITEM UNITS
[7 empty] | 3) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[7 empty] | 4) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[7 empty] | 5) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
Page # | SUBSUMMARY SHEET | [24 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
| ITEM_CODE | [7 empty] | 625E00450 | 625E00460 | 625E00480 | 625E10490 | 625E14000 | 625E23200 | 625E23400 | 625E24320 | 625E25500 | 625E25902 | 625E26253 | 625E29002 | 625E30700 | 625E32000 | 625E34001 | 625E34450 | 625E36010
| ADDITIONAL_DESCRIPTION | [10 empty] | , AT12B40 | [5 empty] | , 3"
Split # | REF NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION |  |  |  | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[9 empty] | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PULL APART | CONNECTION, UNFUSED PERMANENT | LIGHT POLE, CONVENTIONAL, AT12B40 | LIGHT POLE FOUNDATION, 24" X 6' DEEP | NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE | NO. 10 AWG POLE AND BRACKET CABLE | 1-1/2" DUCT CABLE WITH THREE NO. 4 AWG 2400 VOLT CABLES | CONDUIT, 3", 725.04 | CONDUIT, JACKED OR DRILLED, 725.04, 3" | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN | TRENCH, 24" DEEP | PULL BOX, 725.08, 18" | GROUND ROD | POWER SERVICE, AS PER PLAN | CONTROL CENTER CABINET, COMPLETE | UNDERGROUND WARNING/MARKING TAPE
[9 empty] | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | FT | EACH | FT | EACH | EACH | EACH | EACH | FT
| CCA | P104 | RT | SR139 | 664+09, 89.5' RT | [11 empty] | 6 |  |  | 6 |  | 1 | 1 | 1 | 6
| PB1 | P104 | RT | SR139 | 664+09, 89.5' RT TO 664+11, 86.5' RT | [5 empty] | 3 |  |  | 42 |  |  | 4 |  |  | 4 | 1 |  |  |  | 4
| PB2 | P104 | RT | SR139/SR32 | 664+11, 86.5' RT TO 444+71, 69' RT | [5 empty] | 3 |  |  |  |  | 162 |  |  |  | 152 | 1 |  |  |  | 152
| 1A1 | P104 | RT | SR32 | 444+71, 69' RT TO 444+81, 70.5' RT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 21 |  |  | 1 | 11 |  | 1 |  |  | 11
| PB3 | P104 | RT | SR32 | 444+71, 69' RT TO 443+68, 69' RT | [5 empty] | 3 |  |  |  |  | 113 |  | 103 |  |  | 1
| 1A2 | P104 | RT | SR32 | 443+68, 69' RT TO 443+37, 63' RT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 42 |  |  | 1 | 32 |  | 1 |  |  | 32
| 1A3 | P104 | RT | SR32 | 443+37, 63' RT TO 436+30, 62' RT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 720 |  |  | 1 | 710 |  | 1 |  |  | 710
| 1A4 | P104 | RT | SR32 | 436+30, 62' RT TO 434+83, 85.5' RT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 164 |  |  | 1 | 154 |  | 1 |  |  | 154
| PB4 | P104 | RT/LT | SR32 | 443+68, 69' RT TO 443+68, 59.5' LT | [5 empty] | 3 |  |  |  |  | 139 |  | 129 |  |  | 1
| 1A5 | P104 | LT | SR32 | 443+68, 59.5' LT TO 444+21, 69' LT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 66 |  |  | 1 | 56 |  | 1 |  |  | 56
| PB5 | P104 | LT | SR32 | 444+21, 69' LT TO 444+32, 66.5' LT | [5 empty] | 3 |  |  |  |  | 22 |  |  |  | 12 | 1 |  |  |  | 12
| PB6 | P104 | LT | SR32 | 444+32, 66.5' LT TO 445+38, 66.5' LT | [5 empty] | 3 |  |  |  |  | 116 |  | 106 |  |  | 1
| 1A6 | P104 | LT | SR32 | 445+38, 66.5' LT TO 445+65, 64.5' LT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 38 |  |  | 1 | 28 |  | 1 |  |  | 28
| 1A7 | P104 - P105 | LT | SR32 | 445+65, 64.5' LT TO 449+66, 62' LT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 414 |  |  | 1 | 404 |  | 1 |  |  | 404
| 1A8 | P105 | LT | SR32 | 449+66, 62' LT TO 451+15, 85.5' LT |  |  |  | 1 | 1 |  | 1 | 1 |  | 171 | 166 |  |  | 1 | 156 |  | 1 |  |  | 156
Total | TOTALS CARRIED TO GENERAL SUMMARY | [7 empty] | 8 | 8 | 18 | 8 | 8 | 42 | 1368 | 2183 | 10 | 338 | 8 | 1725 | 6 | 9 | 1 | 1 | 1725
Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
Split # | REF NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION
Total | TOTALS CARRIED TO GENERAL SUMMARY
Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
Split # | REF NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION
Total | TOTALS CARRIED TO GENERAL SUMMARY
Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
Split # | REF NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION
Total | TOTALS CARRIED TO GENERAL SUMMARY