## SignalSubsummary (1 of 3)
SHEET NO. | REF NO. | LOCATION | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 630 | 630 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 633 | 633 | 633 | 633 | 809 | 809 | 809
|  |  | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PULL APART | BRACKET ARM, 20', AS PER PLAN | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE, AS PER PLAN (GROUNDING AND BONDING) | NO. 8 AWG 600 VOLT DISTRIBUTION CABLE (COMBINATION LIGHTING) | NO. 10 AWG POLE AND BRACKET CABLE, 600 VOLT | CONDUIT, CONCRETE ENCASED, 2" | CONDUIT, 2", 725.04 | CONDUIT, 4", 725.04 | CONDUIT, JACKED OR DRILLED, 4", 725.04 | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN (150W, 120V, TYPE II) | TRENCH, 24" DEEP | PULL BOX, 725.08, 24" | GROUND ROD | SIGN ATTACHMENT ASSEMBLY, MAST ARM | SIGN, STREET NAME | VEHICULAR SIGNAL HEAD, (LED), 3-SECTION, 12" LENS, 1-WAY, POLYCARBONATE, AS PER PLAN | VEHICULAR SIGNAL HEAD, (LED), 5-SECTION, 12" LENS, 1-WAY, POLYCARBONATE, AS PER PLAN | PEDESTRIAN SIGNAL HEAD (LED), TYPE D2, COUNTDOWN, AS PER PLAN | COVERING OF VEHICULAR SIGNAL HEAD, AS PER PLAN | PEDESTRIAN PUSHBUTTON, AS PER PLAN | SIGNAL CABLE, 5 CONDUCTOR, NO. 14 AWG | SIGNAL CABLE, 7 CONDUCTOR, NO. 14 AWG | SIGNAL SUPPORT FOUNDATION | PEDESTAL FOUNDATION | POWER CABLE, 3 CONDUCTOR, NO. 8 AWG | POWER SERVICE, AS PER PLAN | COMBINATION SIGNAL SUPPORT, TYPE TC-81.22, DESIGN 13, AS PER PLAN | PEDESTAL, 10', TRANSFORMER BASE, AS PER PLAN | PEDESTAL, 15', TRANSFORMER BASE, AS PER PLAN | REMOVAL OF TRAFFIC SIGNAL INSTALLATION, AS PER PLAN | CABINET, TYPE TS-2, AS PER PLAN | CABINET FOUNDATION, AS PER PLAN | CONTROLLER WORK PAD, AS PER PLAN | UNINTERRUPTIBLE POWER SUPPLY (UPS), 1000 WATT, AS PER PLAN | ADVANCE RADAR DETECTION, AS PER PLAN | STOP LINE RADAR DETECTION, AS PER PLAN | ATC CONTROLLER, AS PER PLAN
|  |  | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | FT | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | EACH | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH
65 |  | BROAD ST. & SUMMIT RD. | [19 empty] | 16 | [10 empty] | 1
| C-1 | GROUND MOUNTED CABINET |  |  |  | 30 | [9 empty] | 1 | [17 empty] | 1 | 1 | 1 | 1 |  |  | 1
| POW.-1 | POWER SERVICE | [26 empty] | 1
| SP-1 | SIGNAL SUPPORT |  |  |  | 30 | 60 | [8 empty] | 1 | [9 empty] | 1 |  |  |  | 1
| SP-2 | SIGNAL SUPPORT |  |  |  | 30 | 60 | [8 empty] | 1 | [9 empty] | 1 |  |  |  | 1
| SP-3 | SIGNAL SUPPORT |  |  |  | 30 | 60 | [8 empty] | 1 | [9 empty] | 1 |  |  |  | 1
| SP-4 | SIGNAL SUPPORT |  |  |  | 30 | 60 | [8 empty] | 1 | [9 empty] | 1 |  |  |  | 1
| PS-1A | 10' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  | 1
| PS-2A | 10' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  | 1
| PS-3A | 10' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  | 1
| PS-4A | 10' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  | 1
| PS-1B | 15' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  |  | 1
| PS-2B | 15' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  |  | 1
| PS-3B | 15' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  |  | 1
| PS-4B | 15' PEDESTAL SUPPORT |  |  |  | 30 | [9 empty] | 1 | [6 empty] | 1 |  |  |  | 1 |  |  |  |  | 1
| 1A | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 2A | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 2B | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 2C | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 3A | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 4A | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 4B | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 4C | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 5A | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 6A | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 6B | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 6C | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 7A | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 8A | VEHICULAR SIGNAL HEAD | [16 empty] | 1
| 8B | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 8C | VEHICULAR SIGNAL HEAD | [17 empty] | 1
| 2a | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 2b | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 4a | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 4b | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 6a | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 6b | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 8a | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
| 8b | PEDESTRIAN SIGNAL HEAD | [18 empty] | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  | - | - | - | 390 | 240 | - | - | - | - | - | - | - | - | 13 | - | - | 8 | 8 | 8 | 16 | 8 | - | - | 4 | 8 | - | 1 | 4 | 4 | 4 | 1 | 1 | 1 | 1 | 1 | - | - | 1