## SignalSubsummary (2 of 3)
SHEET NO. | REF NO. | LOCATION | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 630 | 630 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 633 | 633 | 633 | 633 | 809 | 809 | 809
|  |  | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PULL APART | BRACKET ARM, 20', AS PER PLAN | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE, AS PER PLAN (GROUNDING AND BONDING) | NO. 8 AWG 600 VOLT DISTRIBUTION CABLE (COMBINATION LIGHTING) | NO. 10 AWG POLE AND BRACKET CABLE, 600 VOLT | CONDUIT, CONCRETE ENCASED, 2" | CONDUIT, 2", 725.04 | CONDUIT, 4", 725.04 | CONDUIT, JACKED OR DRILLED, 4", 725.04 | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN (150W, 120V, TYPE II) | TRENCH, 24" DEEP | PULL BOX, 725.08, 24" | GROUND ROD | SIGN ATTACHMENT ASSEMBLY, MAST ARM | SIGN, STREET NAME | VEHICULAR SIGNAL HEAD, (LED), 3-SECTION, 12" LENS, 1-WAY, POLYCARBONATE, AS PER PLAN | VEHICULAR SIGNAL HEAD, (LED), 5-SECTION, 12" LENS, 1-WAY, POLYCARBONATE, AS PER PLAN | PEDESTRIAN SIGNAL HEAD (LED), TYPE D2, COUNTDOWN, AS PER PLAN | COVERING OF VEHICULAR SIGNAL HEAD, AS PER PLAN | PEDESTRIAN PUSHBUTTON, AS PER PLAN | SIGNAL CABLE, 5 CONDUCTOR, NO. 14 AWG | SIGNAL CABLE, 7 CONDUCTOR, NO. 14 AWG | SIGNAL SUPPORT FOUNDATION | PEDESTAL FOUNDATION | POWER CABLE, 3 CONDUCTOR, NO. 8 AWG | POWER SERVICE, AS PER PLAN | COMBINATION SIGNAL SUPPORT, TYPE TC-81.22, DESIGN 13, AS PER PLAN | PEDESTAL, 10', TRANSFORMER BASE, AS PER PLAN | PEDESTAL, 15', TRANSFORMER BASE, AS PER PLAN | REMOVAL OF TRAFFIC SIGNAL INSTALLATION, AS PER PLAN | CABINET, TYPE TS-2, AS PER PLAN | CABINET FOUNDATION, AS PER PLAN | CONTROLLER WORK PAD, AS PER PLAN | UNINTERRUPTIBLE POWER SUPPLY (UPS), 1000 WATT, AS PER PLAN | ADVANCE RADAR DETECTION, AS PER PLAN | STOP LINE RADAR DETECTION, AS PER PLAN | ATC CONTROLLER, AS PER PLAN
|  |  | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | FT | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | EACH | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH
65 |  | BROAD ST. & SUMMIT RD.
| D-1 | RADAR DETECTION | [36 empty] | 1
| D-2 | RADAR DETECTION | [35 empty] | 1
| D-4 | RADAR DETECTION | [36 empty] | 1
| D-5 | RADAR DETECTION | [36 empty] | 1
| D-6 | RADAR DETECTION | [35 empty] | 1
| D-8 | RADAR DETECTION | [36 empty] | 1
| L-1 | LIGHTING | 1 | 1 | 1 | [7 empty] | 1
| L-2 | LIGHTING | 1 | 1 | 1 | [7 empty] | 1
| L-3 | LIGHTING | 1 | 1 | 1 | [7 empty] | 1
| L-4 | LIGHTING | 1 | 1 | 1 | [7 empty] | 1
| PB-1 | PULL BOX | [12 empty] | 1
| PB-2 | PULL BOX | [12 empty] | 1
| PB-3 | PULL BOX | [12 empty] | 1
| PB-4 | PULL BOX | [12 empty] | 1
| PB-5 | PULL BOX | [12 empty] | 1
| PB-6 | PULL BOX | [12 empty] | 1
| PB-7 | PULL BOX | [12 empty] | 1
| PB-8 | PULL BOX | [12 empty] | 1
| POW. 1 TO PB-1 | CONDUIT | [6 empty] | 16 |  |  |  |  | 16
| PB-1 TO C-1 | CONDUIT | [6 empty] | 12 |  |  |  |  | 12
| C-1 TO PB-2 | CONDUIT | [8 empty] | 10 |  |  | 5
| PB-2 TO PS-1A | CONDUIT | [7 empty] | 32 |  |  |  | 32
| PB-2 TO PB-3 | CONDUIT | [8 empty] | 34 |  |  | 34
| PB-3 TO SP-1 | CONDUIT | [8 empty] | 18 |  |  | 18
| PB-3 TO PS-1B | CONDUIT | [7 empty] | 25 |  |  |  | 25
| PB-3 TO PB-4 | CONDUIT | [9 empty] | 118
| PB-4 TO SP-3 | CONDUIT | [8 empty] | 17 |  |  | 17
| PB-4 TO PS-3A | CONDUIT | [7 empty] | 16 |  |  |  | 16
| PB-4 TO PS-3B | CONDUIT | [7 empty] | 22 |  |  |  | 22
| PB-4 TO PB-5 | CONDUIT | [9 empty] | 107
| PB-5 TO PS-4A | CONDUIT | [7 empty] | 17 |  |  |  | 17
| PB-5 TO PB-6 | CONDUIT | [8 empty] | 52 |  |  | 52
| PB-6 TO SP-4 | CONDUIT | [8 empty] | 27 |  |  | 27
| PB-6 TO PS-4B | CONDUIT | [7 empty] | 16 |  |  |  | 16
| PB-6 TO PB-7 | CONDUIT | [9 empty] | 103
| PB-7 TO PS-2A | CONDUIT | [7 empty] | 25 |  |  |  | 25
| PB-7 TO PB-8 | CONDUIT | [8 empty] | 37 |  |  | 37
| PB-8 TO SP-2 | CONDUIT | [8 empty] | 23 |  |  | 23
| PB-8 TO PS-2B | CONDUIT | [7 empty] | 21 |  |  |  | 21
| PB-8 TO PB-2 | CONDUIT | [9 empty] | 103
TOTALS CARRIED TO GENERAL SUMMARY |  |  | 4 | 4 | 4 | - | - | - | 28 | 174 | 218 | 431 | 4 | 415 | 8 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2 | 4 | -