## SignalSubsummary (3 of 3)
SHEET NO. | REF NO. | LOCATION | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 630 | 630 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | 633 | 633 | 633 | 633 | 809 | 809 | 809
|  |  | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PULL APART | BRACKET ARM, 20', AS PER PLAN | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE, AS PER PLAN (GROUNDING AND BONDING) | NO. 8 AWG 600 VOLT DISTRIBUTION CABLE (COMBINATION LIGHTING) | NO. 10 AWG POLE AND BRACKET CABLE, 600 VOLT | CONDUIT, CONCRETE ENCASED, 2" | CONDUIT, 2", 725.04 | CONDUIT, 4", 725.04 | CONDUIT, JACKED OR DRILLED, 4", 725.04 | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN (150W, 120V, TYPE II) | TRENCH, 24" DEEP | PULL BOX, 725.08, 24" | GROUND ROD | SIGN ATTACHMENT ASSEMBLY, MAST ARM | SIGN, STREET NAME | VEHICULAR SIGNAL HEAD, (LED), 3-SECTION, 12" LENS, 1-WAY, POLYCARBONATE, AS PER PLAN | VEHICULAR SIGNAL HEAD, (LED), 5-SECTION, 12" LENS, 1-WAY, POLYCARBONATE, AS PER PLAN | PEDESTRIAN SIGNAL HEAD (LED), TYPE D2, COUNTDOWN, AS PER PLAN | COVERING OF VEHICULAR SIGNAL HEAD, AS PER PLAN | PEDESTRIAN PUSHBUTTON, AS PER PLAN | SIGNAL CABLE, 5 CONDUCTOR, NO. 14 AWG | SIGNAL CABLE, 7 CONDUCTOR, NO. 14 AWG | SIGNAL SUPPORT FOUNDATION | PEDESTAL FOUNDATION | POWER CABLE, 3 CONDUCTOR, NO. 8 AWG | POWER SERVICE, AS PER PLAN | COMBINATION SIGNAL SUPPORT, TYPE TC-81.22, DESIGN 13, AS PER PLAN | PEDESTAL, 10', TRANSFORMER BASE, AS PER PLAN | PEDESTAL, 15', TRANSFORMER BASE, AS PER PLAN | REMOVAL OF TRAFFIC SIGNAL INSTALLATION, AS PER PLAN | CABINET, TYPE TS-2, AS PER PLAN | CABINET FOUNDATION, AS PER PLAN | CONTROLLER WORK PAD, AS PER PLAN | UNINTERRUPTIBLE POWER SUPPLY (UPS), 1000 WATT, AS PER PLAN | ADVANCE RADAR DETECTION, AS PER PLAN | STOP LINE RADAR DETECTION, AS PER PLAN | ATC CONTROLLER, AS PER PLAN
|  |  | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | FT | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | EACH | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH
65 |  | BROAD ST. & SUMMIT RD.
| C-1 TO 1A | VEH. SIGNAL CABLE | [22 empty] | 144
| C-1 TO 6A, 6B | VEH. SIGNAL CABLE | [22 empty] | 143
| C-1 TO 4C | VEH. SIGNAL CABLE | [22 empty] | 103
| C-1 TO 3A | VEH. SIGNAL CABLE | [22 empty] | 278
| C-1 TO 8A, 8B | VEH. SIGNAL CABLE | [22 empty] | 277
| C-1 TO 6C | VEH. SIGNAL CABLE | [21 empty] | 229
| C-1 TO 5A | VEH. SIGNAL CABLE | [22 empty] | 379
| C-1 TO 2A, 2B | VEH. SIGNAL CABLE | [22 empty] | 378
| C-1 TO 8C | VEH. SIGNAL CABLE | [22 empty] | 313
| C-1 TO 7A | VEH. SIGNAL CABLE | [22 empty] | 229
| C-1 TO 4A, 4B | VEH. SIGNAL CABLE | [22 empty] | 228
| C-1 TO 2C | VEH. SIGNAL CABLE | [21 empty] | 168
| C-1 TO 4a | PED. SIGNAL CABLE | [21 empty] | 95
| C-1 TO 6a | PED. SIGNAL CABLE | [21 empty] | 103
| C-1 TO 6b | PED. SIGNAL CABLE | [21 empty] | 217
| C-1 TO 8a | PED. SIGNAL CABLE | [21 empty] | 223
| C-1 TO 8b | PED. SIGNAL CABLE | [21 empty] | 330
| C-1 TO 2b | PED. SIGNAL CABLE | [21 empty] | 313
| C-1 TO 2a | PED. SIGNAL CABLE | [21 empty] | 214
| C-1 TO 4b | PED. SIGNAL CABLE | [21 empty] | 168
| POW.-1 TO C-1 | POWER CABLE | [25 empty] | 43
| C-1 TO L-1 | POWER CABLE | [5 empty] | 58 | [19 empty] | 132
| C-1 TO L-2 | POWER CABLE | [5 empty] | 57 | [19 empty] | 205
| C-1 TO L-3 | POWER CABLE | [5 empty] | 57 | [19 empty] | 254
| C-1 TO L-4 | POWER CABLE | [5 empty] | 58 | [19 empty] | 360
| S1 | SIGNING | [14 empty] | 1 | 1
| S2 | SIGNING | [14 empty] | 1 | 1
| S3 | SIGNING | [14 empty] | 1 | 1
| S4 | SIGNING | [14 empty] | 1 | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  | - | - | - | - | - | 230 | - | - | - | - | - | - | - | - | 4 | 4 | - | - | - | - | - | 2060 | 2472 | - | - | 994 | - | - | - | - | - | - | - | - | - | - | - | -