## Power Service
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | POWER SERVICE VOLTAGE AND CONFIGURATION | CONTROL CENTER TOTAL CONNECTED LOAD (kVA) | SERVICE ENTRANCE CONDUCTOR SIZE (AWG) | ENCLOSURE RATING (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT FUSE SIZE (AMPS) | BRANCH CIRCUIT NO. | CIRCUIT TYPE | LIGHT POLE NO. | BRANCH CIRCUIT VOLTAGE (VOLTS) | BRANCH CIRCUIT LOAD (AMPS) | BRANCH CIRCUIT BREAKER SIZE (AMPS) | BRANCH CIRCUIT CABLE SIZE | MAINTAINING AGENCY
DA | 120 / 240 3-WIRE | 1.5192 | 4 | 60 | 6.33 | 30 | 1 | LIGHTING | LP-DA1-1-11 | 240 | 6.33 | 20 | 4 | ODOT