## PowerService
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | POWER SERVICE VOLTAGE AND CONFIGURATION | CONTROL CENTER TOTAL CONNECTED LOAD (kVA) | SERVICE ENTRANCE CONDUCTOR SIZE (AWG) | ENCLOSURE RATING (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT FUSE SIZE (AMPS) | BRANCH CIRCUIT NO. | BRANCH CIRCUIT VOLTAGE (VOLTS) | BRANCH CIRCUIT LOAD (AMPS) | BRANCH CIRCUIT BREAKER SIZE (AMPS) | BRANCH CIRCUIT CABLE SIZE | MAINTAINING AGENCY
PI | 480 | 10.176 | 1 | 60 | 21.2 | 30 | 1 | 480 | 14.1 | 20 | 4 | ODOT
[7 empty] | 2 | 480 | 7.1 | 15 | 4
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | POWER SERVICE VOLTAGE AND CONFIGURATION | CONTROL CENTER TOTAL CONNECTED LOAD (kVA) | SERVICE ENTRANCE CONDUCTOR SIZE (AWG) | ENCLOSURE RATING (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT FUSE SIZE (AMPS) | BRANCH CIRCUIT NO. | BRANCH CIRCUIT VOLTAGE (VOLTS) | BRANCH CIRCUIT LOAD (AMPS) | BRANCH CIRCUIT BREAKER SIZE (AMPS) | BRANCH CIRCUIT CABLE SIZE | MAINTAINING AGENCY
NAS | 480 | 3.744 | 1 | 60 | 7.8 | 30 | 1 | 480 | 7.8 | 15 | 4 | ODOT
NAN | 480 | 5.808 | 4 | 60 | 12.1 | 30 | 1 | 480 | 12.1 | 20 | 4 | ODOT