## Project Sites
Site | Voltage | Include on Project? | Notes | Power Service APP | Step down transformers | AEP Notes | Power Service Types
I-70 at Cole Rd | 480 | No | Currently has disconnect on power companny pole outside of ROW fence and then goes underground to our ground mounted stannd with disconnects and transformer. Everything is in pretty good shape right now so maybe leave unmetered for now
I-70 at I-270 (West Side) | 120 | Yes | Currently 2 separate 120V power drops on the same pole. | E |  | AEP - 120/240 | A | 0 | Keep 1 at least on the projeect even if this is zero
IR-70 EB @ Fisher Rd | 120 | No | Top of City signal pole
I-70 at I-670, I-70 EB past Harper Rd underpass | 120? | Yes | Need to check voltage maybe | E |  | AEP - 120/240 | B | 15
I-70 at Mound St | 120 | No | Top of City signal pole
IR-70 EB @ S Ohio Ave | 120 | No | Top of City signal pole
IR-70 EB @ Bulen Ave | 120 | No | Abandoned, not using the cabinet his feeds anymore.
I-70 at US-33 | 120 | Yes | Upgrade power service to metered on existing pole | E |  | AEP - 120/240 | C | 0 | Keep 1 at least on the projeect even if this is zero
IR-70 EB @ S James Rd NB | 120 | No | Abandoned, no cabinet where this feeds anymore.
IR-70 WB @ Courtright Rd | 480 | No | 480V, HIghway lighting center. Keep as is for now.
I-70 EB at Hamilton Rd | 120 | No | Abandoned, not using the cabinet his feeds anymore.
I-70 at I-270 (East Side) | 480 | Yes | We can remove HAR equipment on the same pole in-house. | E |  | AEP - 120/240 | D | 0 | Keep 1 at least on the projeect even if this is zero
IR-70 EB @ Brice Rd | ? | No | Think this maybe feeds lighting
I-70 EB at East of Brice Rd (WB DMS) | 120 | Yes | Upgrade power service to metered on existing pole | E |  | AEP - 120/240 | E | 32
I-70 EB at West of SR-256 D5? | 120 | Yes | Upgrade power service to metered on existing pole | E |  | AEP - 120/240 | F | 2
I-70 at SR-256 D5? | 120 | Yes | Power service has a disconnect on a post next to the cell tower. Need to upgrade to metered and need to figure out what power company it is. Need to call power companies and meet in the field and figure out a plan. | B |  | AEP - 120/240 | G | 0 | Remove if zero. Trying to avoid tying into highway lighting from now on
I-71 NB @ Hoover Rd | 480 | Yes | Upgrade power service to metered on existing pole | E |  | AEP - 120/240 (As of Google car view Sept 2019 this is not 480V) | Total | 49
IR-71 NB @ Stringtown Rd WB | ? | No | Don't think anything needed here. New project putting in new service also.
I-71 at I-270 (south side) | 480 | No | Should be upgraded on I-71 mega fix widening project which installed new camera
I-71 NB at South of Frank Rd DMS | 120 | No | Getting upgraded with I-71 south side mega fix
IR-71 NB @ SR-104 | 120 | No | Getting upgraded with I-71 south side mega fix
I-71 NB @ Greenlawn Ave. | 120 | No | Getting upgraded with I-71 south side mega fix
I-71 SB at 2nd Ave | 120 | No | Site has been abandoned
I-71 NB at south of 11th Ave | 120 | Yes | Not sure if AEP or City DOP drop. Looks like AEP. Shouold be able to use existing pole | E |  | AEP - 120/240
I-71 at North of 11th Ave | 120 | Yes | Not sure if AEP or City DOP drop. | E |  | AEP - 120/240 | Power Service APP A – New 120V Power Service Pole-Mounted with new pole and everything
I-71 NB at south of 17th Ave does this exist? Where? | 120 | Yes | Not sure if AEP or City DOP drop. | E |  | AEP - 120/240 | Power Service APP B – New 120V Power Service Ground-Mounted with new stand and everything
I-71 SB at 17th Ave | 120 | Yes | Not sure if AEP or City DOP drop. | E |  | City of Columbus Power | Power Service APP C – New 480V Power Service Pole-Mounted with new pole and everything
I-71 NB at 17th Ave | 120 | No | Top of City signal pole
I-71 SB at N of 17th Ave | 120 | Yes | Current disconnect on truss end frame. Paul said power comes from here near Haiwatha Ave and think it is 120V. Change to 480V Service and upgrade to metered and evereything on existing pole Install step down transformer on stand next to DMS trurss and remove old disconnect on truss end frame. | E | 1 | ?
I-71 NB at N of 17th Ave | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept and install a ground mounted power service stand. | B |  | ? | Power Service APP D – New 480V Power Service Ground-Mounted with new stand and everything
I-71 NB at Hudson St | 120 | No | Top of City signal pole
I-71 SB at Hudson St | 480 | No | Connected to highway lighting with own disconnect and transformer stand. Keep.
I-71 NB at Hudson St | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept and install a ground mounted power service stand. | B |  | AEP - 120/240 | Power Service APP E – Existing 120V or 480V pole mounted service. New meter base, disconnect, and conduit connections on existing pole
I-71 NB at South of Weber Rd | 120 | No | Direct feed coming through here somewhere for old radar site which is now abandoned.
I-71 SB at Weber Rd | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept and install a ground mounted power service stand. Feeds ramp meter and then camera I believe | B |  | ? | Power Service APP F – Existing Traffic Signal power service. New disconnects and conduit to tie into existing service
I-71 SB at North Broadway | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept meter/disconnect on existing pole? | E |  | AEP - 120/240 | Power Service APP G – Existing Highway Lighting power service. New disconnects and conduit to tie into existing service
I-71 NB at N of North Broadway | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept and install a ground mounted power service stand. | B |  | Abandoned Site now. Do not do
I-71 NB at South of Cooke Rd | 120 | No | Power service direct feed to cabinet currently I think. Believe this feeds an abandoned cabient which doesn't need power.
I-71 SB at Cooke Rd | 120 | No | Top of City signal pole. Disconnect it good shape.
I-71 NB at Cooke Rd | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept and install a ground mounted power service stand. There is a lighting service on the other side of Cooke Rd as well but don't think our service comes from there. | B |  | ? (Looks like AEP feeds one and the City of Columbus feeds one. There is a meter there.
I-71 SB at Morse Rd (Power on NB side) | 120 | Yes | Power service direct feed to cabinet currently I think. Can we intercept and install a ground mounted power service stand. | B |  | ?
I-71 SB at Sinclair Rd | 120 | No | Top of City signal pole
I-71 NB at North of Morse Rd | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 NB at Pedestrian bridge between Morse and SR-161 | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 NB at South of SR-161 | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 NB at just South of SR-161 | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 NB at just North of SR-161 LCC | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 NB at North of SR-161 LCC | 480 | No | Lighting conctrol center I believe
I-71 NB at South of Schrock Rd | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 at I-270 (North Side) | 480 | No | Lighting conctrol center and ITS power feeds
I-71 at Park Rd | 120 | Yes | Replace power service on existing pole | E |  | AEP - 120/240
I-71 NB at South of Polaris Pkwy | 120 | No | Direct feed coming through here somewhere for old VDS site which is now abandoned.
I-71 at Polaris Pkwy | 120 | No | Power from city signal
I-71 NB at Gemini Pl | 480 | No | Recently rebuilt on FY19 CCTV project
I-71 SB at E Powell Rd | 120 | Yes | Replace power service on existing pole | E |  | AEP - 120/240
I-270 SB at Roberts Rd | 120 | Yes | Same power service runs SB signal, camera, and ramp meter, long run also. Paul looked into and said need to redesign. Likely needs a 480V service now and step-down transformer in at least one location. | E | 1 | AEP - 120/208 Single Phase | Will need special power service possibly and new cable and step-down transformer stand. Paul thinks we could get a whole new drop closer to the ramp meter maybe. Need to talk to D6 about it and eventually create plan sheet for a work order.
I-270 NB at Roberts Rd | 120 | Yes | Replace power service on existing pole. There are 2 aerial drops and separate disconnect existing here. Think one feeds the traffic signal and one feeds our ramp meter. Replace the one for our ramp meter only. | E |  | AEP - 240/480
I-270 at Cemetery Rd | 120 | No | Power from city signal. This disconnect feeds the camera site and RWIS now and looks to be okay for now.
Cemetery Rd to I-270 SB LCC | 480 | No | Lighting Control Center and other power
I-270 at Tuttle Crossing Blvd | 120 | No | Already have a metered service.
I-270 at US-33/SR-161 (NW side) | 120 | No | Already have a metered service.
I-270 at Dublin Rd | 120 | Yes | Power service disconnect on power company pole right now. Can we intercept and install a ground mounted power service stand. | B |  | AEP - 120/240
I-270 WB repeator Emerald Pkwy @ Grandee Cliffs Dr | 120 | No | Abandoned
I-270 at Sawmill Pkwy | 120 | Yes | Existing post with disconnect on it. Where is it fed from. Could we add meter base here or does power come from somewhere else. | B |  | AEP - 120/240 (AEP thinks this is fed from the pole at the on ramp to I-270 Eastbound | Probably want to replace the existing post
I-270 at Smoky Row Rd | 120 | Yes | Existing aerial drop to pole with disconnect. Think this is a 120V feed which feeds camera only (used to think went to DMS also but doesn't). Let's upgrade 120V service on exiting pole a | E |  | AEP - (There are 2 poles with O/H drops. The one on the east side is fed 480V. The one on the west side is fed 240/480)
I-270 at Smoky Row Rd | 120 | Yes | 120V Service for DMS from Neighborhood now. | B
I-270 at SR-315 | 480 | No | HIghway lighting 480V power drop, feeds to power distribution cabinet which feeds ODOT ITS cabinets and City Node cabinets as well, installed with CTSS Phase A
I-270 WB at Worthington-Galena Rd | 120 | Yes | Update: Now think power service is existing pole mounted service just west of Worthington Galena Rd overpass. Upgrade service on existing pole and install a new 50' pole with a camera as well. | E
I-270 WB at Cooper Rd | 480 | Yes | 480V Service for DMS on existing pole with a disconnect. There is a highway lighting service next to it as well but separate. Can we get a 480V metered service on the existing pole? | E
I-270 at SR-3, Westerville Rd | 120 | No | Share power service with traffic signal now and D6 has a meter ahead of both our disconnects I believe.
I-270 at SR-161 (NE Side) | 120 | No | Share power with D6. The more southern of the two tunnel lighting control centers has a breaker in it labeled “power to camera 61”. Although our lighting is 480 volt we have step down transformers for the tunnel fire alarm and other components.
SR-161 at Little Turtle | 120 | No | Not metered but this is power service for signals and everything. ITS have our own disconnect where the camera is.
I-270 NB @ S Sunbury Rd | 120 | Yes | Replace power service on existing pole | E |  | FY23 Project with Camera
I-270 at Morse Rd | 120 | No | Top of City signal pole
I-270 at I-670 | 120 | Yes | Replace power service on existing pole. Believe ITS power service is 120V and not metered currently. There is a highlight lighting service next to here also which is metered. | E
I-270 at North of Hamilton Rd | 120 | Yes | Site now being used as replacement for Goshen Ln. Upgrade service on existing pole. Clear/grub. | E
I-270 WB at West of Hamilton Rd | 120 | No | Abandoned site
I-270 WB at Hamilton Rd | 120 | No | Power from traffic sginal cabinet
I-270 EB at Hamilton Rd | 120 | No | Power from traffic sginal cabinet
I-270 at E Broad St/SR-16 | 480 | No | Power from lighting control center.
I-270 at US-33 (SE Side)/ Winchester Pike | 480 | Yes | New disconnect was recently installed on our 480 service which splits separately from lighting at the top of the pole. Maybe we can install new meter base on existing pole and get a separate drop completely from AEP. Also, could install a transformer stand near the pole/cabinet to replace the transformer mounted on the side of the cabinet but that could change on an upcoming project someday anyway. | E |  | FY23 Project
I-270 at Williams Rd | 120 | No | Being upgraded on FY20 Maintenance project
I-270 EB at Alum Creek Dr | 120 | No | Shares power with traffic signal which is already metered.
I-270 at US-23 (South side) | 480 | Yes | 480 service which splits separately from lighting at the top of the pole. Maybe we can install new meter base on existing pole and get a separate drop completely from AEP. Also, could install a transformer stand near the pole/cabinet to replace the transformer mounted on the side of the cabinet but that could change on an upcoming project someday anyway. | E |  | Done with moving camera pole work order and got power from City stand
I-270 at SR-104 | 120 | Yes | Direct feed coming from this power company pole I believe. Looks like there is a riser going down the pole and not sure if there is a disconnect or anything. Need to investigate if we can maybe intercept near the ROW fence and install a ground mounted power service stand or get new aerial drop to the cantilever and install meter base there. The area is very overgrown and need to clear as many trees as possible next to bridge and past power pole within ODOT ROW. | B |  | FY23 Project
I-270 at Gantz Rd | 120 | No | Being upgraded on FY20 Maintenance project
I-270 WB at US-62/Harrisburg Pike | 120 | Yes | Power from traffic signal currently. Looks like we may have an old disconnect which is separate and has it's own drop. Should possibly tie into signals power service since it's metered already or request our own new service. May need to ask D6 what they think. | F |  | FY23 Project
I-270 at Georgesville Rd | 120 | No | Top of City signal pole
I-270 at US-40/W Broad St | 120 | No | Share power with traffic signal and same disconnect it looks like
I-270 SB @ RR (West side), South of Fisher Rd | 120 | Yes | Repeator site isn't used much now but is a decent location to keep. Upgrade power service to metered on existing pole. | E |  | FY23 Project
I-670 at Neil Ave | 120 | No | Being upgraded on FY20 Maintenance project
I-670 at 4th St | 120 | Yes | Upgrade power service to metered on existing pole | E |  | FY23 Project
I-670 at Cleveland Ave | 120 | No | Already have existing metered power service.
I-670 WB @ Sunbury Rd (East of Leonard Ave) | 120 | No | Power service already upgraded on smart lane project.
I-670 at 5th Ave | 120 | No | Top of City signal pole
US-23 SB at Rathmel Rd | 120 | Yes | Upgrade power service to metered on existing pole | E |  | FY23 Project or ?? May be getting done by D6 project
US-33 EB at East of Post Rd | 120 | Yes | Upgrade power service to metered on existing pole | E |  | FY23 Project
US-33 EB at Avery-Muirfield Dr | 480 | No | Existing power is metered with City of Dublin and is a 480V service with multiple cabinets. We have a disconnect inside labeled "Sign Lighting US33/161". Leave for now.
US-33 at S James Rd (North of SR-104) | 480 | No | This service shoud get upgraded or relocated on upcoming D6 safety project to widen road and reconfigure ramps, etc.
US-33 at SR-104 / Refugee Rd (lighting center) | 480 | No | This service shoud get upgraded or relocated on upcoming D6 safety project to widen road and reconfigure ramps, etc.
US-33 EB at SR-104 / Refugee Rd | 480 | No | This service shoud get upgraded or relocated on upcoming D6 safety project to widen road and reconfigure ramps, etc.
US-33 EB at North of I-270 | 120 | Yes | Upgrade power service on existing pole. Perform clearing and grubbing as well. | E |  | FY23 Project
US-33 at West of Hamilton Rd (Potomac St) | 120 | Yes | Service was not upgraded with D6 project to metered. Feeds DMS on US-33 WB, West of Hamilton Rd. Upgrade service to metered on existing pole | E |  | FY23 Project
US-33 EB at Hamilton Rd | 120 | No | Top of City signal pole
SR-315 at Town St | 120 | Yes | Existing disconnect on power service pole currently, looks like AEP pole. Can we intercept and install a ground mounted power service with meter or should we install a new pole-mounted service and get a new drop? | B |  | FY23 Project
SR-315 NB at Goodale St | 120 | Yes | Upgrade power service to metered on existing pole | E |  | FY23 Project
SR-315 at King Ave | 120 | No | Top of City signal pole
SR-315 NB at Lane Ave | 120 | No | Existing disconnect on post. Ties into City signal at top of pole I believe. Keep for now.
SR-315 SB at Lane Ave | 120 | No | Existing disconnect on post. Ties into City signal at top of pole I believe. Keep for now.
SR-315 at Ackerman Rd | 120 | No | Top of City signal pole
SR-315 at W North Broadway | 120 | No | Upgraded by City Ohio Healt Project but not metered. Ok for now.
SR-315 SB at South of Henderson Rd | 120 | Yes | Power comes from power company pole with a disconnect on Olentangy River Rd SB side in front of house which looks like it has address of 4109 Olentangy River Rd, Columbus, OH 43214. Can we intercept the power feed in the grass area between SR-315 and Olentangy River Rd and install a ground mounted power service stand with meter base, etc.? Also may need to coordinate with PID 106877 Noise Wall project which is just using the existing service. | B |  | FY23 Project
SR-315 SB at Henderson Rd | 120 | No | Power comes from top of city signal pole at Olentangy River Rd and Jasonway Ave/SR-315 SB ramp. Keep for now.
SR-315 SB at Bethel Rd | 120 | Yes | Power service comes from disconnect located outside of City of Columbus lighting center. The City had to troubleshoot this recently and get line repaired where the service originates from AEP on the North side of Bethel Rd. The City is contemplating removing this lighting center as they don't think they need it and we could take the direct feed from AEP. We should contact the City and AEP and come up with a plan for this site to install a new ground mounted service possibly. | B |  | Done with Ramp meter work
SR-315 NB at Bethel Rd | 120 | Yes | ITS has power service disconnect on the traffic signal pole. D6 has their own meter for the traffic signal but looks like we have a separate drop for ITS. Can we tie into the existing metered service or should we get our own meter base installed? Should talk to D6 and power company. | F |  | FY23 Project
SR-315 at SR-161 | 120 | Yes | Power comes from power company pole with a disconnect. Can we intercept and install a ground mounted service nearby? | B |  | FY23 Project
|  |  |  | Total: | 2