## Sheet1
COORDINATE LOCATION TABLE
SHEET | DESCRIPTION | STREET | STATION | AS-BUILT NORTHING | AS-BUILT EASTING | AS-BUILT ¦ ELEVATION
97 | 12" - 5 DEGREE DEFLECTION | LIVINGSTON AVE. | 207+50, 14' RT.
97 | 12" x 6" ANCH. TEE (FOR HYDRANT) | LIVINGSTON AVE. | 207+61, 14' RT.
97 | 12" VALVE | LIVINGSTON AVE. | 207+79, 14' RT.
97 | 12" - 45 DEGREE HORIZONTAL BEND | HIGH ST. | 148+50, 26' LT.
97 | 12" - 11.25 DEGREE DEFLECTION | HIGH ST. | 148+39, 19' LT.
97 | 12" - 22.5 DEGREE HORIZONTAL BEND | HIGH ST. | 148+21, 12' LT.
97 | 12" x 12" TEE | HIGH ST. | 148+15.09, 12' LT.
97 | 12" VALVE | HIGH ST. | 148+13, 12' LT.
97 | 12" x 8" REDUCER | HIGH ST. | 148+05, 12' LT.
97 | 8" - 45 DEGREE HORIZONTAL BEND | HIGH ST. | 148+00. 12' LT.
97 | 8" - 45 DEGREE HORIZONTAL BEND | HIGH ST. | 147+96.70, 16' LT.
97 | 12" x 6" ANCH. TEE (FOR HYDRANT) | HIGH ST. | 148+14.79, 35' RT.
97 | 6" VALVE | HIGH ST. | 148+12.00, 35' RT.
97 | 6" - 45 DEGREE HORIZONTAL BEND | HIGH ST. | 148+08.10, 35' RT.
97 | 6" - 45 DEGREE HORIZONTAL BEND | HIGH ST. | 148+03.70, 39' RT.
97 | 6" VALVE | HIGH ST. | 148+01.35, 39' RT.
97 | FIRE HYDRANT, TYPE "A" MODIFIED | HIGH ST. | 147+99, 39' RT.
97 | FIRE HYDRANT, TYPE "A" | LIVINGSTON AVE. | 207+61, 22' RT.
97 | 12" VALVE | HIGH ST. | 148+14.79, 50' RT.
97 | 12" - 4 DEGREE DEFLECTION | HIGH ST. | 148+14.76, 40' RT.
97 | 12" - 22.5 DEGREE HORIZONTAL BEND | HIGH ST. | 148+17.80, 80' RT.
97 | 12" - 22.5 DEGREE HORIZONTAL BEND | HIGH ST. | 148+28.05, 103' RT.
97 | 1.5" SERVICE TAP | LIVINGSTON AVE. | 206+79.69, 11' RT.
98 | VALVE BOX ADJUSTED TO GRADE | HIGH ST. | 152+32, 34' RT.
98 | VALVE BOX ADJUSTED TO GRADE | HIGH ST. | 152+00, 31' RT.
98 | FIRE HYDRANT ADJUSTED TO GRADE | HIGH ST. | 152+33, 33' RT.
98 | VALVE BOX ADJUSTED TO GRADE | HIGH ST. | 152+27, 11' LT.
98 | VALVE BOX ADJUSTED TO GRADE | FULTON ST. | 26+37, 25' LT.
98 | VALVE BOX ADJUSTED TO GRADE | FULTON ST. | 26+45, 20' LT.
98 | VALVE BOX ADJUSTED TO GRADE | HIGH ST. | 152+00, 12' LT.
98 | VALVE BOX ADJUSTED TO GRADE | FULTON ST. | 23+02, 23' LT.