## Structure
Quantity Calculations for Bridge No. PIK-220-0550SR
Item 202 - Wearing Course Removed
L = | 16.85 | ft
W = | 25 | ft
Total = L*W/9 = | 47 | SY
Item 511 - Class QC1 Concrete, Retaining/Wingwall Not Including Footing
Wingwall 1 |  |  | Wingwall 2 |  |  | Wingwall 3 |  |  | Wingwall 4
Corner Area = | 0.7 | ft2 | Corner Area = | 0 | ft2 | Corner Area = | 0.606 | ft2 | Corner Area = | 0.668 | ft2
L = | 30 | ft | L = | 6.6667 | ft | L = | 20 | ft | L = | 10 | ft
W = | 1 | ft | W = | 1 | ft | W = | 1 | ft | W = | 1 | ft
H1 = | 8 | ft | H1 = | 8 | ft | H1 = | 8 | ft | H1 = | 8 | ft
H2 = | 7.5 | ft | H2 = | 5 | ft | H2 = | 8 | ft | H2 = | 7.5 | ft
Total = | 232.5 | ft2 | Total = | 43.3333 | ft2 | Total = | 160 | ft2 | Total = | 77.5 | ft2
Total = | 232.5 | ft3 | Total = | 43.3333 | ft3 | Total = | 160 | ft3 | Total = | 77.5 | ft3
Corner Total = | 5.6 | ft3 | Corner Total = | 0 | ft3 | Corner Total = | 4.848 | ft3 | Corner Total = | 5.344 | ft3
TOTAL = L*W*[(H1+H2)/2]
Minus Pipes and Weep Holes
Weep Hole Vol. = | pi*r^2*w = | 0.087266 | ft3
# Weep Holes = | 11 | Total = | 0.95993 | ft3
Pipe Vol. = | pi*r^2*w = | 0 | ft3
# Pipes = | 0 | Total = | 0 | ft3
|  | Convert to SF = |  | 514 | SF
|  | Convert to CY = |  | 19 | CY
Item 511- Class QC1 Concrete, Footing
North Footing | [5 empty] | South Footing
|  |  | A1 = Area from MicroStation = | 335.987 | ft2 |  |  |  | A1 = Area from MicroStation = | 373.181 | ft2
|  |  | D1 = | 1.5 | ft |  |  |  | D1 = | 1.5 | ft
|  |  | A2 = Cutoff wall area from MicroStation = | 71.544 | ft2 |  |  |  | A2 = Cutoff wall area from MicroStation = | 84.582 | ft2
|  |  | D2 = | 2.5 | ft |  |  |  | D2 = | 2.5 | ft
|  |  | A3 = Closure Pour area from Microstation = | 51.23 | ft2 |  |  |  | A3 = Closure Pour area from Microstation = | 52.917 | ft2
|  |  | D3 = | 0.66667 | ft |  |  |  | D3 = | 0.66667 | ft
|  |  | Total = | 716.9938 | ft3 |  |  |  | Total = | 806.5045 | ft3
Total = A1*D1+A2*D2+A3*D3
|  | Convert to CY = |  | 57 | CY
Item 511- Class QC1 Concrete, Headwall
North Headwall |  |  | South Headwall
L = | 22 | ft | L = | 22 | ft
W = | 1 | ft | W = | 1 | ft
H = | 0.66667 | ft | H = | 0.66667 | ft
Total = | 14.6667 | ft3 | Total = | 14.6667 | ft3
Total = L*W*H
|  | Convert to CY = |  | 2 | CY
Item 512 - Sealing of Concrete Surfaces (Epoxy-Urethane)
Wingwall 1 |  |  |  | Wingwall 2 |  |  |  | Wingwall 3 |  |  |  | Wingwall 4
| Back/Top | Front/Edge |  |  | Back/Top | Front/Edge |  |  | Back/Top | Front/Edge |  |  | Back/Top | Front/Edge
L = | 31.4 | 30 | ft | L = | 6.6667 | 6.6667 | ft | L = | 21.214 | 20 | ft | L = | 11.336 | 10 | ft
W = | 1 |  | ft | W = | 1 |  | ft | W = | 1 |  | ft | W = | 1 |  | ft
H1 = | 0.5 | 0.5 | ft | H1 = | 0.5 | 0.5 | ft | H1 = | 0.5 | 0.5 | ft | H1 = | 0.5 | 0.5 | ft
H2 = | 0.5 |  | ft | H2 = | 0.5 | 0 | ft | H2 = | 0.5 | 0 | ft | H2 = | 0.5 | 0 | ft
Total = | 47.1 | 8 | ft2 | Total = | 10 | 2.1667 | ft2 | Total = | 31.821 | 5.5 | ft2 | Total = | 17.004 | 3 | ft2
Sum = | 55.1 |  | ft2 | Sum = | 12.1667 |  | ft2 | Sum = | 37.321 |  | ft2 | Sum = | 20.004 |  | ft2
Total = (L*[H1+H2]/2) + (L*W) + (W*H1) + (L*[H1+H2]/2)
West Foreslope Wall |  |  |  | East Foreselope Wall |  |  |  | Inside of Box |  |  | Face of Box
| Back/Top | Front |  |  | Back/Top | Front |  | L = | 2 | ft | W = |  | 22 | ft
L = | 22 | 22 | ft | L = | 22 | 22 | ft | W = | 20 | ft | H = |  | 7.3333 | ft
WTOP = | 1 |  | ft | WTOP = | 1 |  | ft | H = | 5 | ft | Sides = |  | 2
H = | 0.5 | 0.5 | ft | H = | 0.5 | 0.5 | ft | Sides = | 2 |  | Area of Opening = |  | 100 | ft2
Total = | 33 | 11 | ft2 | Total = | 33 | 11 | ft2 | Total = | 200 | ft2 | Total = |  | 122.6667 | ft2
Sum = | 44 |  | ft2 | Sum = | 44 |  | ft2 | Total Box = (L*W*S+L*H*S)*2 |  |  | Total = [(L*W*H)-A]*S
Total B/T= L*WTOP+L*H
Total F= L*H |  |  |  | Convert to SY = |  | 60 | SY
Item 512 - Type 2 Waterproofing (Sides)
L = | 52 | ft
H = | 7.3333 | ft
Overhang = | 1 | ft
Sides = | 2
T= H*(L+O)*S = | 792 | ft2 | Convert to SY = |  | 88 | SY
Item 512 - Type 3 Waterproofing (Top)
L = | 52 | ft
Width = | 22 | ft
Overhang = | 1 | ft
Sides = | 2
T=L*(W+O) = | 1248 | ft2 | Convert to SY = |  | 139 | SY
Item 601 - RCP, Type B with Aggregate Filter
|  | A = Area from MicroStation = | 544.444 | ft2
|  | D = | 2.5 | ft
|  | Total = | 1361.11 | ft3
Total = A*D
|  | Convert to CY = |  | 51 | CY
Item 851 - Precast Gravity and Semigravity Retaining Wall
L = |  | ft |  | ft
H1 = |  | ft |  | ft |  | See above
H2 = |  | ft |  | ft
# Walls = | 2 |  | 2
Total Area = | #DIV/0! |  | ft2
Item 851 - Natural Soil
L = | 15 | ft | 18.3335 | ft
CADD Measured Area = | 5 | ft2 | 5 | ft2
# Walls = | 2 |  | 2
Volume = | 150 | ft3 | 183.335 | ft3
| Convert to CY = |  | 13 | CY
Item 516 - 1" Preformed Expansion Joint Filler
North End |  |  | South End
H = | 8 | ft | H = | 8 | ft
W = | 1 | ft | W = | 1 | ft
Sides = | 2 |  | Sides = | 2
T = H*W*2 = | 16 | ft2 | Total = | 16 | ft2
|  |  | Sum = | 32 | SF
Item 518 - Porous Backfill with Geotextile Fabric
Wingwall 1 |  |  | Wingwall 2 |  |  | Wingwall 3 |  |  | Wingwall 4
L = | 30 | ft | L = | 6.6667 | ft | L = | 20 | ft | L = | 10 | ft
W = | 2 | ft | W = | 2 | ft | W = | 2 | ft | W = | 2 | ft
H1 = | 4.7 | ft | H1 = | 2.2 | ft | H1 = | 5.2 | ft | H1 = | 4.7 | ft
H2 = | 5.2 | ft | H2 = | 5.2 | ft | H2 = | 5.2 | ft | H2 = | 5.2 | ft
Total = | 297 | ft3 | Total = | 49.3333 | ft3 | Total = | 208 | ft3 | Total = | 99 | ft3
TOTAL = L*W*[(H1+H2)/2]
|  | Convert to CY = |  | 25 | CY
Note on B54: Joshua Zickafoose: 0.5' below top of wings along length of wing
Note on C54: Joshua Zickafoose: 0.5' below top of wing at outside edge
Note on C55: Joshua Zickafoose: inside bottom of box culvert to top of wing
Note on G55: Joshua Zickafoose: inside bottom of box culvert to top of wing
Note on K55: Joshua Zickafoose: inside bottom of box culvert to top of wing
Note on O55: Joshua Zickafoose: inside bottom of box culvert to top of wing