## CONTROL CENTER DATA TABLE
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | POWER SERVICE VOLTAGE AND CONFIGURATION | LINE VOLTS | CONTROL CENTER TOTAL CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT FUSE SIZE (AMPS) | BRANCH CIRCUIT NO. | BRANCH CIRCUIT VOLAGE (VOLTS, L/N OR L/L) | BRANCH CIRCUIT LOAD (AMPS) | BRANCH CIRCUIT BREAKER SIZE (AMPS) | BRANCH CIRCUIT CABLE SIZE | MAINTAINING AGENCY
CC-1 |  | 480 | 20.5248 | 4 | 100 | N1 | 22.72 | 50A | N1 | 480 L/L | 7.57 | 10 | 4 | ODOT D-09
| 240 / 480 3-WIRE |  |  |  |  | C1 |  |  | C1 | 480 L/L | 15.15 | 20 | 4
[6 empty] | S1 | 20.04 | 50A | S1 | 480 L/L | 20.04 | 30 | 4
- |  | - | - | - | - | - |  |  |  |  | - | - | - | -
[6 empty] | - |  |  |  |  | - | - | -
[6 empty] | - |  |  |  |  | - | - | -
|  | 120 |  | 1/0
|  | 240 |  | 2/0
|  | 480 |  | 2
4