## CONTROL CENTER DATA TABLE
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | POWER SERVICE VOLTAGE AND CONFIGURATION | CONTROL CENTER TOTAL CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT FUSE SIZE (AMPS) | BRANCH CIRCUIT NO. | BRANCH CIRCUIT VOLTAGE (VOLTS, L/N OR L/L) | BRANCH CIRCUIT LOAD (AMPS) | BRANCH CIRCUIT BREAKER SIZE (AMPS) | BRANCH CIRCUIT CABLE SIZE | MAINTAINING AGENCY
CC-1 | 480 | 17.5296 | 4 | 100 | 19.68 | 50 | N1 | 480 L/L | 19.68 | 30 | 4 | ODOT D-09
[5 empty] | 16.84 | 50 | S1 | 480 L/L | 16.84 | 30 | 4
CC-1 | 240 / 480 3-WIRE | 17.5 | 4 | 100A | 19.68 | 50A | N1 | 480 L/L | 19.68 | 30 | 4 | ODOT D-09
[5 empty] | 20.57 | 50A | S1 | 480 L/L | 20.57 | 30 | 4
[5 empty] | - | - | - | - | - | - | -
| 120 |  | 1/0
| 240 |  | 2/0
| 480 |  | 2
4