## CONTROL CENTER DATA TABLE
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | LINE VOLTS | CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | CIRCUIT NO. | CIRCUIT LOAD AMPS | CIRCUIT FUSE SIZE AMPS | CIRCUIT CABLE SIZE AWG | MAINTAINING AGENCY
CC-1 | 240 | 1.464 | 4 | 60 | A | 6.1 | 10 | 4 | ODOT
[5 empty] | - | - | - | -
[5 empty] | - | - | - | -
| 120 |  | 1/0
| 240 |  | 2/0
| 480 |  | 2
4