## Circuit X
VOLTAGE DROP CALCULATIONS | [10 empty] | 14 | 3.1
County-Route-Section: |  | WOO-199-9.36 |  |  |  | No. of Wires for Calculation Purposes: |  |  |  | 2 | 12 | 2
Power Service: |  | 120/240 | Circuit: | A | [6 empty] | 10 | 1.2
Supply Voltage: | [10 empty] | 8 | 0.78
Wire Resistance Used: |  | No. | 4 | AWG. | 0.31 | [5 empty] | 6 | 0.49
|  | No. |  | AWG. | [6 empty] | 4 | 0.31
[11 empty] | 2 | 0.19
Voltage: | 240 | Wire Factor Used (Two - No. 10 AWG Wires): |  |  |  |  | 2.4 | ohms/mft/1000 |  | Circuit: 'X' | 1/0 | 0.12
|  | Wire Factor Used (Two - No. 8 AWG Wires): |  |  |  |  | 1.56 | ohms/mft/1000 |  |  | 2/0 | 0.1
|  | Wire Factor Used (Two - No. 6 AWG Wires): |  |  |  |  | 0.98 | ohms/mft/1000 |  |  | 4/0 | 0.079
|  | Wire Factor Used (Two - No. 4 AWG Wires): |  |  |  |  | 0.62 | ohms/mft/1000
Section |  |  | Amperes |  | Ampere- Feet | AWG | Voltage Drop |  | % Drop | At Point
From | To | Design Feet | At Point | Accum. |  |  | In Section | Accum.
281-6 | 281-5 | 133 |  |  |  | 4 | #VALUE! |  | 0 | 281-6
281-5 | 199-5 | 143
199-5 | PB-6 | 22
PB-6 | PB-5 | 60
199-4 | PB-5 | 124
PB-5 | 281-4 | 105
281-4 | 281-3 | 107
281-3 | PB-4 | 51
199-1 | PB-1 | 137
199-2 | PB-1 | 155
PB-1 | PB-2 | 58
PB-2 | 199-3 | 35
199-3 | 281-2 | 182
281-2 | PB-3 | 110
281-1 | PB-3 | 93
PB-3 | PB-4 | 61
PB-3 | CC-1 | 15
120
240
480