## Blank
1 |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
|  |  |  | INSTRUCTIONS: | 2) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[5 empty] | 3) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[5 empty] | 4) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | 796 | [23 empty] | 796 | <--- ENTER STARTING SHEET NUMBER
| 796 | ITEM_CODE | [6 empty] | 625E98000 | 625E98000 | 625E98000 | 625E98000 | 625E98000 | 625E98000 | 625E98000 | 625E98000 | 625E98100 | 625E98100 | 625E98000 | 625E98000 | 625E98100 | 625E98100 | 625E98000 | 625E98000 | 625E98000
|  | ADDITIONAL_DESCRIPTION | [6 empty] | MIS-32 LUMINAIRE, 200W HPS, 480V, COBRA STYLE | MIS-54 PULL BOX, 13" X 24" | MIS-54 PULL BOX, 13" X 24", AS PER PLAN | MIS-56 RISER, STREET LIGHT CIRCUIT | MIS-200 STREET LIGHT FOUNDATION, 4' | MIS-203 STREET LIGHT FOUNDATION, 6', DOWNTOWN | MIS-307 POLE, FIBERGLASS, DECORATIVE | MIS-308 POLE, DOWNTOWN | MIS-400 OVERHEAD CIRCUIT, 3 WIRE-OPEN WIRE | MIS-404 UNDERGROUND CIRCUIT, 3 WIRE | MIS-501 POLE TO BE WIRED, 3 WIRE | MIS-603 CONTROLLER, 3 WIRE, 480V, PAD MOUNT | MIS-700 2" CONDUIT, CONCRETE ENCASED | MIS-702 3" RIGID STEEL WITH 2" CONDUIT INSERT | MIS-801 LUMINAIRE, LED, TEARDROP (480V, BLACK) | MIS-802 LUMINAIRE, LED, ACORN (480V, BLACK) | MIS-900 FOUNDATION REMOVAL, AS PER PLAN
| Split # | SHEET NO. | STATION |  |  |  | SIDE | POLE/PULL BOX NO. | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[9 empty] | LIGHTING, MISC.: MIS-32 LUMINAIRE, 200W HPS, 480V, COBRA STYLE | LIGHTING, MISC.:MIS-54 PULL BOX, 13" X 24" | LIGHTING, MISC.:MIS-54 PULL BOX, 13" X 24", AS PER PLAN | LIGHTING, MISC.: MIS-56 RISER, STREET LIGHT CIRCUIT | LIGHTING, MISC.: MIS-200 STREET LIGHT FOUNDATION, 4' | LIGHTING, MISC.: MIS-203 STREET LIGHT FOUNDATION, 6', DOWNTOWN | LIGHTING, MISC.: MIS-307 POLE, FIBERGLASS, DECORATIVE | LIGHTING, MISC.: MIS-308 POLE, DOWNTOWN | LIGHTING, MISC.: MIS-400 OVERHEAD CIRCUIT, 3 WIRE-OPEN WIRE | LIGHTING, MISC.: MIS-404 UNDERGROUND CIRCUIT, 3 WIRE | LIGHTING, MISC.: MIS-501 POLE TO BE WIRED, 3 WIRE | LIGHTING, MISC.: MIS-603 CONTROLLER, 3 WIRE, 480V, PAD MOUNT | LIGHTING, MISC.: MIS-700 2" CONDUIT, CONCRETE ENCASED | LIGHTING, MISC.: MIS-702 3" RIGID STEEL WITH 2" CONDUIT INSERT | LIGHTING, MISC.: MIS-801 LUMINAIRE, LED, TEARDROP (480V, BLACK) | LIGHTING, MISC.: MIS-802 LUMINAIRE, LED, ACORN (480V, BLACK) | LIGHTING, MISC.: MIS-900 FOUNDATION REMOVAL, AS PER PLAN
'M' = MOUND ST. '2ND' = SECOND ST. 'D6' = RAMP D6 'ML' = MATCH LINE
|  |  | FROM |  | TO |  |  |  | EA | EA | EA | EA | EA | EA | EA | EA | EA | EA | EA | EA | EA | FT | EA | EA | EA
MOUND ST. (CKT #810)
|  | 805 | 2006 |  | 2029 |  | LT | P - L | [9 empty] | 33 |  |  | 23
|  |  | 2029 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 2029 |  | 2044 |  | LT | L - P | [9 empty] | 28 |  |  | 18
|  |  | 2044 |  |  |  | LT | P |  | 1
|  |  | 2044 |  | 2079 |  | LT | P - P | [9 empty] | 45 |  |  |  | 35
|  |  | 2079 |  |  |  | LT | P |  | 1
|  |  | 2079 |  | 2135 |  | LT | P - L | [9 empty] | 68 |  |  | 58
|  |  | 2135 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 2135 |  | 2224 |  | LT | L - L | [9 empty] | 103 |  |  | 93
|  |  | 2224 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 2224 |  | 4+48 '2ND' |  | LT | L - P | [9 empty] | 46 |  |  | 36
|  |  | 448 |  |  |  | LT | P |  | 1
|  |  | 448 |  | 512 |  | LT | P - L | [9 empty] | 74 |  |  | 64
|  |  | 512 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 448 |  | 442 |  | L/R | P - P | [9 empty] | 55 |  |  |  | 45
|  |  | 442 |  |  |  | RT | P |  | 1
|  |  | 442 |  | 22+99 'M'' |  | R/L | P - L | [9 empty] | 45 |  |  | 35
|  |  | 2299 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 2299 |  | 2357 |  | LT | L - P | [9 empty] | 68 |  |  | 58
|  |  | 2357 |  |  |  | LT | P |  | 1
|  |  | 2357 |  | 2375 |  | LT | P - L | [9 empty] | 29 |  |  | 19
|  |  | 2375 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 2375 |  | 2450 |  | LT | L - ML | [9 empty] | 80 |  |  | 75
|  |  | 6004+51 'D6' |  |  |  | LT | CC | [11 empty] | 1
|  |  | 600451 |  | 600454 |  | LT | CC - P | [9 empty] | 23 |  |  | 24
|  |  | 600454 |  |  |  | LT | P |  |  | 1
|  |  | 600454 |  | 600476 |  | LT | P - P | [9 empty] | 31 |  |  | 21
|  |  | 600476 |  |  |  | LT | P |  | 1
|  |  | 600476 |  | 600493 |  | L/R | P - P | [9 empty] | 54 |  |  |  | 44
|  |  | 600493 |  |  |  | RT | P |  | 1
|  |  | 600493 |  | 23+63 'M' |  | RT | P - P | [9 empty] | 110 |  |  | 100
|  |  | 2363 |  |  |  | RT | P |  | 1
|  |  | 2363 |  | 2357 |  | R/L | P - P | [9 empty] | 76 |  |  |  | 66
|  | 806 | 2450 |  | 2472 |  | LT | ML - L | [9 empty] | 32 |  |  | 27
|  |  | 2472 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  |  | 2472 |  | 2479 |  | LT | L - P | [9 empty] | 17 |  |  | 7
|  |  | 2479 |  |  |  | LT | P |  | 1
|  |  | 2479 |  | 2515 |  | LT | P - P | [9 empty] | 47 |  |  |  | 37
|  |  | 2515 |  |  |  | LT | P |  | 1
|  |  | 2515 |  | 2570 |  | LT | P - L | [9 empty] | 65 |  |  | 55
|  |  | 2570 |  |  |  | LT | L | [5 empty] | 1 |  | 1 |  |  | 1 |  |  |  | 1
|  | 807 | 12+85 SHORT ST |  |  |  | RT | LP |  |  |  |  | 1 |  | 1 |  |  |  | 1 |  |  |  |  | 1
|  |  | 1285 |  | 1400 |  | RT | LP - ML | [9 empty] | 123 |  |  | 118
|  |  | 1313 |  |  |  | LT | P |  | 1
|  |  | 1313 |  | 1390 |  | LT | P - P | [13 empty] | 77
|  |  | 1390 |  |  |  | LT | P |  | 1
REMOVALS
|  | 797 | [22 empty] | 4
|  | 798 | [22 empty] | 3
|  | 799 | [22 empty] | 2
|  | 801 | [22 empty] | 1
| 1 | FUNDING SPLIT (01/IMS/PV) | [7 empty] | 6 | 1 |  | 1 | 4 |  |  |  | 589 | 4 | 1 | 384 | 152 | 4 | 1 | 5
| 2 | FUNDING SPLIT (02/NHS/PV) | [7 empty] | 6 |  |  |  | 3 |  |  |  | 589 | 4 |  | 383 | 152 | 3 |  | 5
| 8 | FUNDING SPLIT (08/NHS/OT) | [11 empty] | 1 |  | 1 |  | 74 | 1 |  | 64 |  | 1
| 9 | FUNDING SPLIT (09/NHS/OT) | [12 empty] | 1 | 7
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [7 empty] | 12 | 1 |  | 1 | 8 | 1 | 8 |  | 1252 | 9 | 1 | 831 | 304 | 8 | 1 | 10