## CONTROL CENTER DATA TABLE
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | LINE VOLTS | CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | CIRCUIT NO. | CIRCUIT LOAD AMPS | CIRCUIT FUSE SIZE AMPS | CIRCUIT CABLE SIZE AWG | MAINTAINING AGENCY
PROPOSED PS-'M' 240/480V 1PH, 3-WIRE | 480 | 4.4832 | #1/0 | 60 | I | 7 | 10 | 4 | ODOT
[5 empty] | J | 2.34 | 10 | 4
- | - | - | - | - | - | - | - | - | -
[5 empty] | - | - | - | -
[5 empty] | - | - | - | -
| 120 |  | 1/0
| 240 |  | 2/0
| 480 |  | 2
4