## Blank
1 |  |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[5 empty] | INSTRUCTIONS: | 2) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[6 empty] | 3) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[6 empty] | 4) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | 1 | [21 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
| 297 | ITEM_CODE | [5 empty] | 638e98600 | 638e98600 | 638e98600 | 638e98000 | 690e98000 | 690e98000 | 690e98000 | 690e98000 | 690e98000 | 690e98000 | 690e98000 | 690e98000 | 638e98000 | 690e98000 | 690E98400 | 690E98400
|  | ADDITIONAL_DESCRIPTION | [5 empty] | 6" DUCTILE IRON WATER PIPE AND FITTINGS (COL. 801) | 8" DUCTILE IRON WATER PIPE AND FITTINGS (COL. 801) | 36" WATER PIPE AND FITTINGS (COL. 801) | 3/4" WATER SERVICE TAP, TRANSFERRED (COL. 805) | FIRE HYDRANT, TYPE A (COL. 809) | FIRE HYDRANT, TYPE A MODIFIED (COL 809) | FIRE HYDRANT, ABANDONED (COL 809) | FIRE HYDRANT, RELOCATED (COL 809) | 1 1/2" CURB STOP, RELOCATED (COL 805) | 6" GATE VALVE AND APPURTENANCES (COL 802) | 8" GATE VALVE AND APPURTENANCES (COL 802) | 36" BUTTERFLY VALVE AND APPURTENANCES (COL 802) | 8"X6" TAPPING SLEEVE AND VALVE (COL. 803) | 54" CASING PIPE, 3/4" THICKNESS (COL 806) | ALLOWANCE FOR PASSIVE CATHODIC PROTECTION SYSTEM DESIGN AND INSTALLATION | ALLOWANCE FOR ADDITIONAL TEST STATIONS AND FLANGE ISOLATION KITS FOR STEEL OR CONCRETE PIPE
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  | 638 | 638 | 638 | 638 | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | 638 | SPECIAL | SPECIAL | SPECIAL
[8 empty] | WATER WORK, MISC.: 6" DUCTILE IRON WATER PIPE AND FITTINGS (COL. 801) | WATER WORK, MISC.: 8" DUCTILE IRON WATER PIPE AND FITTINGS (COL. 801) | WATER WORK, MISC.: 36" WATER PIPE AND FITTINGS (COL. 801) | WATER WORK, MISC.: 3/4" WATER SERVICE TAP, TRANSFERRED (COL. 805) | FIRE HYDRANT, TYPE A (COL. 809) | FIRE HYDRANT, TYPE A MODIFIED (COL 809) | FIRE HYDRANT, ABANDONED (COL 809) | FIRE HYDRANT, RELOCATED (COL 809) | 1 1/2" CURB STOP, RELOCATED (COL 805) | 6" GATE VALVE AND APPURTENANCES (COL 802) | 8" GATE VALVE AND APPURTENANCES (COL 802) | 36" BUTTERFLY VALVE AND APPURTENANCES (COL 802) | WATER WORK, MISC.: 8"X6" TAPPING SLEEVE AND VALVE (COL. 803) | 54" CASING PIPE, 3/4" THICKNESS (COL 806) | ALLOWANCE FOR PASSIVE CATHODIC PROTECTION SYSTEM DESIGN AND INSTALLATION | ALLOWANCE FOR ADDITIONAL TEST STATIONS AND FLANGE ISOLATION KITS FOR STEEL OR CONCRETE PIPE
[8 empty] | FT | FT | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH
| 5 |  | 643 | [6 empty] | 350 |  | 1 |  |  |  |  | 1 |  | 1 | 1
| 5 |  | 644 | [6 empty] | 450 | [10 empty] | 128
| 5 |  | 645 | [5 empty] | 131 | 94 | [7 empty] | 1 | 1
| 5 |  | 646 |  |  |  |  | 15 |  | 430 | 1 |  | 1 | 2 |  |  | 1
| 5 |  | 647 |  |  |  |  | 304
| 5 |  | 648 |  |  |  |  | 50 | [6 empty] | 4 | 1 | 3
|  |  | 642 | [18 empty] | LUMP | LUMP
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [5 empty] | 369 | 131 | 1324 | 1 | 1 | 1 | 2 | 4 | 1 | 5 | 1 | 2 | 1 | 128 | LS | LS
| Page # | 2
| 298 | ITEM_CODE | [5 empty] | 690E98400 | 690E98400 | 690E98400 | 690E98400 | 659E00510 | 253E01000 | 511E71100 | 690E99400
|  | ADDITIONAL_DESCRIPTION | [5 empty] | SURVEY COORDINATES | CORROSION PROTECTION | FLANGE ISOLATION KITS FOR DUCTILE IRON PIPE | CONTINUITY TESTING |  |  | CONCRETE BLOCKING, CLASS C, INCREASE OR DECREASE (COL. 801) | FITTINGS, INCREASE OR DECREASE (COL. 801)
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  | SPECIAL | SPECIAL | SPECIAL | SPECIAL | 659 | 253 | 511 | SPECIAL
[8 empty] | SURVEY COORDINATES | CORROSION PROTECTION | FLANGE ISOLATION KITS FOR DUCTILE IRON PIPE | CONTINUITY TESTING | SEEDING AND MULCHING, CLASS 2 | PAVEMENT REPAIR | CONCRETE, MISC.: CONCRETE BLOCKING, CLASS C, INCREASE OR DECREASE (COL. 801) | FITTINGS, INCREASE OR DECREASE (COL. 801)
[12 empty] | SY | SY | CY | LB
| 5 |  | 643 |  |  | TO | [5 empty] | 780
| 5 |  | 644 | [8 empty] | 1000
| 5 |  | 645 | [8 empty] | 100 | 10
| 5 |  | 646
| 5 |  | 647 | [8 empty] | 350
| 5 |  | 648
| 5 |  | CONT |  |  |  |  | 1 | 1 | 1 | 1 |  |  | 48 | 3200
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [9 empty] | 2230 | 10 | 48 | 3200
| Page # | 3
| 295 | ITEM_CODE | [5 empty] | 611E97400 | 611E97400 | 690E98000 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98000 | 611E99690 | 611E99690 | 690E98000 | 690E98000 | 690E98700 | 611E99690
|  | ADDITIONAL_DESCRIPTION | [5 empty] | 16" PVC C900 PIPE, WITH TYPE 1 BEDDING WITH 912 COMPACTED GRANULAR BACKFILL (COL 901) | 42" PIPE, WITH TYPE 1 BEDDING WITH 912 COMPACTED GRANULAR BACKFILL (COL 901) | SEWER ABANDONED(COL 202) | 10" DIP FORCEMAIN W/ BEDDING AND BACKFILL PER COL 801 | 18" DIPFORCEMAIN W/ BEDDING AND BACKFILL PER COL 801 | 36" DIP OR PCCP FORCEMAIN W/ BEDDING AND BACKFILL PER COL 801 | 24" CASING PIPE (COL 806) | 30" CASING PIPE (COL 806) | 54" CASING PIPE (COL 806) | STRUCTURE AT STATION 0+47, COMPLETE (COL 904) | MANHOLE RECONSTRUCTED TO GRADE | MANHOLE TYPE C, W/ OUTSIDE DROP (COL 901) | STRUCTURE REMOVED - AIR RELEASE MANHOLE VAULT (COL 202) | STRUCTURE REMOVED - SANITARY VAULT (COL 202) | INCREASED OR DECREASED EARTH EXCAVATION (COL 902) | AIR RELEASE MANHOLE AND APPURTENANCES, COMPLETE
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  | 611 | 611 | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | 611 | 611 | SPECIAL | SPECIAL | SPECIAL | 611
[8 empty] | CONDUIT, MISC.: 16" PVC C900 PIPE, WITH TYPE 1 BEDDING WITH 912 COMPACTED GRANULAR BACKFILL (COL 901) | CONDUIT, MISC.: 42" PIPE, WITH TYPE 1 BEDDING WITH 912 COMPACTED GRANULAR BACKFILL (COL 901) | SEWER ABANDONED(COL 202) | 10" DIP FORCEMAIN W/ BEDDING AND BACKFILL PER COL 801 | 18" DIPFORCEMAIN W/ BEDDING AND BACKFILL PER COL 801 | 36" DIP OR PCCP FORCEMAIN W/ BEDDING AND BACKFILL PER COL 801 | 24" CASING PIPE (COL 806) | 30" CASING PIPE (COL 806) | 54" CASING PIPE (COL 806) | STRUCTURE AT STATION 0+47, COMPLETE (COL 904) | MANHOLE, MISC.: MANHOLE RECONSTRUCTED TO GRADE | MANHOLE, MISC.:MANHOLE TYPE C, W/ OUTSIDE DROP (COL 901) | STRUCTURE REMOVED - AIR RELEASE MANHOLE VAULT (COL 202) | STRUCTURE REMOVED - SANITARY VAULT (COL 202) | INCREASED OR DECREASED EARTH EXCAVATION (COL 902) | MANHOLE, MISC.: AIR RELEASE MANHOLE AND APPURTENANCES, COMPLETE
[8 empty] | FT | FT | EACH | FT | FT | FT | FT | FT | FT | EACH | EACH | EACH | EACH | EACH | CY | EACH
| 5 |  | 633 |  |  | TO |  | 495 |  | 1 | [7 empty] | 1 | 3
| 5 |  | 634 | [5 empty] | 38 | 1 | 43 |  | 43 |  |  |  | 1 |  |  |  | 1
| 5 |  | 635 | [6 empty] | 1 |  |  | 126 |  |  | 40 |  |  |  | 1
| 5 |  | 636 | [6 empty] | 1 |  | 120 |  |  | 40
| 5 |  | 637 | [6 empty] | 1 | 131 |  |  | 40
| 5 |  | 639 | [19 empty] | 1
| 5 |  | CONT | [18 empty] | 18
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [5 empty] | 495 | 38 | 5 | 174 | 120 | 169 | 40 | 40 | 40 | 1 | 1 | 3 | 1 | 1 | 18 | 1
| Page # | 4
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY