## Blank
1 |  |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[5 empty] | INSTRUCTIONS: | 2) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[6 empty] | 3) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[6 empty] | 4) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | 1 | [17 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
| 680 | ITEM_CODE | [6 empty] | 253E01000 | 252e01500 | 690E98000 | 690E98000 | 690E98000 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100
|  | ADDITIONAL_DESCRIPTION | [8 empty] | 4" RISER | JOINT-USE MANHOLE, 8'x6' | COMMUNICATIONS PULLBOX, 13"x24" |  | 4" CONDUIT, ENCASED | 11-2" CONDUIT, ENCASED | 3-4" CONDUIT, ENCASED | 6-4" CONDUIT, ENCASED | 9-4" CONDUIT, ENCASED
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  |  | 253 | 252 | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL
[9 empty] | PAVEMENT REPAIR | FULL DEPTH PAVEMENT SAWING | 4" RISER | JOINT-USE MANHOLE, 8'x6' | COMMUNICATIONS PULLBOX, 13"x24" | 1.5" CONDUIT WITH TRACING WIRE, ENCASED | 4" CONDUIT, ENCASED | 11-2" CONDUIT, ENCASED | 3-4" CONDUIT, ENCASED | 6-4" CONDUIT, ENCASED | 9-4" CONDUIT, ENCASED
[9 empty] | SY | FT | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT
1
| 1 | JC1 | 678 | 18+53.86 (M) | RT | TO | 20+70.89 (M) | RT | 17 | 74 |  |  |  | 217 |  |  |  | 217
| 1 | JC2 | 678-679 | 20+70.89 (M) | RT | TO | 26+38.62 (M) | RT | 42 | 205 |  |  |  | 564 |  |  |  |  | 564
1
| 1 | MH1 | 678 | 18+53.86 (M) | RT | [6 empty] | 1
| 1 | MH2 | 678 | 20+70.89 (M) | RT | [6 empty] | 1
| 1 | MH3 | 679 | 22+45.83 (M) | RT | [6 empty] | 1
| 1 | MH4 | 679 | 26+38.62 (M) | RT | [6 empty] | 1
1
| 1 | CC1 | 678 | 17+42.51 (M) | LT | TO | 18+75.15 (M) | RT |  |  |  |  | 1 |  |  |  | 135
| 1 | CC2 | 678 | 17+99.42 (M) | LT | TO | 18+49.81 (M) | RT | [6 empty] | 55
| 1 | CC3 | 678 | 17+66.69 (M) | LT | TO | 18+49.81 (M) | RT | [6 empty] | 86
| 1 | CC4 | 678 | 2+38.11 (CC) | RT | TO | 18+53.86 (M) | RT | [7 empty] | 48
| 1 | CC5 | 678 | 20+28.60 (M) | RT | TO | 3+46.99 (J) | RT |  |  | 3 |  | 1 |  |  |  | 72
| 1 | CC6 | 678 | 20+70.89 (M) | RT | TO | 3+46.99 (J) | RT |  |  | 1 |  |  |  | 48
| 1 | CC7 | 679 | 24+58.65 (M) | RT | TO | 6+38.36 (L) | LT | 22 |  | 1 |  |  |  | 155
| 1 | CC8 | 679 | 26+42.62 (M) | RT | TO | 26+82.91 (M) | LT | [6 empty] | 44
| 1 | CC9 | 679 | 26+42.62 (M) | RT | TO | 26+83.12 (M) | LT | [7 empty] | 45
1
1
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 81 | 279 | 5 | 4 | 2 | 781 | 388 | 93 | 207 | 217 | 564
MOUND ST. = (M)
CIVIC CENTER DR. = (CC)
JEWETT ST. = (J)
LUDLOW ST. = (L)