## Blank
1 |  |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[5 empty] | INSTRUCTIONS: | 2) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[6 empty] | 3) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[6 empty] | 4) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | 1 | [38 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
| 296 | ITEM_CODE | [6 empty] | 202e98100 | 202E98200 | 690e98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98000 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 690E98100 | 252e01500 | 253E01000
|  | ADDITIONAL_DESCRIPTION | [6 empty] | ELECTRIC POLE REMOVED | ELECTRIC CONDUCTOR REMOVED | WOOD POLE, 35' CLASS 3 | WOOD POLE, 55' CLASS 3 | WOOD POLE, 60' CLASS 3 | 14.4 KV 3 PHASE TERMINAL ASSEMBLY | SINGLE PHASE PAD MOUNT TRANSFORMER 25 KVA 14400Y/8320 120/240V | SINGLE PHASE PAD MOUNT TRANSFORMER 50 KVA 14400Y/8320 480V | SINGLE PHASE TRANSFORMER PAD | SWITCHGEAR MANHOLE | SPAN GUY | TANGENT CROSSARM ASSEMBLY | TWO-WAY BUCK | DEADEND ASSEMBLY | DOWN GUY | PRIMARY NEUTRAL ASSEMBLY | SECONDARY, NEUTRAL AND MESSENGER SUPPORT ASSEMBLY | TYPE RPFI SF6 INSULATED PAD MOUNT SWITCH GEAR | SINGLE PHASE 50 KVA POLE MOUNTED TRANSFORMER 14400Y/8320 120/208V | 4-WAY SEPARABLE CABLE JOINT | DISTRIBUTION CUTOUT | 2-5" CONDUIT ENCASED | 8-5" CONDUIT ENCASED | 12-5" CONDUIT ENCASED | (3)500MCM 15 KV WITH 350MCM 600V NEUTRAL | (3)750MCM 15KV WITH 500MCM 600V NEUTRAL | CABLE - 1/0 AAAC PRIMARY | CABLE - 1/0 AL TRIPLEX SECONDARY CABLE | CABLE - #2 AWG CU 15KV | CABLE - 4/0 AWG CU 15 KV
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  |  | 202 | 202 | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | SPECIAL | 252 | 253
[9 empty] | REMOVAL MISC.: ELECTRIC POLE REMOVED | REMOVAL MISC.: ELECTRIC CONDUCTOR REMOVED | WOOD POLE, 35' CLASS 3 | WOOD POLE, 55' CLASS 3 | WOOD POLE, 60' CLASS 3 | 14.4 KV 3 PHASE TERMINAL ASSEMBLY | SINGLE PHASE PAD MOUNT TRANSFORMER 25 KVA 14400Y/8320 120/240V | SINGLE PHASE PAD MOUNT TRANSFORMER 50 KVA 14400Y/8320 480V | SINGLE PHASE TRANSFORMER PAD | SWITCHGEAR MANHOLE | SPAN GUY | TANGENT CROSSARM ASSEMBLY | TWO-WAY BUCK | DEADEND ASSEMBLY | DOWN GUY | PRIMARY NEUTRAL ASSEMBLY | SECONDARY, NEUTRAL AND MESSENGER SUPPORT ASSEMBLY | TYPE RPFI SF6 INSULATED PAD MOUNT SWITCH GEAR | SINGLE PHASE 50 KVA POLE MOUNTED TRANSFORMER 14400Y/8320 120/208V | 4-WAY SEPARABLE CABLE JOINT | DISTRIBUTION CUTOUT | 2-5" CONDUIT ENCASED | 8-5" CONDUIT ENCASED | 12-5" CONDUIT ENCASED | (3)500MCM 15 KV WITH 350MCM 600V NEUTRAL | (3)750MCM 15KV WITH 500MCM 600V NEUTRAL | CABLE - 1/0 AAAC PRIMARY | CABLE - 1/0 AL TRIPLEX SECONDARY CABLE | CABLE - #2 AWG CU 15KV | CABLE - 4/0 AWG CU 15 KV | FULL DEPTH PAVEMENT SAWING | PAVEMENT REPAIR
[9 empty] | EACH | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | SY
| 5 | R1 | 670 | 17+77.01 | LT | TO |  |  | 1
| 5 | R2 | 670 | 19+02.94 | LT | TO | 19+74.63 | LT | 1 | 216
| 5 | R3 | 670 | 19+74.63 | LT | TO | 20+72.13 | LT | 1 | 294
| 5 | R4 | 670 | 20+72.13 | LT | TO | 21+94.69 | LT | 1 | 369
| 5 | R5 | 670 | 21+94.69 | LT | TO | 22+85.85 | LT | 1 | 276
| 5 | R6 | 670 | 22+85.85 | LT | TO | 23+89.76 | LT | 1 | 312
| 5 | R7 | 670 | 23+89.76 | LT | TO | 24+79.28 | LT | 1 | 270
| 5 | R8 | 670 | 24+79.28 | LT | TO | 26+05.17 | LT | 1 | 378
| 5 | R9 | 670 | 26+05.17 | LT | TO | 25+55.15 | LT | 1 | 327
| 5 | R10 | 670 | 20+72.13 | LT | TO | 20+69+94 | LT |  | 309
| 5 | R11 | 670 | 20+69+94 | LT | TO | 20+70.20 | LT |  | 315
| 5 | R12 | 670 | 22+85.85 | LT | TO | 22+75.59 | RT | 1 | 360
| 5 | R13 | 670 | 22+75.59 | RT | TO | 22+37.74 | RT | 1 | 261
| 5 | R14 | 670 | 18+91.24 | LT | TO | 18+82.26 | LT |  | 510
| 5 | R15 | 670 | 18+82.26 | LT | TO | 20+43.12 | LT |  | 417
| 5 | E1 | 670 | 18+83.50 | LT | TO | 18+92.74 | LT | [16 empty] | 1 | [10 empty] | 26
| 5 | E2 | 670 | 18+92.74 | LT | TO | 20+27.72 | LT |  |  | 1 | [13 empty] | 1 | [10 empty] | 127
| 5 | E3 | 670 | 20+27.72 | LT | TO | 20+70.20 | LT |  |  | 1 | [13 empty] | 1 | [10 empty] | 43
| 5 | E4 | 670 | 20+70.20 | LT | TO | 20+70.20 | LT |  |  | 1 | [13 empty] | 2 | [10 empty] | 59
| 5 | E5 | 670 | 20+70.20 | LT | TO | 22+26.16 | LT |  |  | 1 | [7 empty] | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 3 | [5 empty] | 468 | 156
| 5 | E6 | 670 | 22+26.16 | LT | TO | 23+53.70 | LT |  |  |  | 1 | [7 empty] | 1 |  |  |  | 1 | 1 | [9 empty] | 384 | 128
| 5 | E7 | 670 | 23+53.70 | LT | TO | 24+80.09 | LT |  |  |  | 1 | [7 empty] | 1 |  |  |  | 1 | 1 | [9 empty] | 384 | 128
| 5 | E8 | 670 | 24+80.09 | LT | TO | 25+11.11 | LT |  |  |  |  | 1 | [6 empty] | 1 |  |  |  | 1 | 1 | [9 empty] | 90 | 30
| 5 | E9 | 670 | 25+11.11 | LT | TO | 25+11.11 | LT |  |  | 1 | [7 empty] | 1 |  |  |  | 1
| 5 | E10 | 670 | 25+11.11 | LT | TO | 25+11.11 | LT |  |  |  |  | 1 | [7 empty] | 1 |  |  | 2 | 2 | [9 empty] | 333 | 111
| 5 | E11 | 670 | 25+11.11 | LT | TO | 25+55.15 | LT |  |  |  | 1 |  | 1 | [7 empty] | 1 | 1 | 1 | 2 |  | 3 | [8 empty] | 132
| 5 | E12 | 670 | 22+26.16 | LT | TO | 23+05.92 | LT | [21 empty] | 250 | [6 empty] | 285 |  | 448 | 80
| 5 | E13 | 670 | 22+82.71 | RT | TO | 23+05.92 | LT | [22 empty] | 83 | [5 empty] | 90 | 180 | 101 | 18
| 5 | E14 | 670 | 22+82.71 | RT | TO | [11 empty] | 1 | [7 empty] | 1
| 5 | E15 | 670 | 22+82.71 | RT | TO | 22+82.71 | RT | [6 empty] | 1 |  | 1 | [12 empty] | 6 | [6 empty] | 12
| 5 | E16 | 670 | 22.16.78 | RT | TO | 22+82.71 | RT | [7 empty] | 1 | 1 | [12 empty] | 70 | [6 empty] | 70
|  | E18 | 670 | 23+05.9 | LT | [22 empty] | 2
| 5 | E17 | 673 | 1+34.75 |  | TO | 3+54.7 | [24 empty] | 207 | 434 | 217
|  | E17A | 673 | 1+34.75 |  | TO | 3+54.7 | [24 empty] | 216 | 452 | 226
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 11 | 4614 | 5 | 3 | 2 | 1 | 1 | 1 | 2 | 1 | 2 | 3 | 1 | 2 | 3 | 7 | 12 | 1 | 3 | 2 | 3 | 326 | 83 | 423 | 886 | 443 | 1659 | 940 | 457 | 180 | 549 | 98
| Page # | 2
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | 3
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | 4
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY