## Subsumm
REFERENCE NO. | SHEET NO. | SIDE | ROADWAY | STATION TO STATION |  |  | 625 | [15 empty] | 632
[7 empty] | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PULL APART | CONNECTION, UNFUSED PERMANENT | LIGHT POLE, CONVENTIONAL: 32' 6" ROUND TAPERED ALUMINUM WITH 8' DAVIT ARM | LIGHT POLE FOUNDATION, 24" X 6' DEEP | 1-1/2" DUCT CABLE WITH THREE NO. 6 AWG 2400 VOLT CABLES | NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE | CONDUIT, 1-1/2", 725.04 | NO. 10 AWG POLE AND BRACKET CABLE | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED) | TRENCH, 24" DEEP | PULL BOX, 725.08, 18" | GROUND ROD | POWER SERVICE, AS PER PLAN | UNDERGROUND WARNING/MARKING TAPE | LUMINAIRE, UNDERPASS | DISCONNECT SWITCH WITH ENCLOSURE
[7 empty] | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | EACH | FT | EACH | EACH | EACH | FT | EACH | EACH
1 | 64 | LT | S.R. 108 | 91808.67 |  |  |  |  | 3 | [8 empty] | 1
2 | 64 | LT | S.R. 108 | 91808.67 | TO | 91903.64 | [5 empty] | 105 |  |  |  |  | 95 |  |  |  | 95
3 | 64 | LT | S.R. 108 | 91903.64 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
4 | 64 | LT/RT | S.R. 108 | 91808.67 | TO | 91805.66 | [5 empty] | 52 |  |  |  |  | 42 |  |  |  | 42
5 | 64 | RT | S.R. 108 | 91805.66 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
6 | 64 | RT | S.R. 108 | 91805.66 | TO | 91940.53 | [5 empty] | 167 |  |  |  |  | 157 |  |  |  | 157
7 | 64 | RT | S.R. 108 | 91940.53 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
8 | 64 | RT | S.R. 108 | 91940.53 | TO | 91991.05 | [5 empty] | 62 |  |  |  |  | 52 |  |  |  | 52
9 | 64 | RT | S.R. 108 | 91991.05 |  |  |  |  | 3 | [8 empty] | 1
10 | 64 | RT | U.S. RAMP C | 91991.05 | TO | 92021.83 | [5 empty] | 172 |  |  |  |  | 162 |  |  |  | 162
11 | 64 | RT | U.S. RAMP C | 92021.83 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
12 | 64 | LT/RT | U.S. RAMP C | 91991.05 | TO | 92022.09 | [5 empty] | 42 |  |  |  |  | 32 |  |  |  | 32
13 | 64 | LT | U.S. RAMP C | 92022.09 |  |  |  |  | 3 | [8 empty] | 1
14 | 64 | LT | U.S. RAMP C | 92022.09 | TO | 92026.16 | [5 empty] | 54 |  |  |  |  | 44 |  |  |  | 44
15 | 64 | LT | U.S. RAMP C | 92026.16 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
16 | 64 | LT | S.R. 108 | 91992.37 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
17 | 64 | LT | S.R. 108 | 91992.37 | TO | 92068.51 | [5 empty] | 100 |  |  |  |  | 90 |  |  |  | 90
18 | 64 | LT | S.R. 108 | 92068.51 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
19 | 64 | LT | S.R. 108 | 92068.51 | TO | 92099.9 | [5 empty] | 42 |  |  |  |  | 32 |  |  |  | 32
20 | 64 | LT | S.R. 108 | 92099.9 |  |  |  |  | 3 | [8 empty] | 1
21 | 64 | LT/RT | S.R. 108 | 92099.9 | TO | 92105.85 | [5 empty] | 58 |  |  |  |  | 48 |  |  |  | 48
22 | 64 | RT | S.R. 108 | 92105.85 |  |  |  |  | 3 | [8 empty] | 1
23 | 64 | RT | S.R. 108 | 92105.85 | TO | 92158.05 | [5 empty] | 64 |  |  |  |  | 54 |  |  |  | 54
24 | 64 | RT | S.R. 108 | 92158.05 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
25 | 64 | RT | S.R. 108 | 92040.68 | TO | 92105.85 | [5 empty] | 86 |  |  |  |  | 76 |  |  |  | 76
26 | 64 | RT | S.R. 108 | 92040.68 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
27 | 64 | RT | S.R. 108 | 92022.09 | TO | 92040.68 | [5 empty] | 48 |  |  |  |  | 38 |  |  |  | 38
28 | 64 | RT | S.R. 108 | 92105.85 | TO | 92110.44 | [5 empty] | 24 |  |  |  |  | 14 |  |  |  | 14
29 | 64 | RT | S.R. 108 | 92110.44 |  |  |  |  | 3 | [8 empty] | 1
30 | 64 | RT | S.R. 108 | 92110.44 | TO | 92120.33 | [5 empty] | 23 |  |  |  |  | 13 |  |  |  | 13
31 | 64 | RT | S.R. 108 | 92120.33 | [7 empty] | 25 |  |  |  |  | 15 |  |  | 1 | 15
1 | 65 | LT | S.R. 108 | 91515.85 |  |  | 1 | 1 |  |  |  |  | 15 | 25 | 75 |  |  |  | 1 |  |  | 1 | 1
2 | 65 | LT | S.R. 108 | 91523.32 |  |  |  |  | 3 | [8 empty] | 1
3 | 65 | LT | S.R. 108 | 91523.32 | TO | 91636.18 | [5 empty] | 123 |  |  |  |  | 113 |  |  |  | 113
4 | 65 | LT | S.R. 108 | 91629.15 |  |  | 1 | 1 |  |  |  |  | 15 | 25 | 75 |  |  |  | 1 |  |  | 1 | 1
5 | 65 | LT | S.R. 108 | 91636.18 |  |  |  |  | 3 | [8 empty] | 1
6 | 65 | LT | S.R. 108 | 91636.18 | TO | 91808.67 | [5 empty] | 183 |  |  |  |  | 173 |  |  |  | 173
7 | 65 | LT | S.R. 108 | 92099.9 | TO | 92257.07 | [5 empty] | 169 |  |  |  |  | 159 |  |  |  | 159
8 | 65 | LT | S.R. 108 | 92257.07 |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 138 | 1 |  |  | 1
TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 12 | 12 | 24 | 10 | 10 | 1599 | 30 | 50 | 1530 | 10 | 1409 | 8 | 12 | 1 | 1409 | 2 | 2

## Cost Estimate
Item | Ext. | Description | Total | Unit | Unit Cost | Total
625 | 450 | #REF! | #REF! | #REF! | 80 | #REF!
625 | 480 | #REF! | #REF! | #REF! | 75 | #REF!
625 | 10481 | #REF! | #REF! | #REF! | 2000 | #REF!
625 | 10490 | #REF! | #REF! | #REF! | 2500 | #REF!
625 | 10490 | #REF! | #REF! | #REF! | 2500 | #REF!
625 | 10503 | #REF! | #REF! | #REF! | 450 | #REF!
625 | 14100 | #REF! | #REF! | #REF! | 1200 | #REF!
625 | 23000 | #REF! | #REF! | #REF! | 3 | #REF!
625 | 23100 | #REF! | #REF! | #REF! | 3 | #REF!
625 | 23200 | #REF! | #REF! | #REF! | 3 | #REF!
625 | 23400 | #REF! | #REF! | #REF! | 1.25 | #REF!
625 | 24320 | #REF! | #REF! | #REF! | 6 | #REF!
625 | 25504 | #REF! | #REF! | #REF! | 5 | #REF!
625 | 25902 | #REF! | #REF! | #REF! | 35 | #REF!
625 | 26250 | #REF! | #REF! | #REF! | 300 | #REF!
625 | 27551 | #REF! | #REF! | #REF! | 700 | #REF!
625 | 27551 | #REF! | #REF! | #REF! | 700 | #REF!
625 | 27561 | #REF! | #REF! | #REF! | 150 | #REF!
625 | 29002 | #REF! | #REF! | #REF! | 5 | #REF!
625 | 30700 | #REF! | #REF! | #REF! | 700 | #REF!
625 | 31510 | #REF! | #REF! | #REF! | 125 | #REF!
625 | 32000 | #REF! | #REF! | #REF! | 170 | #REF!
625 | 34001 | #REF! | #REF! | #REF! | 5500 | #REF!
625 | 36000 | #REF! | #REF! | #REF! | 0.5 | #REF!
625 | 38000 | #REF! |  | #REF! | 5000 | 5000
625 | 39520 | #REF! | #REF! | #REF! | 130 | 130
SPEC | 62540000 | #REF! |  | #REF! | 20000 | 20000
SPEC | 62540010 | #REF! | #REF! | #REF! | 2100 | 2100
625 | 75400 | #REF! | #REF! | #REF! | 275 | #REF!
625 | 75410 | #REF! | #REF! | #REF! | 275 | #REF!
625 | 75500 | #REF! | #REF! | #REF! | 200 | #REF!
625 | 75506 | #REF! | #REF! | #REF! | 70 | #REF!
625 | 75508 | #REF! | #REF! | #REF! | 100 | #REF!
625 | 75800 | #REF! | #REF! | #REF! | 160 | #REF!
#REF!