## Power Service
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | POWER SERVICE VOLTAGE AND CONFIGURATION | CONTROL CENTER TOTAL CONNECTED LOAD (kVA) | SERVICE ENTRANCE CONDUCTOR SIZE (AWG) | ENCLOSURE RATING (AMPS) | FEEDER CIRCUIT CONNECTED LOAD (AMPS) | FEEDER CIRCUIT FUSE SIZE (AMPS) | BRANCH CIRCUIT NO. | CIRCUIT TYPE | LIGHT POLE NO. | BRANCH CIRCUIT VOLTAGE (VOLTS) | BRANCH CIRCUIT LOAD (AMPS) | BRANCH CIRCUIT BREAKER SIZE (AMPS) | BRANCH CIRCUIT CABLE SIZE | MAINTAINING AGENCY
MN | 120 / 240 3-WIRE | 3.0064 | 4 | 60 | 19.96 | 40 | 1 | LIGHTING | LP-MN1-1-11 | 240 | 7.79 | 15 | 4 | ODOT
[7 empty] | 2 | LIGHTING | DP-MN2-1-10 | 240 | 1.13 | 10 | 4 | ODOT
[7 empty] | 3 | LIGHTING | LP-MN3-1-5 | 240 | 3.54 | 10 | 4 | ODOT
[7 empty] | 2A | RECEPTACLE | DP-MN2-6-10 | 120 | 7.5 | 15 | 4 | ODOT