## Item Types
OHDOT_StormSanConduit |  |  |  |  | OHDOT_StormSanNode |  |  |  |  | OHDOT_UtilityConduit
Property Name | Readonly | Calculated | Defaulted | Example | Property Name | Readonly | Calculated | Defaulted | Example | Property Name | Readonly | Calculated | Defaulted | Example
FeatureName |  | Yes |  | P-01 | FeatureName |  | Yes |  | DR-1 | isExisting |  |  | Yes | TRUE
FeatureName_Prefix | Yes |  |  | P-01 EX. | BaselineName |  | Yes |  | CLP_S185 | Prefix |  |  | Yes (ex. only) | EX.
NodeToNodeLength |  | Yes |  | 100 ft | Station |  | Yes |  | 398+00 | Type |  |  | Yes | GAS
isExisting |  |  | Yes | TRUE | Offset |  | Yes |  | -18 ft | Prefix_Type | Yes |  |  | EX. GAS
Prefix |  |  | Yes (ex. only) | EX. | AbsOffset |  | Yes |  | 18 ft | Size |  | Yes |  | 8"
Size |  | Yes |  | 12" | OffsetSide |  | Yes |  | LT | Prefix_Size | Yes |  |  | EX. 8"
Prefix_Size | Yes |  |  | EX. 12" | isExisting |  |  | Yes | TRUE | Suffix |  |  |  | TO BE REMOVED
Type |  |  | Yes | CMP | Prefix |  |  | Yes (ex. Only) | EX.
Prefix_Type | Yes |  |  | EX. CMP | Type |  |  | Yes | CB-3
Category |  |  | Yes | STORM | Prefix_Type | Yes |  |  | EX. CB-3
NodeToNodeSlope |  | Yes |  | 1.16% | TypeLabel |  |  | Yes | GRATE ELEV
StartNodeID |  | Yes |  | 10 | Existing_Action_Label |  |  |  | TO BE REMOVED
StartNodeName |  | Yes |  | DR-01 | Grate_Rim_Elevation |  | Yes |  | 997.37 ft
StartElevation |  | Yes |  | 993.95 ft | Invert_Elevation |  | Yes |  | 993.95 ft
StopNodeID |  | Yes |  | 11 | ConnectedPipes |  | Yes |  | (OUT) P-01
StopNodeName |  | Yes |  | DR-02 | ConnectedPipes_withInverts |  | Yes |  | (OUT) P-01 S 4" 993.95
StopElevation |  | Yes |  | 992.79 ft | Conduit1Label |  | Yes
Suffix |  |  |  | TO BE REMOVED | Conduit1isExisting |  | Yes
[5 empty] | Conduit1Prefix |  | Yes
[5 empty] | Conduit1Size |  | Yes
[5 empty] | Conduit1Prefix_Size | Yes
Readonly | value is a formula that updates automatically |  |  |  | Conduit1Type |  | Yes
Calculated | value is updated with sync tool from drainage properties |  |  |  | Conduit1Invert |  | Yes
Defaulted | value is defaulted on feature definition |  |  |  | Conduit1Angle |  | Yes
[5 empty] | Conduit1Direction |  | Yes
[5 empty] | Conduit2Label |  | Yes
[5 empty] | Conduit2isExisting |  | Yes
[5 empty] | Conduit2Prefix |  | Yes
[5 empty] | Conduit2Size |  | Yes
[5 empty] | Conduit2Prefix_Size | Yes
[5 empty] | Conduit2Type |  | Yes
[5 empty] | Conduit2Invert |  | Yes
[5 empty] | Conduit2Angle |  | Yes
[5 empty] | Conduit2Direction |  | Yes
[5 empty] | Conduit3Label |  | Yes
[5 empty] | Conduit3isExisting |  | Yes
[5 empty] | Conduit3Prefix |  | Yes
[5 empty] | Conduit3Size |  | Yes
[5 empty] | Conduit3Prefix_Size | Yes
[5 empty] | Conduit3Type |  | Yes
[5 empty] | Conduit3Invert |  | Yes
[5 empty] | Conduit3Angle |  | Yes
[5 empty] | Conduit3Direction |  | Yes
[5 empty] | Conduit4Label |  | Yes
[5 empty] | Conduit4isExisting |  | Yes
[5 empty] | Conduit4Prefix |  | Yes
[5 empty] | Conduit4Size |  | Yes
[5 empty] | Conduit4Prefix_Size | Yes
[5 empty] | Conduit4Type |  | Yes
[5 empty] | Conduit4Invert |  | Yes
[5 empty] | Conduit4Angle |  | Yes
[5 empty] | Conduit4Direction |  | Yes
[5 empty] | Conduit5Label |  | Yes
[5 empty] | Conduit5isExisting |  | Yes
[5 empty] | Conduit5Prefix |  | Yes
[5 empty] | Conduit5Size |  | Yes
[5 empty] | Conduit5Prefix_Size | Yes
[5 empty] | Conduit5Type |  | Yes
[5 empty] | Conduit5Invert |  | Yes
[5 empty] | Conduit5Angle |  | Yes
[5 empty] | Conduit5Direction |  | Yes
[5 empty] | OutgoingConduitLabel |  | Yes
[5 empty] | OutgoingConduitisExisting |  | Yes
[5 empty] | OutgoingConduitPrefix |  | Yes
[5 empty] | OutgoingConduitSize |  | Yes
[5 empty] | OutgoingConduitPrefix_Size | Yes
[5 empty] | OutgoingConduitType |  | Yes
[5 empty] | OutgoingConduitInvert |  | Yes
[5 empty] | OutgoingConduitAngle |  | Yes
[5 empty] | OutgoingConduitDirection |  | Yes

## Text Favorites
Text Favorite Name | Format [item type property name] | Example | For | View | Annotation Group | Defaulted (element Annotation) | Civil Labeler
Plan P StormSanPipe | [Prefix_Size] [Type] | 18" TYPE B | Conduit | Plan | Plan/Linear/P_DrainagePipePlan_Detailed | All Proposed Drainage Conduit Features | Plan-StormConduit-P_Detailed
Plan P StormSanPipe Callout | [FeatureName] | D-2 | Conduit | Plan | Plan/Linear/P_DrainagePipePlan_Callout | no | Plan-StormConduit-P_Callout
Plan X StormSanPipe | [Prefix_Size] [Type] [Category] [Suffix] | EX. 18" CMP STORM TO BE REMOVED | Conduit | Plan | Plan/Linear/X_DrainagePipePlan_Detailed | All Existing Drainage Conduit Features | Plan-StormConduit-X_Detailed
Plan X StormSanPipe Callout | [FeatureName] | D-3 | Conduit | Plan | Plan/Linear/X_DrainagePipePlan_Callout | no | Plan-StormConduit-X_Callout
Plan P StormSanNode Callout | [FeatureName] | D-3 | Node | Plan | Plan/Point/DrainageNode-P_FeatureNameCallOut | All Proposed Drainage Node Features (Not Working) | Plan-StormNode-P
Plan X StormSanNode Call | [FeatureName] | D-3 | Node | Plan | none | no | Plan-StormNode-X
Profile P StormSanPipe | [NodeToNodeLength]-[Prefix_Size] [Type] @ [NodeToNodeSlope] | 100'-12" TYPE B @ -1.98% | Conduit | Profile | Profile/Linear/P-DrainagePipe_Detailed | All Proposed Drainage Conduit Features | Profile-StormConduit-P_Detailed
Profile P StormSanPipe Callout | [FeatureName] | D-2 | Conduit | Profile | Profile/Linear/P-DrainagePipe_Callout | no | Profile-StormConduit-P_Callout
Profile X StormSanPipe | [Prefix_Size] [Type] [Category] [Suffix] | EX. 12"CMP STORM TO BE REMOVED | Conduit | Profile | Profile/Linear/X-DrainagePipe_Detailed | All Existing Drainage Conduit Features | Profile-StormConduit-P_Detailed
Profile X StormSanPipe Callout | [FeatureName] | D-2 | Conduit | Profile | Profile/Linear/X-DrainagePipe_Callout | no | Profile-StormConduit-P_Callout
Profile P StormSanNode Callout | [FeatureName] | D-2 | Node | Profile | none | no | Profile-StormNode-P_Callout
Profile P StormSanNode0Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 | Node | Profile | none | no | Profile-StormNode-P-0Pipe
Profile P StormSanNode1Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [OutgoingConduitPrefix_Size] [OutgoingConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-P-1Pipe
Profile P StormSanNode2Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 12" (S) 1002.56 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-P-2Pipe
Profile P StormSanNode3Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 12" (S) 1002.56 12" (W) 1002.50 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-P-3Pipe
Profile P StormSanNode4Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [Conduit3Prefix_Size] [Conduit3Type] ([Conduit3Direction]) [Conduit3Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 12" (S) 1002.56 12" (W) 1002.50 12" (E) 1003.05 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-P-4Pipe
Profile P StormSanNode5Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [Conduit3Prefix_Size] [Conduit3Type] ([Conduit3Direction]) [Conduit3Invert] [Conduit4Prefix_Size] [Conduit4Type] ([Conduit4Direction]) [Conduit4Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 12" (S) 1002.56 12" (W) 1002.50 12" (E) 1003.05 8" (NE) 1003.24 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-P-5Pipe
Profile P StormSanNode6Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [Conduit3Prefix_Size] [Conduit3Type] ([Conduit3Direction]) [Conduit3Invert] [Conduit4Prefix_Size] [Conduit4Type] ([Conduit4Direction]) [Conduit4Invert] [Conduit5Prefix_Size] [Conduit5Type] ([Conduit5Direction]) [Conduit5Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT CB-3, GRATE ELEV 1003.65 12" (S) 1002.56 12" (W) 1002.50 12" (E) 1003.05 8" (NE) 1003.24 6" (NW) 1002.73 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-P-6Pipe
Profile X StormSanNode Callout | [FeatureName] | D-2 | Node | Profile | none | no | Profile-StormNode-P_Callout
Profile X StormSanNode0Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 | Node | Profile | none | no | Profile-StormNode-X-0Pipe
Profile X StormSanNode1Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [OutgoingConduitPrefix_Size] [OutgoingConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 EX. 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-X-1Pipe
Profile X StormSanNode2Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 EX. 12" (S) 1002.56 EX. 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-X-2Pipe
Profile X StormSanNode3Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 EX. 12" (S) 1002.56 EX. 12" (W) 1002.50 EX. 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-X-3Pipe
Profile X StormSanNode4Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [Conduit3Prefix_Size] [Conduit3Type] ([Conduit3Direction]) [Conduit3Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 EX. 12" (S) 1002.56 EX. 12" (W) 1002.50 EX. 12" (E) 1003.05 EX. 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-X-4Pipe
Profile X StormSanNode5Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [Conduit3Prefix_Size] [Conduit3Type] ([Conduit3Direction]) [Conduit3Invert] [Conduit4Prefix_Size] [Conduit4Type] ([Conduit4Direction]) [Conduit4Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 EX. 12" (S) 1002.56 EX. 12" (W) 1002.50 EX. 12" (E) 1003.05 EX. 8" (NE) 1003.24 EX. 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-X-5Pipe
Profile X StormSanNode6Pipe | STA [Station], [AbsOffset] [OffsetSide] [Prefix_Type], [TypeLabel] [Grate_Rim_Elevation] [Conduit1Prefix_Size] [Conduit1Type] ([Conduit1Direction]) [Conduit1Invert] [Conduit2Prefix_Size] [Conduit2Type] ([Conduit2Direction]) [Conduit2Invert] [Conduit3Prefix_Size] [Conduit3Type] ([Conduit3Direction]) [Conduit3Invert] [Conduit4Prefix_Size] [Conduit4Type] ([Conduit4Direction]) [Conduit4Invert] [Conduit5Prefix_Size] [Conduit5Type] ([Conduit5Direction]) [Conduit5Invert] [OutgoingConduitPrefix_Size] [Outgoing ConduitType] ([OutgoingConduitDirection]) [OutgoingConduitInvert] | STA 386+50.00, 12.00' LT EX. CB-3, GRATE ELEV 1003.65 EX. 12" (S) 1002.56 EX. 12" (W) 1002.50 EX. 12" (E) 1003.05 EX. 8" (NE) 1003.24 EX. 6" (NW) 1002.73 EX. 18" (N) 1002.13 | Node | Profile | none | no | Profile-StormNode-X-6Pipe
XS P StormSanPipe | [Prefix_Size] [Type] | 12" Type B | Conduit | Plan, Profile, XS | Cross Section/Drawing/Drainage_Sanitary_Detailed | All Proposed Drainage Conduit Features | XS-StormCondiut-P_Detailed
XS P StormSanPipe Callout | [FeatureName] | D-2 | Conduit | XS | Cross Section/Drawing/Drainage_Sanitary_Callout | no | XS-StormConduit-P_Callout
XS X StormSanPipe | [Prefix_Size] [Type] [Category] [Suffix] | EX. 12" CMP STORM TO BE REMOVED | Conduit | XS | Cross Section/Drawing/Drainage_Sanitary_Detailed | All Existing Drainage Conduit Features | XS-StormCondiut-X_Detailed
XS X StormSanPipe Callout | [FeatureName] | D-2 | Conduit | XS | Cross Section/Drawing/Drainage_Sanitary_Callout | no | XS-StormConduit-X_Callout
XS P StormSanNode Callout | [FeatureName] | D-2 | Node | XS | none | no | XS-StormNode-P_Callout
XS X StormSanNode Callout | [FeatureName] | D-2 | Node | XS | none | no | XS-StormNode-X_Callout
Util-P-SizeType | [Prefix_Size] [Type] | 6" GAS | Conduit | Plan, Profile, XS | Cross Sesction/Drawing/Utilities | no | Util-Gas-SizeType-P, Util-Water-SizeType-P
Util-P-Type | [Prefix_Type] | TELECOM | Conduit | Plan, Profile, XS | Cross Sesction/Drawing/Utilities | no | Util-Electric-Type-P, Util-Lighting-Type-P, Util-Telecom-Type-P
Util-X-SizeTypeSuffix | [Prefix_Size] [Type] [Suffix] | EX. 6" Gas | Conduit | Plan, Profile, XS | Cross Sesction/Drawing/Utilities | no | Util-Gas-SizeType-X, Util-Oil-SizeType-X, Util-Water-SizeType-X
Util-X-TypeSuffix | [Prefix_Type] [Suffix] | EX. TELECOM | Conduit | Plan, Profile, XS | Cross Sesction/Drawing/Utilities | no | Util-CableTV-Type-X, Util-Electric-Type-X, Util-Lighting-Type-X, Util-Telecom-Type-X

## UDX
Conduit/Channel/Gutter |  |  | Catch Basin/Manhole
Property Name | Readonly | Updated via Sync App | Property Name | Readonly | Updated via Sync App
Direction (Start)** |  |  | Total Allowable Spread*
Direction (End)** |  |  | Allowable Depth*
Shear Stress*** | Yes |  | C* | Yes
Ground Minus HGL (Start)** | Yes |  | Total Inlet Surface Flow* | Yes
Ground Minus HGL (End)** | Yes |  | Existing Action |  | Yes
Existing Action |  | Yes | Type |  | Yes
Type** |  | Yes | Baseline Name |  | Yes
Start BL Name |  | Yes | Baseline Station |  | Yes
Start Station |  | Yes | Baseline Offset |  | Yes
Start Offset |  | Yes | Baseline Offset (Abs) |  | Yes
Stop BL Name |  | Yes | Baseline Offset Side |  | Yes
Stop Station |  | Yes
Stop Offset |  | Yes
Readonly= value is a formula that updates automatically
*=Catch Basin Only
**=Conduit Only
***=Conduit and Channel Only