## CONTROL CENTER DATA TABLE
EXISTING CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | LINE VOLTS | CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | CIRCUIT NO. | CIRCUIT LOAD AMPS | CIRCUIT FUSE SIZE AMPS | CIRCUIT CABLE SIZE AWG | MAINTAINING AGENCY
P | 240 | 0.36 | 4 | 60 | P | 1.5 | 30 | 4 | MARTINS FERRY
E | 240 | 13.152 | 4 | 100 | EA | 22.8 | 60 | 4
[5 empty] | EB | 32 | 60 | 2
| 120 |  | 1/0
| 240 |  | 2/0
| 480 |  | 2
4