## Sheet1
CONDUIT | [6 empty] | CABLE AND WIRE |  |  |  | IS [A] LESS THAN 0.4C? | FINAL CONDUIT NOMINAL DIAMETER
FROM | TO | RUN LENGTH | SIZE/NOMINAL DIAMETER | INSIDE DIAMETER | C | 0.4C | NO. OF CONDUCTORS AWG | NO. CABLES OR WIRES* | a | [A]
[5 empty] | INSIDE AREA | 40% INSIDE AREA |  |  | CROSS SECTION AREA | COMBINED CROSS SECTION AREA
|  | FT. | IN. | IN. | SQ. IN. | SQ. IN. |  |  | SQ. IN. | SQ. IN. |  | IN. | CONDUIT CROSS SECTION AREA
- | - | 50 | 1.5 | 1.61 | 2.04 | 0.816 | 1/C # 6 | 3 | 0.414 | 0.414 | YES | 1.5 | 0.4 AREA | NOMINAL DIAMETER | INSIDE DIAMETER | INSIDE AREA | 0.4 AREA | NO. OF CONDUCTORS AWG | CROSS SECTION AREA, SQ. IN.
[7 empty] | - | - | - |  |  |  | - | - | - | - | - | - | -
[7 empty] | - | - | - |  |  |  | 0.12 | 0.5 | 0.622 | 0.3 | 0.12 | 1/C # 2 | 0.229
[7 empty] | - | - | - |  |  |  | 0.212 | 0.75 | 0.824 | 0.53 | 0.212 | 1/C # 4 | 0.173
[7 empty] | - | - | - |  |  |  | 0.344 | 1 | 1.049 | 0.86 | 0.344 | 1/C # 6 | 0.138
- | - | - | - | - | - | - | - | - | - | - | - | - | 0.6 | 1.25 | 1.38 | 1.5 | 0.6 | 1/C # 8 | 0.107
[7 empty] | - | - | - |  |  |  | 0.816 | 1.5 | 1.61 | 2.04 | 0.816 | 1/C # 10 | 0.075
[7 empty] | - | - | - |  |  |  | 1.344 | 2 | 2.067 | 3.36 | 1.344 | 1/C # 12 | 0.061
[7 empty] | - | - | - |  |  |  | 1.916 | 2.5 | 2.469 | 4.79 | 1.916 | 1/C # 14 | 0.053
[7 empty] | - | - | - |  |  |  | 2.952 | 3 | 3.068 | 7.38 | 2.952
[7 empty] | - | - | - |  |  |  | 3.96 | 3.5 | 3.548 | 9.9 | 3.96
[7 empty] | - | - | - |  |  |  | 5.088 | 4 | 4.026 | 12.72 | 5.088
[7 empty] | - | - | -
[7 empty] | - | - | - |  |  |  |  | NOMINAL DIAMETER | 0.4 AREA
[7 empty] | - | - | - |  |  |  |  | 4 | 5.088
[7 empty] | - | - | - |  |  |  |  | 3.5 | 3.96
[7 empty] | - | - | - |  |  |  |  | 3 | 2.952
[7 empty] | - | - | - |  |  |  |  | 2.5 | 1.916
[7 empty] | - | - | - |  |  |  |  | 2 | 1.344
[7 empty] | - | - | - |  |  |  |  | 1.5 | 0.816
- | - | - | - | - | - | - | - | - | - | - | - | - |  | 1.25 | 0.6
[7 empty] | - | - | - |  |  |  |  | 1 | 0.344
[7 empty] | - | - | - |  |  |  |  | 0.75 | 0.212
[7 empty] | - | - | - |  |  |  |  | 0.5 | 0.12
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
* NOTE: INCLUDE GROUNDING CONDUCTOR IN WIRE COUNT FOR LIGHTING CIRCUITS OF NOTATION "WITH GROUND."
CONDUIT | [6 empty] | CABLE AND WIRE |  |  |  | IS [A] LESS THAN 0.4C? | FINAL CONDUIT NOMINAL DIAMETER
FROM | TO | RUN LENGTH | SIZE/NOMINAL DIAMETER | INSIDE DIAMETER | C | 0.4C | NO. OF CONDUCTORS AWG | NO. CABLES OR WIRES* | a | [A]
[5 empty] | INSIDE AREA | 40% INSIDE AREA |  |  | CROSS SECTION AREA | COMBINED CROSS SECTION AREA
|  | FT. | IN. | IN. | SQ. IN. | SQ. IN. |  |  | SQ. IN. | SQ. IN. |  | IN.
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
* NOTE: INCLUDE GROUNDING CONDUCTOR IN WIRE COUNT FOR LIGHTING CIRCUITS OF NOTATION "WITH GROUND."
CONDUIT | [6 empty] | CABLE AND WIRE |  |  |  | IS [A] LESS THAN 0.4C? | FINAL CONDUIT NOMINAL DIAMETER
FROM | TO | RUN LENGTH | SIZE/NOMINAL DIAMETER | INSIDE DIAMETER | C | 0.4C | NO. OF CONDUCTORS AWG | NO. CABLES OR WIRES* | a | [A]
[5 empty] | INSIDE AREA | 40% INSIDE AREA |  |  | CROSS SECTION AREA | COMBINED CROSS SECTION AREA
|  | FT. | IN. | IN. | SQ. IN. | SQ. IN. |  |  | SQ. IN. | SQ. IN. |  | IN.
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
* NOTE: INCLUDE GROUNDING CONDUCTOR IN WIRE COUNT FOR LIGHTING CIRCUITS OF NOTATION "WITH GROUND."
CONDUIT | [6 empty] | CABLE AND WIRE |  |  |  | IS [A] LESS THAN 0.4C? | FINAL CONDUIT NOMINAL DIAMETER
FROM | TO | RUN LENGTH | SIZE/NOMINAL DIAMETER | INSIDE DIAMETER | C | 0.4C | NO. OF CONDUCTORS AWG | NO. CABLES OR WIRES* | a | [A]
[5 empty] | INSIDE AREA | 40% INSIDE AREA |  |  | CROSS SECTION AREA | COMBINED CROSS SECTION AREA
|  | FT. | IN. | IN. | SQ. IN. | SQ. IN. |  |  | SQ. IN. | SQ. IN. |  | IN.
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
* NOTE: INCLUDE GROUNDING CONDUCTOR IN WIRE COUNT FOR LIGHTING CIRCUITS OF NOTATION "WITH GROUND."
CONDUIT | [6 empty] | CABLE AND WIRE |  |  |  | IS [A] LESS THAN 0.4C? | FINAL CONDUIT NOMINAL DIAMETER
FROM | TO | RUN LENGTH | SIZE/NOMINAL DIAMETER | INSIDE DIAMETER | C | 0.4C | NO. OF CONDUCTORS AWG | NO. CABLES OR WIRES* | a | [A]
[5 empty] | INSIDE AREA | 40% INSIDE AREA |  |  | CROSS SECTION AREA | COMBINED CROSS SECTION AREA
|  | FT. | IN. | IN. | SQ. IN. | SQ. IN. |  |  | SQ. IN. | SQ. IN. |  | IN.
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
- | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
[7 empty] | - | - | -
* NOTE: INCLUDE GROUNDING CONDUCTOR IN WIRE COUNT FOR LIGHTING CIRCUITS OF NOTATION "WITH GROUND."