## Sheet1
POWER SERVICE DATA
POWER SERVICE | LINE VOLTAGE (VOLTS) | CONNECTED LOAD (kVA) | SERVICE ENTRANCE CABLE | ENCLOSURE RATING (AMPS) | CIRCUIT NO. | CIRCUIT LOAD (AMPS) | CIRCUIT FUSE SIZE (AMPS) | CIRCUIT CABLE SIZE (AWG) | MAINTAINING AGENCY
CC-TRG | 120 | 0.174 | 4 | 60 | 1-TRG | 1.45 | 10 | 4 | ODOT