## LIGHTING
1 |  |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[5 empty] | INSTRUCTIONS: | 2) | DO NOT ENTER ANY DATA INTO THE ITEM NUMBER, ITEM DESCRIPTION & ITEM UNITS
[6 empty] | 3) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[6 empty] | 4) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[6 empty] | 5) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | SUBSUMMARY SHEET | [24 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
|  | ITEM_CODE | [6 empty] | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E | 625E
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | LOCATION |  | STATION | SIDE | DESCRIPTION | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[9 empty] | CONNECTION FUSED PULL APART | CONNECTION UNFUSED PULL APART | CONNECTION, UNFUSED PERMANENT | LIGHT POLE DESIGN NO. AT18B40 | LIGHT POLE DESIGN NO. AT12B40 | LIGHT POLE FOUNDATION, 24" X 8'-0" | NO. 4 AWG, 2400V, DISTRIBUTION CABLE | NO. 10 AWG POLE AND BRACKET CABLE | 1-1/2" DUCT CABLE WITH THREE NO. 4 AWG 2400 VOLT CABLES | CONDUIT, 3" 725.04 | CONDUIT, 3" JACK OR DRILLED 725.04 | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN | TRENCH, 24" DEEP | PULL BOX, 725.08, 18" | PULL BOX, 725.08, 24" | GROUND ROD | POWER SERVICE, AS PER PLAN | CONTROL CENTER CABINET, COMPLETE
[9 empty] | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH
|  | 1 | 44 | TREGO CREEK RD. |  | 354+23.73 | LT | 1-TRG-1 | 1 | 1 | 1 | 1 |  | 1 |  | 189 |  |  |  | 1 |  |  |  | 1
|  | 2 | 44 |  |  |  |  | 1-TRG-1 TO PB-3 | [8 empty] | 10 |  |  |  | 10
|  | 3 | 44 | SR 23 |  | 354+20.60 | LT | PB-3 |  |  | 3 | [10 empty] | 1
|  | 4 | 44 |  |  |  |  | PB-3 TO PB-1 | [6 empty] | 390 |  |  |  | 120
|  | 5 | 44 | TREGO CREEK RD. |  | 354+20.77 | RT | PB-1 |  |  | 3 | [11 empty] | 1
|  | 6 | 44 |  |  |  |  | PB-1 TO PB-2 | [6 empty] | 240 |  |  |  | 70
|  | 7 | 44 | TREGO CREEK RD. |  | 354+93.74 | RT | PB-2 |  |  | 3 | [10 empty] | 1
|  | 8 | 44 |  |  |  |  | PB-2 TO 1-TRG-2 | [8 empty] | 16 |  |  |  | 16
|  | 9 | 44 | SR 23 |  | 355+04.78 | RT | 1-TRG-2 | 1 | 1 | 1 |  | 1 | 1 |  | 171 |  |  |  | 1 |  |  |  | 1
|  | 10 | 44 |  |  |  |  | PB-1 TO CC-TRG | [6 empty] | 30 |  |  | 40 |  |  | 40
|  | 11 | 44 | TREGO CREEK RD. |  | 353+86.86 | RT | CC-TRG |  |  | 1 | [13 empty] | 1 | 1
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 2 | 2 | 12 | 1 | 1 | 2 | 660 | 360 | 26 | 40 | 190 | 2 | 66 | 2 | 1 | 2 | 1 | 1