## UTILITIES
ESTIMATED QUANTITIES
SHEET NO. | REFERENCE NO. | STATIONING |  | SIDE | 202 |  |  | 204 | 611
[5 empty] | PAVEMENT REMOVED | MANHOLE REMOVED | CONDUIT REMOVED, 24" DIAMETER AND UNDER | SUBGRADE COMPACTION | MANHOLE NO. 3, AS PER PLAN (FOR SANITARY) | 6" CONDUIT, TYPE B, AS PER PLAN (707.45 FOR SANITARY WITH JOINTS PER ASTM D 3212) | 8" CONDUIT, TYPE B, AS PER PLAN (707.45 FOR SANITARY WITH JOINTS PER ASTM D 3212) | 6" FIRE HYDRANT | FIRE HYDRANT REMOVED | 6" WATER MAIN POLYVINYL CHLORIDE PIPE AND FITTINGS, AWWA C9000, DR18, AS PER PLAN | 3/4" POLYETHYLENE SERVICE BRANCH, AS PER PLAN | WATER WORK, MISC: CONNCECTION TO EXISTING WATERLINE | 6" GATE VALVE AND VALVE BOX | 6" X 6" TAPPING SLEEVE, VALVE AND VALVE BOX
|  | FROM | TO |  | SY | EA | FT | SY | EA | FT | FT | EA | EA | FT | FT | EA | EA | EA
P.35 | FH-1 | 100+79.23 |  | LT |  |  | 11.2 |  |  |  |  | 1 | 1
P.35 | FH-2 | 11+56.41 |  | LT |  |  | 11 |  |  |  |  | 1 | 1
P.35 | FH-3 | 13+43.91 |  | LT |  |  | 16.3 |  |  |  |  | 1 | 1
P.35 | FH-4 | 17+08.45 |  | LT |  |  | 15.5 |  |  |  |  | 1 | 1
P.36 | FH-5 | 24+37.97 |  | LT |  |  | 16.2 |  |  |  |  | 1 | 1
P.35 | SMH-1 | 10+80.86 | 13+69.14 | RT | 145.5656 | 1 | 327 | 145.5656 | 1 | 94.7 | 288 | [9 empty] | *san lateral removal included in cost of main
P.35 | SMH-2 | 13+69.14 | 17+31.57 | RT | 159.8378 | 1 | 362 | 159.8378 | 1 | 155.9 | 362 | [8 empty] | *304 for repair qty in general notes
P.35 | SMH-3 | 17+31.57 |  | RT | 22.0089 | 1 | 24 | 22.0089 | 1
P.35 | SC-1 | 13+69.14 |  | RT | [6 empty] | 39
P.35 | SC-2 | 17+31.57 |  | RT | [6 empty] | 24
P.35 | WL-1 | 9+93.52 | 27+75.44 | RT | 681.7222 |  | 1753 | 681.7222 | [5 empty] | 1774 | 901.8
P.35 | WL-2 | 100+59.71 | 105+44.07 | LT | 188.2222 |  | 484 | 188.2222 | [5 empty] | 485 | 67
P.35 | WC-1 | 9+93.52 |  | LT | [11 empty] | 1 | 3
P.35 | WC-2 | 13+52.63 |  | RT | 15.1667 |  | 39 | 15.1667 | [5 empty] | 39 |  | 1 | 2
P.35 | WC-3 | 13+60.12 |  | LT | 8.9444 |  | 23 | 8.9444 | [5 empty] | 23 |  | 1 | 2
P.36 | WC-4 | 21+08.69 |  | LT/RT | 27.2222 |  | 70 | 27.2222 | [5 empty] | 70 |  | 1 | 4
P.36 | WC-5 | 27+75.44 |  | LT | [11 empty] | 1 | 1
P.37 | WC-6 | 105+44.07 |  | LT | [11 empty] | 1 | 2 | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  |  |  | 1248.69 | 3 | 3152.2 | 1248.69 | 3 | 250.6 | 713 | 5 | 5 | 2391 | 968.8 | 6 | 14 | 1
[6 empty] | 25 | [12 empty] | #REF!
[6 empty] | 199 | [12 empty] | #REF!
[6 empty] | 22 | [12 empty] | #REF!
[6 empty] | 99 | [12 empty] | #REF!
[6 empty] | 52 | [12 empty] | #REF!
[6 empty] | 39 | [12 empty] | #REF!