## Sheet1
SHEET NO. |  | REF. NO. | STATION |  | 202 | 638 | 638 | 638 | 638 | 638 | 638 | 638
[5 empty] | PIPE REMOVED | WATER WORK, MISC.: CMSC 802 - 6" VALVE | WATER WORK, MISC.: CMSC 807 - VALVE BOX ADJUSTED TO GRADE | WATER WORK, MISC.: CMSC 809 - FIRE HYDRANT, RELOCATED | WATER WORK, MISC.: CMSC 810 - 18" HYDRANT EXTENSION | WATER WORK, MISC.: CMSC SPECIAL - WATER AS-BUILT COORDINATE TABLE | WATER WORK, MISC.: CMSC 801 - 6" WATER PIPE & FITTINGS | WATER WORK, MISC.: CMSC 808 - RELOCATE 12" WATER MAIN
|  |  | FROM | TO | FT | EACH | EACH | EACH | EACH | LS | FT | FT
|  |  | GENERAL NOTES | [6 empty] | LS
P.49 |  | WW-1 | 535+26.50 LT |  |  |  | 1
|  |  | 535+26.50 LT |  |  |  | 1
P.49 |  | WW-2 | 535+76.71 LT |  |  |  | 1
P.50-P.51 |  | WW-3 | 540+50.00 LT | 541+70.00 LT | 220 | [6 empty] | 225
P.58 |  | WW-4 | 102+49.63 RT |  |  | 1 | 1 | 1 |  |  | 2
P.59 |  | WW-5 | 105+72.04 RT |  |  | 1 | 1 | 1 |  |  | 12
P.59 |  | WW-6 | 108+14.38 RT |  |  | 1 | 1 | 1 |  |  | 2
P.60 |  | WW-7 | 112+02.34 RT |  |  |  | 1 |  | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  |  |  | 220 | 3 | 7 | 3 | 1 | LS | 16 | 225
| GP001 |  | 91
| GP002 |  | 92
| GP003 |  | 93
| GP004 |  | 94
| GP005 |  | 95
| GP006 |  | 96
| GP007 |  | 97
| GP008 |  | 98
| GP009 |  | 99
| GP010 |  | 100
| GP011 |  | 101
| GP012 |  | 102
| GP013 |  | 103
| GP014 |  | 104
| GP015 |  | 105
| GP016 |  | 106
| GP017 |  | 107
| GP018 |  | 108
| GP101 |  | 118
| GR151 |  | 120
| GP152 |  | 121
| GP201 |  | 123
| GP251 |  | 125
| GP252 |  | 126
| GR253 |  | 127
| GP301 |  | 128
| GP302 |  | 129
| GP351 |  | 131
| GP352 |  | 132
| GP353 |  | 133
| GP401 |  | 136
| GP402 |  | 137
| GP451 |  | 139
| GP452 |  | 140

## Sheet2
SURVEY COORDINATE DATA
REF. NO. | ITEM | STATION | OFFSET | AS-BUILT
|  |  |  | NORTHING | EASTING | CL ELEVATION
[WW1A] | VALVE BOX ADJUSTED TO GRADE | 535+26.50 | 70.1' LT
[WW1B] | VALVE BOX ADJUSTED TO GRADE | 535+26.50 | 54.7' LT
[WW2A] | VALVE BOX ADJUSTED TO GRADE | 535+76.71 | 53.0' LT
[WW-3A] | 12" 45 DEG BEND (HORIZ-ROTATED VERT) | 540+50.00 | 52.8' LT.
[WW-3B] | 12" 45 DEG BEND (HORIZ-ROTATED VERT) | 540+55.00 | 57.8' LT.
[WW-3C] | 12" 45 DEG BEND (HORIZ-ROTATED VERT) | 542+65.00 | 57.8' LT.
[WW-3D] | 12" 45 DEG BEND (HORIZ-ROTATED VERT) | 542+70.00 | 52.8' LT.
[WW-4A] | VALVE BOX ADJUSTED TO GRADE | 102+49.63 | 29.5' RT
[WW-4B] | 6" - 90 DEG BEND | 102+49.63 | 23.0' RT
[WW-4C] | 6" VALVE | 102+51.13 | 23.0' RT
[WW-4D] | FIRE HYDRANT, RELOCATED | 102+53.13 | 23.0' RT
[WW-5A] | VALVE BOX ADJUSTED TO GRADE | 105+72.04 | 24.5' RT.
[WW-5B] | 6" - 90 DEG BEND | 105+72.04 | 32.0' RT
[WW-5C] | 6" VALVE | 10574.54 | 32.0' RT
[WW-5D] | FIRE HYDRANT, RELOCATED | 105+76.54 | 32.0' RT
[WW-6A] | VALVE BOX ADJUSTED TO GRADE | 108+14.38 | 26.8' RT
[WW-6B] | 6" - 90 DEG BEND | 108+14.38 | 23.0' RT
[WW-6C] | 6" VALVE | 108+16.88 | 23.0' RT
[WW-6D] | FIRE HYDRANT, RELOCATED | 108+18.88 | 23.0' RT
[WW-7A] | VALVE BOX ADJUSTED TO GRADE | 112+07.34 | 25.4' RT.
[WW-7B] | 18" HYDRANT EXTENSION | 112+02.34 | 25.4' RT.

## Example
WATER WORKS SUBSUMMARY
SHEET NO. | REFERENCE NO. | STATION |  | SIDE | 805 |  | 807 |  |  | 808 |  |  | 809 |  |  | SPECIAL
[5 empty] | 1.5 INCH WATER SERVICE LINE TRANSFER | C.I. FERRULE VALVE BOX AND COVER | VALVE BOXES ADJUSTED TO GRADE | VALVE BOXES REMOVED | CURB BOXES ADJUSTED TO GRADE | 6" WATER MAIN LOWERING, PER L-7401 | .75 INCH WATER SERVICE TAP, RELOCATED | 1.5" WATER SERVICE MAIN, ABANDONED | FIRE HYDRANT | FIRE HYDRANT, RELOCATED | FIRE HYDRANT, REMOVED | WATER SURVEY COORDINATE TABLE
|  | FROM | TO |  | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | LS
|  | GENERAL NOTES | [13 empty] | LS
GP001 | W-1 | 6460.51 |  | LT |  | 1 |  |  | 1
GP001 | W-2 | 6465.06 |  | LT |  |  | 1
GP001 | W-3 | 6515.93 |  | RT |  | 1 |  |  | 1
GP001 | W-3A | 65+47.81 | 65+67.80 | LT | [5 empty] | 1
GP001 | W-4 | 6626.09 | 6635.01 | LT | 1 | 1 | [5 empty] | 1
GP001 | W-5 | 6648.51 |  | LT |  |  | 1
GP001 | W-6 | 6648.51 |  | LT | [9 empty] | 1
GP002 | W-7 | 6693.24 | 6693.25 | LT/RT | [6 empty] | 1
GP002 | W-8 | 6867.61 | 6869.93 | LT | [6 empty] | 1
GP002 | W-9 | 68+08.75 | 6829.86 | LT | [5 empty] | 1
GP002 | W-10 | 6871.66 | 6870.94 | LT/RT | [5 empty] | 1
GP002 | W-10A | 6907.06 |  | RT |  |  |  |  | 1
GP002 | W-11 | 6931.96 |  | LT |  | 1 |  |  | 1
GP002 | W-12 | 6935.66 |  | LT | [10 empty] | 1
GP002 | W-13 | 6941.84 |  | LT |  |  |  | 1
GP002 | W-13A | 6935.4 | 6964.51 | LT | [5 empty] | 1
GP002 | W-14 | 6893.43 |  | LT |  |  | 1 | [5 empty] | 1
GP002 | W-15 | 6996.92 |  | LT |  |  |  |  | 1
TOTALS CARRIED TO GENERAL SUMMARY |  |  |  |  | 1 | 4 | 3 | 1 | 5 | 4 | 2 | 1 | 1 | 1 | 1 | LS

## Medina Example
REF. NO. | ITEM | STATION | AS-BUILT
|  |  | NORTHING | EASTING | CL ELEVATION
W1 | 6" HYDRANT LEAD 90^ BEND (HORZ.) | 1057+25.05
W1 | 6" FIRE HYDRANT VALVE | 1057+27.55
W1 | FIRE HYDRANT | 1057+30.05
W2 | 6" HYDRANT LEAD 90^ BEND (HORZ.) | 1060+49.92
W2 | 6" FIRE HYDRANT VALVE | 1060+45.33
W2 | FIRE HYDRANT | 1060+40.73
W3 | 6" HYDRANT LEAD 90^ BEND (HORZ.) | 1062+69.66
W3 | 6" FIRE HYDRANT VALVE | 1062+72.16
W3 | FIRE HYDRANT | 1062+74.66

## Example 2
STRUCTURE NO. | SHEET NO. | PROPOSED |  |  |  |  | AS-BUILT
|  | STATION | OFFSET | SIDE | NORTHING | EASTING | NORTHING | EASTING