AFTER ACTION REPORT

CUY-006-1456

SFN 1800930

Veterans Memorial Bridge

WHAT: Inspection of Tower B Crack Monitor

WHEN: 01/07/2013

ACTION: Dan Breda & Mike Sutak took measurements of Tower B on the Veterans Memorial Bridge.

COMMENT: The tower B floor crack monitor has moved off the scale as compared to the September 2011 measurement. The measurement between the tower and the wall has increased from 4 1/8” in September of 2012 to 4 ¼” in January of 2013.

INSPECTORS: Mike Sutak & Dan Breda