## STRUCTURES
PROJECT - Cleveland Innerbelt - CCG1
ODOT PROJECT # - CUY-90-14.90
PID 77332 / 85531
HNTB PROJECT # - 49633 PA 002
This format are trunklines that were non-performed on W14th Extension, NOT REMOVED FROM QUANTITIES
STORM STRUCTURE QUANTITIES
STRUCTURE ID | NORTHING | EASTING | ELEVATION | WATER QUALITY BASIN (WQB), DETENTION 604E80050 | CATCH BASIN, CITY OF CLEVELAND NO. 1 604E00300 | CATCH BASIN, CITY OF CLEVELAND NO. 1, BICYCLE SAFE GRATE 604E00300 | CATCH BASIN, CITY OF CLEVELAND NO. 1, AS PER PLAN, BICYCLE SAFE GRATE 604E00301 | CATCH BASIN, NO. 2-2B 604E04500 | CATCH BASIN, NO. 2-2B WITH 2' SUMP 604E04550 | CATCH BASIN, NO. 3 604E00400 | CATCH BASIN, CITY OF CLEVELAND NO. 3 604E00400 | CATCH BASIN, CITY OF CLEVELAND NO. 3, BICYCLE SAFE GRATE 604E00400 | CATCH BASIN, CITY OF CLEVELAND NO. 3, AS PER PLAN 604E00401 | CATCH BASIN, CITY OF CLEVELAND NO. 3, AS PER PLAN, BICYCLE SAFE GRATE 604E00401 | CATCH BASIN, NO. 3A 604E00800 | CATCH BASIN, NO. 6, 604E02000 | CATCH BASIN, NO. 6, AS PER PLAN, MODIFIED GRATE 604E02001 | CATCH BASIN, NO. 8 604E02800 | CATCH BASIN, NO. 8 WITH 2' SUMP 604E02850 | CATCH BASIN GRATE, 604E09900 | MANHOLE, MISC.: MANHOLE, CITY OF CLEVELAND NO. 1, 4 FT. 604E32500 | MANHOLE, MISC.: MANHOLE, CITY OF CLEVELAND NO. 1, 4 FT., WITH 2' SUMP 604E32500 | MANHOLE NO. 3, 4 FT. 604E31500 | MANHOLE NO. 3, 4 FT, TYPE M GRATE 604E31500 | MANHOLE NO. 3, 6 FT. 604E31500 | INLET, NO. 3 FOR SINGLE SLOPE BARRIER, TYPE B1 604E20514 | INLET, NO. 3 FOR SINGLE SLOPE BARRIER, TYPE C1 604E20524 | INLET, NO. 3 FOR SINGLE SLOPE BARRIER, TYPE D 604E20530 | DRAINAGE STRUCTURE, MISC.: UNISTORM TYPE 1 604E98000
D-1015 |  |  | 697.84 | [11 empty] | 1 | [15 empty] | ALL SHOW UP ON SHEET 158
D-1015B |  |  | 679.24 | [18 empty] | 1 | [7 empty] | 4' , SUMP
D-3988 |  |  | 678.81 | [17 empty] | 1 | [8 empty] | 4'
D-111 |  |  | 698.8 | [22 empty] | 1
D-112 |  |  | 698.05 | [22 empty] | 1
D-112A |  |  | 697.55 | [19 empty] | 1 | [6 empty] | 4'
D-115 |  |  | 694.88 | [19 empty] | 1 | [6 empty] | 4'
D-115A |  |  | 696.54 | [6 empty] | 1
D-119 |  |  | 649 | [15 empty] | 1 | [10 empty] | SUMP |  |  | ALL SHOW UP ON SHEET 159
D-119C |  |  | 651.08 | [17 empty] | 1 | [8 empty] | 4'
D-5438 |  |  | 626.91 | [17 empty] | 1 | [8 empty] | 4'
D-933 |  |  | 627.23 | [15 empty] | 1 | [10 empty] | SUMP
D-119A |  |  | 661.96 | [5 empty] | 1 | [20 empty] | SUMP
D-19 |  |  | 673.74 | [7 empty] | 1
D-5766 |  |  | 675.05 | [16 empty] | 1
D-118A |  |  | 690.2 | [19 empty] | 1 | [6 empty] | 4'
D-118D |  |  | 687 | [14 empty] | 1
D-901 |  |  | 692 | [19 empty] | 1 | [6 empty] | 4'
D-964 |  |  | 674.15 | [9 empty] | 1 | [16 empty] | APP
D-964B |  |  | 674.15 | [9 empty] | 1 | [16 empty] | APP
D-118B |  |  | 692.6 | [6 empty] | 1
D-118C |  |  | 693.62 | [6 empty] | 1
D-938 |  |  | 678.38 | [13 empty] | 1 | [16 empty] | ALL SHOW UP ON SHEET 160
D-27G |  |  | 677.43 | [18 empty] | 1 | [7 empty] | 4', SUMP
D-27B |  |  | 670 | [14 empty] | 1
D-51 |  |  | 674.81 |  |  | 1 | [23 empty] | REMOVE APP
D-50 |  |  | 674.81 |  |  | 1
D-936 |  |  | 677.73 |  |  |  | 1
D-934 |  |  | 677.73 |  |  |  | 1
D-970 |  |  | 676.81 | [17 empty] | 1 | [8 empty] | 4'
D-940 |  |  | 676.41 |  | 1
D-972 |  |  | 676.24 | [17 empty] | 1 | [8 empty] | 4'
D-978 |  |  | 675 | [19 empty] | 1 | [6 empty] | 4'
D-108C |  |  | 695.82 | [6 empty] | 1
D-932 |  |  | 692.5 |  |  |  |  | 1
D-932B |  |  | 695.58 | [19 empty] | 1 | [6 empty] | 4'
D-944 |  |  | 696.21 | [11 empty] | 1
D-945 |  |  | 671.91 | [19 empty] | 1 | [6 empty] | 4'
D-950 |  |  | 671.52 | [15 empty] | 1 | [10 empty] | SUMP
D-976 |  |  | 675.11 | [17 empty] | 1 | [8 empty] | 4'
D-976B |  |  | 674.79 |  | 1
D-27D |  |  | 675.5 | [17 empty] | 1 | [8 empty] | 4' |  | ALL SHOW UP ON SHEET 161
D-914 |  |  | 673.59 | [10 empty] | 1
D-916 |  |  | 673.59 | [8 empty] | 1 | [17 empty] | BICYCLE SAFE GRATE
D-27C |  |  | 673.87 | [17 empty] | 1 | [8 empty] | 4', check the elev.
D-948 |  |  | 675.92 |  | 1
D-942 |  |  | 676.18 |  | 1
D-27E |  |  | 677.18 | [17 empty] | 1 | [8 empty] | 4'
D-924 |  |  | 695.13 | [6 empty] | 1
D-922 |  |  | 695.24 | [6 empty] | 1
D-930 |  |  | 674.12 | [15 empty] | 1 | [10 empty] | SUMP
D-946 |  |  | 671.88 | [17 empty] | 1 | [8 empty] | 4'
D-912 |  |  | 671.61 | [7 empty] | 1
D-910 |  |  | 671.61 | [7 empty] | 1
D-74 |  |  | 675.38 | [17 empty] | 1 | [8 empty] | 4' | ALL SHOW UP ON SHEET 162
D-103B |  |  | 701.9 | [24 empty] | 1
D-103A |  |  | 703.07 | [12 empty] | 1
D-103C |  |  | 702.16 | [12 empty] | 1
D-103F |  |  | 700.57 | [19 empty] | 1 | [6 empty] | 4'
D-103D |  |  | 702.91 | [12 empty] | 1
D-103E |  |  | 702.01 | [12 empty] | 1
D-956 |  |  | 668 | 1
D-47 |  |  | 677 | [19 empty] | 1 | [6 empty] | 4'
D-48 |  |  | 677.12 | [19 empty] | 1 | [6 empty] | 4'
D-49 |  |  | 676.77 | [19 empty] | 1 | [6 empty] | 4' | ALL SHOW UP ON SHEET 163
D-80 |  |  | 644.75 | [19 empty] | 1 | [6 empty] | 4'
D-87 |  |  | 613 | [19 empty] | 1 | [6 empty] | 4'
D-61 |  |  | 603.54 | [19 empty] | 1 | [6 empty] | 4'
D-89A |  |  | 702.92 | [23 empty] | 1 |  |  |  |  | ALL SHOW UP ON SHEET 164
D-89B |  |  | 702.66 | [19 empty] | 1 | [6 empty] | 4'
D-108B |  |  | 698.32 | [19 empty] | 1 | [6 empty] | 4'
D-118E |  |  | 693.66 | [11 empty] | 1
D-118F |  |  | 693.68 | [11 empty] | 1
D-88E |  |  | 586.93 | [20 empty] | 1 | [5 empty] | 4' ; WITH TYPE M GRATE
D-88D |  |  | 587.76 | [19 empty] | 1 | [6 empty] | 4'
D-62 |  |  | 585.03 | [21 empty] | 1 |  |  |  |  | 6'
D-88B |  |  | 587.76 | [19 empty] | 1 | [6 empty] | 4'
D-88A |  |  | 587.25 | [14 empty] | 1
D-88C |  |  | 587.11 | [25 empty] | 1
D-GWA |  |  | 605.08 |  |  |  |  | 1
D-GWB |  |  | 612.5 |  |  |  |  | 1
D-GWC |  |  | 613.61 |  |  |  |  | 1
D-GWD |  |  | 609.43 |  |  |  |  | 1
D-GWE |  |  | 600.26 |  |  |  |  | 1
TOTALS: |  |  |  | 1 | 4 | 2 | 2 | 6 | 1 | 6 | 0 | 1 | 2 | 1 | 4 | 4 | 1 | 3 | 3 | 1 | 9 | 2 | 18 | 1 | 1 | 2 | 1 | 1 | 1
[11 empty] | 3 | [7 empty] | 1 |  | 2

## TRUNKLINE
PROJECT - Cleveland Innerbelt - CCG1
ODOT PROJECT # - CUY-90-14.90
PID 77332 / 85531
HNTB PROJECT # - 49633 PA 002
This format are trunklines that were non-performed on W14th Extension, REMOVED FROM QUANTITIES
STORM TRUNKLINE QUANTITIES
UpstreamID | DownstreamID | US Area | SumCA | Tc | Int. | Flow | Slope | InvertIn | InvertOut | Velocity | EntranceHGL | ExitHGL | EntranceEGL | ExitEGL | 12" CONDUIT, TYPE B, 706.08 WITH 706.12 JOINTS 603E04400 | 12" CONDUIT, TYPE C, 706.08 WITH 706.12 JOINTS 603E04600 | 15" CONDUIT, TYPE B, 706.08 WITH 706.12 JOINTS 603E05900 | 15" CONDUIT, TYPE C, 706.08 WITH 706.12 JOINTS 603E06100 | 15" CONDUIT, TYPE C, 706.02 WITH 706.11 JOINTS 603E06100 | 15" CONDUIT, TYPE F, 707.05, TYPE C, WITH 707.01 JOINTS 603E06700 | 18" CONDUIT, TYPE B, 706.08 WITH 706.12 JOINTS 603E07400 | 18" CONDUIT, TYPE B, 706.02 WITH 706.11 JOINTS 603E07400 | 18" CONDUIT, TYPE B, HDPE WITH 707.33 JOINTS 603E07400 | 18" CONDUIT, TYPE C, 706.02 WITH 706.11 JOINTS 603E07600 | SPECIAL - 20" STEEL CASING PIPE 638E22900 | 24" CONDUIT, TYPE B, 706.02 WITH 706.11 JOINTS 603E10400 | 24" CONDUIT, TYPE C, 706.02 WITH 706.11 JOINTS 603E10600 | 24" CONDUIT, TYPE F, 707.05, TYPE C, WITH 707.01 JOINTS 603E11200 | 30" CONDUIT, TYPE B, 706.02 WITH 706.11 JOINTS 603E13400 | 36" CONDUIT, TYPE C 706.02 WITH 706.11 JOINTS 603E16600
|  | (ac) | (ac) | (min) | (in/h) | (cfs) | [8 empty] | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft) | L (ft)
D-1015 | D-1015B | [18 empty] | 83 | [10 empty] | ALL CAN BE FOUND ON SHEET 158 FROM LEFT TO RIGHT
D-1015B | D-3988 | [15 empty] | 16
D-111 | D-112 | [15 empty] | 132
D-112 | D-112A | [16 empty] | 8
D-112A | D-115 | [16 empty] | 296
D-115 | D-115A | [24 empty] | 91
D-115A | FREE | [26 empty] | 86
D-119 | D-119C | [15 empty] | 36 | [13 empty] | ALL CAN BE FOUND ON SHEET 159 FROM LEFT TO RIGHT
D-933 | D-5438 | [19 empty] | 30
D-119A | D-5182 | [13 empty] | 63
D-19 | D-5766 | [13 empty] | 32
D-901 | D-118D | [16 empty] | 24
D-118D | D-118A | [16 empty] | 13
D-964B | D-1190 | [13 empty] | 16
D-964 | D-1190 | [13 empty] | 21
D-118C | D-118B | [15 empty] | 86
D-118B | D-118A | [16 empty] | 42
D-118A | D-115 | [25 empty] | 281
D-938 | D-27G | [15 empty] | 27 | [13 empty] | ALL CAN BE FOUND ON SHEET 160 FROM LEFT TO RIGHT
D-27B | D-27G | [19 empty] | 56
D-51 | EXISTING | [13 empty] | 8
D-50 | EXISTING | [13 empty] | 8
D-936 | D-934 | [13 empty] | 32
D-934 | D-970 | [15 empty] | 72
D-940 | D-970 | [15 empty] | 55
D-970 | D-972 | [24 empty] | 94
D-972 | D-978 | [24 empty] | 108
D-978 | FREE | [27 empty] | 120
D-108C | D-84A | [15 empty] | 9
D-932 | D-932B | [16 empty] | 75
D-932B | D-944 | [15 empty] | 107
D-944 | D-945 | [17 empty] | 49
D-945 | FREE | [15 empty] | 95
D-950 | D-978 | [15 empty] | 104
D-976B | D-976 | [13 empty] | 21
D-976 | D-978 | [24 empty] | 63
D-27G | D-27D | [19 empty] | 54 | [9 empty] | ALL CAN BE FOUND ON SHEET 161 FROM LEFT TO RIGHT
D-914 | D-27C | [13 empty] | 34
D-942 | D-972 | [13 empty] | 61
D-948 | D-972 | [13 empty] | 9
D-916 | D-27C | [13 empty] | 19
D-27C | D-27D | [19 empty] | 204
D-27D | D-27E | [24 empty] | 180
D-27E | D-970 | [24 empty] | 55
D-924 | D-922 | [15 empty] | 9
D-922 | D-932B | [15 empty] | 114
D-930 | D-946 | [15 empty] | 67
D-946 | D-976 | [15 empty] | 216
D-912 | D-946 | [13 empty] | 6
D-910 | D-946 | [13 empty] | 18
D-74 | EXISTING | [14 empty] | 16 |  | 8 | [12 empty] | ALL CAN BE FOUND ON SHEET 162 FROM LEFT TO RIGHT
D-103B | D-103A | [15 empty] | 59
D-103C | D-103F | [15 empty] | 55
D-103A | D-103D | [15 empty] | 126
D-103D | D-103C | [15 empty] | 161
D-103E | D-103C | [15 empty] | 41
D-956 | D-47 | [20 empty] | 299
D-47 | D-48 | [21 empty] | 134
D-48 | D-49 | [21 empty] | 80
D-48 | D-49 | [23 empty] | 82
D-49 | D-80 | [22 empty] | 98 | [6 empty] | ALL CAN BE FOUND ON SHEET 163 FROM LEFT TO RIGHT
D-80 | D-87 | [22 empty] | 94
D-87 | D-61 | [22 empty] | 180
D-61 | D-88D | [22 empty] | 238
D-88D | D-88E | [22 empty] | 13 | [6 empty] | ALL CAN BE FOUND ON SHEET 164 FROM LEFT TO RIGHT
D-88E | D-62 | [25 empty] | 30
D-62 | FREE | [28 empty] | 20
EXISTING | D-89A | [15 empty] | 8
D-89A | D-89B | [15 empty] | 18
D-89B | EXISTING | [15 empty] | 8
D-108B | EXISTING | [15 empty] | 5
D-118E | D-118C | [15 empty] | 25
D-118F | D-118C | [15 empty] | 26
D-88A | D-88B | [16 empty] | 8
D-88B | D-88D | [16 empty] | 8
D-88C | D-88E | [14 empty] | 5
D-88B | D-88C | [14 empty] | 4
D-GWC | D-87 | [17 empty] | 51 | [11 empty] | ALL CAN BE FOUND ON SHEET 164A FROM LEFT TO RIGHT
D-GWB | D-87 | [17 empty] | 27
D-GWD | D-GWE | [17 empty] | 93
D-GWE | D-61 | [17 empty] | 126
D-GWA | D-61 | [17 empty] | 81
TOTALS: | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 292 | 9 | 1394 | 474 | 427 | 83 | 344 | 299 | 214 | 623 | 82 | 591 | 311 | 86 | 120 | 20
| W 14th numbers | [13 empty] | 56 | 16 | 283 | 8