## A
MILLER CABLE COMPANY
210 S BROADWAY ST
GREEN SPRINGS, OH 44836
| QUANTITIES |  |  | 2015-11-17 13:58 | ODOT | ODOT | ODOT | ODOT UNDERPASS | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | UNDERPASS LIGHTING | LOCAL STREET LIGHTING | LOCAL STREET LIGHTING | LOCAL STREET LIGHTING | LOCAL STREET LIGHTING | LOCAL STREET LIGHTING
[5 empty] | IR 90 BRIDGE | WEST APPROACH | EAST APPROACH | I-90 Mainline I-90 over I-77 Ramps | I-90 westbound over Starkweather Avenue | I-71/I-90 over Starkweather Avenue | I-90 over Kenilworth Avenue | I-90 over Fairfield Avenue | E.14th Street ramp to I-90 westbound over E.9th | I-90 westbound over E.9th Street | I-90 eastbound over E.9th Street | I-77 southbound over E.14th Street | I-90 westbound over E.14th Street | I-90 eastbound over E.14th Street | ABBY AVENUE | W. 14TH CONNECTOR | ORANGE TO CANAL | CARNIGIE/ONTARIO & COMMERCIAL | PARKING LOTS
ODOT 103000 LIGHTING
THROUGH ADDENDUM 8
REF | ITEM | UNIT | APPROX | TOTAL
NO |  | MEAS | QUANTS | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES | QUANTITIES
ODOT LIGHTING
| LUMINAIRE REMOVED (WT: NR) | EACH | 40 | 40 |  | 30 | 10
| HIGH MAST POLE REMOVED (WT: NR) | EACH | 2 | 2 |  | 1 | 1
| REMOVE AND REERECT EXISTING HIGH MAST POLE (WT: 43) | EACH | 2 | 2 |  | 1 | 1
| REWIRE EXISTING HIGH MAST POLE (WT: 43) | EACH | 8 | 8 |  | 4 | 4
| PULL BOX, REMOVED | EA | 11 | 11 |  | 5 | 6
| HIGH MAST FOUNDATION REMOVED | EA | 3 | 3 |  | 1 | 2
| POWER SERVICE REMOVED, APP | EA | 1 | 1 |  | 1
| DISTRIBUTION CABLE REMOVED | FT | 900 | 900 |  | 500 | 400
| DISCONNECT EXISTING CIRCUIT (WT: NR) | EACH | 5 | 5 |  | 2 | 3
| 4" CONDUIT, TYPE E (WT: 35) | FT | 130 | 130 |  | 80 | 50
| CONNECTOR KIT, TYPE II (WT: 43) | EACH | 124 | 124 | 100 | [17 empty] | 24
| CONNECTOR KIT, TYPE III | EA | 74 | 74 | 50 | [17 empty] | 24
| CABLE SPLICING KIT | EA | 63 | 63 | 12 | 3 | 18 | [15 empty] | 30
| LIGHT POLE, CONVENTIONAL, DESIGN A15B40.0 | EA | 50 | 50 | 50
| LIGHT TOWER, BBBBBB110 | EA | 2 | 2 |  | 2
| TOWER |  | 2 | 0
| ANCHOR BOLTS |  | 12 | 0
| LOWERING DEVICE |  | 2 | 0
| DECALS & MISC. |  | 2 | 0
| CRANE |  | 2 | 0
| LIGHT TOWER, BBBBBB120 | EA | 2 | 2 |  | 1 | 1
| TOWER |  | 2 | 0
| ANCHOR BOLTS |  | 12 | 0
| LOWERING DEVICE |  | 2 | 0
| DECALS & MISC. |  | 2 | 0
| CRANE |  | 2 | 0
| LIGHT TOWER FOUNDATION, 36" X 25' DEEP | EA | 5 | 5 |  | 3 | 2
| LUMINAIRE, CONVENTIONAL, STYLE B, TYPE III, 200 WATT HPS, 480 VOLT | EA | 50 | 50 | 50
| LUMINAIRE, HIGH MAST, APP, ASYMMETRIC, TYPE V, 400 WATT HPS, 480 VOLT | EA | 6 | 6 |  |  | 6
| LUMINAIRE, HIGH MAST, APP, SYMMETRIC, TYPE V, 400 WATT HPS, 480 VOLT | EA | 34 | 34 |  | 28 | 6
| PULL BOX, 725.08, 18" | EA | 20 | 20 | 4 | 4 | 10 | [15 empty] | 2
| LIGHT POLE ANCHOR L-BOLTS, AS PER PLAN (WT: 43) | EACH | 200 | 200 | 200
| JUNCTION BOX, STRUCTURE 18" X 12" X 8" | EA | 56 | 56 | 54 |  | 2
| NO. 8 AWG DISTRIBUTION CABLE (WT: 43) | FT | 6350 | 6350 | [18 empty] | 6350
| NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE (WT: 43) | FT | 28900 | 28900 | 27900 | 1000
| NO. 2 AWG 2400 VOLT DISTRIBUTION CABLE (WT: 43) | FT | 600 | 600 |  |  | 600
| NO. 10 AWG POLE AND BRACKET CABLE | FT | 5500 | 5500 | 5500
| 1½" DUCT CABLE WITH THREE NO. 4 AWG 2400 VOLT CABLES | FT | 2900 | 2900 | 0 | 900 | 2000
| 1½" DUCT CABLE WITH THREE NO. 2 AWG 2400 VOLT CABLES | FT | 350 | 350 | 0 |  | 350
| CONDUIT, 2", 725.05 (WT: 43) | FT | 10870 | 10870 | 8880 |  | 190 | [15 empty] | 1800
| CONDUIT, 3", 725.04 (WT: 43) | FT | 100 | 100 |  |  | 100
| TRENCH, 24" DEEP (WT: 43) | FT | 5330 | 5330 | 80 | 1000 | 2450 | [15 empty] | 1800
| GROUND ROD (WT: 43) | EACH | 37 | 37 | 0 | 8 | 3 | [15 empty] | 26
| POWER SERVICE | EA | 5 | 5 | 2 | 1 | 1 | [15 empty] | 1
| PARKING LOT POLE FOUNDATION | EA | 24 | 24 | [18 empty] | 24
| PARKING LOT LIGHT POLE | EACH | 24 | 24 | [18 empty] | 24
| PARKING LOT LUMINAIRE | EACH | 24 | 24 | [18 empty] | 24
| PARKING LOT CAMERA POLE FOUNDATION | EA | 4 | 4 | [18 empty] | 4
| PARKING LOT CAMERA POLE | EACH | 4 | 4 | [18 empty] | 4
| PARKING LOT CAMERA SYSTEM | EACH | 4 | 4 | [18 empty] | 4
| TRENCH, 24" DEEP (WT: 43) | FT | 650 | 650 | [18 empty] | 650
| CONDUIT, 2", 725.05 (WT: 43) | FT | 650 | 650 | [18 empty] | 650
| GROUND ROD (WT: 43) | EACH | 5 | 5 | [18 empty] | 5
| LUMINAIRE, UNDERPASS, AS PER PLAN , 150 WATT, HIGH PRESSURE SODIUM, 480 VOLT | EACH | 74 | 74 |  |  |  | 6 | 4 | 12 | 12 | 6 | 4 | 8 | 10 | 2 | 4 | 6
| UNDERPASS POWER SERVICE | EA | 7.25 | 7.25 |  |  |  | 0.25 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | [6 empty] | 1
| 1 1/4" CONDUIT | FT | 4150 | 4150 |  |  |  | 400 | 225 | 625 | 625 | 325 | 275 | 475 | 525 | 125 | 225 | 325
| TRENCH, 24" DEEP | FT | 350 | 350 |  |  |  |  | 25 | 25 | 25 | 25 | 75 | 75 | 25 | 25 | 25 | 25
| 4" X 4" JUNCTION BOX | EACH | 96 | 96 |  |  |  | 8 | 6 | 14 | 14 | 8 | 6 | 10 | 12 | 4 | 6 | 8
| DISCONNECT SWITCH | EACH | 10 | 10 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| #10 CABLE | FT | 12830 | 12830 |  |  |  | 900 | 715 | 1995 | 1995 | 1035 | 865 | 1505 | 1675 | 395 | 715 | 1035
| SEALTITE & MISC. | EACH | 74 | 74 |  |  |  | 6 | 4 | 12 | 12 | 6 | 4 | 8 | 10 | 2 | 4 | 6
| REMOVAL OF UNDERPASS LUMINAIRE | EACH | 71 | 71 |  |  |  | 6 | 4 | 12 | 12 | 0 | 4 | 4 | 4 | 2 | 5 | 6 |  |  |  | 12
| STRUCTURE GROUNDING SYSTEM, AS PER PLAN (WT: 43) | EACH | 15 | 15 | 10 | 1 | 3 | [14 empty] | 1
| TEMPORARY LIGHTING | EACH | 9.5 | 9.5 |  | 2 | 2.5 | [14 empty] | 5
CPP LIGHTING
| DISCONNECT EXISTING CIRCUIT | EACH | 4 | 4 | [17 empty] | 4
| REMOVAL OF LUMINAIRE | EACH | 14 | 14 | [17 empty] | 14
| REMOVE EXISTING LIGHT POLE W/FOUNDATION | EACH | 8 | 8 | [17 empty] | 8
| 4" CONDUIT, TYPE E (WT: 35) | FT | 180 | 180 | [14 empty] | 60 |  | 60 | 60
| CONNECTOR KIT, TYPE II (WT: 43) | EACH | 382 | 382 | [14 empty] | 92 | 36 | 132 | 122
| CONNECTOR KIT, TYPE III (WT: 43) | EACH | 191 | 191 | [14 empty] | 46 | 18 | 66 | 61
| CABLE SPLICING KIT (WT: 43) | EACH | 66 | 66 | [14 empty] | 9 | 3 | 30 | 24
| LIGHT POLE ANCHOR L-BOLTS, AS PER PLAN (WT: 43) | EACH | 92 | 92 | [14 empty] | 40 |  | 12 | 40
| JUNCTION BOX, STRUCTURE 18" X 12" X 8" | EA | 30 | 30 | [14 empty] | 14 |  | 6 | 10
| PULLBOX, 17" X 30" X 24" DEEP, CPP LOGO (DS-37) | EACH | 36 | 36 | [14 empty] | 12 |  | 12 | 12
| CONDUIT, 2", 725.05 (WT: 43) | FT | 5900 | 5900 | [14 empty] | 3800 |  | 600 | 1500
| NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE (WT: 43) | FT | 60930 | 60930 | [14 empty] | 15080 | 4500 | 22650 | 18700
| NO. 10 AWG POLE AND BRACKET CABLE (WT: 43) | FT | 17940 | 17940 | [14 empty] | 4320 | 1620 | 6600 | 5400
| LIGHT POLE FOUNDATION | EA | 95 | 95 | [14 empty] | 20 | 9 | 42 | 24
| CPP STREET LIGHT POLES | EACH | 112 | 112 | [14 empty] | 30 | 9 | 44 | 29
| CPP LUMINAIRE | EACH | 112 | 112 | [14 empty] | 30 | 9 | 44 | 29
| PEDESTRIAN LIGHT POLE FOUNDATION | EA | 73 | 73 | [14 empty] | 16 | 9 | 21 | 27
| CPP PEDESTRIAN STREET LIGHT POLES | EACH | 79 | 79 | [14 empty] | 16 | 9 | 22 | 32
| CPP LUMINAIRE | EACH | 79 | 79 | [14 empty] | 16 | 9 | 22 | 32
| ENCASED 2-2" PVC TYPE SCH 40 CONDUIT (DS-37) W/TRENCH, 24" DEEP | FT | 13290 | 13290 | [14 empty] | 2040 | 1300 | 6400 | 3550
| ENCASED 2-2" PVC TYPE SCH 40 CONDUIT (DS-37) W/TYPE A TRENCH, 24" DEEP | FT | 1270 | 1270 | [14 empty] | 520 |  | 0 | 750
| ENCASED 2-2" PVC TYPE SCH 40 CONDUIT (DS-37) W/TYPE B TRENCH, 24" DEEP | FT | 620 | 620 | [14 empty] | 570 |  | 50
| ENCASED 2-3" PVC TYPE SCH 40 CONDUIT (DS-37) W/TYPE B TRENCH, 24" DEEP | FT | 50 | 50 | [14 empty] | 50
| GROUND ROD (WT: 43) | EACH | 178 | 178 | [14 empty] | 30 | 18 | 68 | 62
| STRUCTURE GROUNDING SYSTEM, AS PER PLAN (WT: 43) | EACH | 3 | 3 | [14 empty] | 1 |  | 1 | 1
| POWER SERVICE | EACH | 5 | 5 | [14 empty] | 2 |  | 2 | 1