# Northern Region Engineering Services

Project Response for PID 85531

Reference Illuminating Company File

OH WR # 54858482 Fairfield Ave. & W. 15th St.

UG WR# 52060694 Fairfield and Scranton

August 23, 2011

ODOT

5500 Transportation Blvd.

Garfield Heights, OH 44125

Attention: Curt Malone,

The following information indicates the Illuminating Company’s findings after examining the information previously received by the Illuminating Company for the aforementioned project.

1.    The Illuminating Company has no facilities in conflict on this project.

2.    Rearrangement of the Illuminating Company’s facilities is not necessary.

- The Illuminating Company has facilities in conflict and will be required to rearrange them.

- Based upon plans or information received, it is indeterminate if rearrangement of our facilities is necessary.  Please provide the additional information requested below.

Prior to the Illuminating Company commencing work on aerial or underground facilities in support of roadway, sanitary, storm or water line projects, all clearing, grubbing, necessary forestry (tree/bush trimming) in the Public Right of way is to be completed by others.   Final grade shall be established prior to the Illuminating Company installing or relocating underground electric distribution facilities.  Also, the project construction limits are to be surveyed and staked by the requesting engineering consulting firm or by the municipality in order ensure the Illuminating Company is properly locating aerial facilities in the public right of way and within the construction limits.

Relocation costs that are determined to be compensable, such as, sanitary sewer projects, water lines and other compensable rights or where the relocation of our overhead facilities is only caused by the installation of sidewalks, shall be invoiced by the Illuminating Company per our standard Aid to Construction form.   Payment shall be received in advance of work commencing.  Estimates are only valid for 30 days and will be re-estimated to provide current estimated costs should approvals be extended beyond the 30 days.

In the event additional conflicts are identified which are not part of the Project 4A Note/Project Response Form, due to field conditions, the Illuminating Company shall be notified immediately, both verbally and in writing by the authorized agent for the project.   The Illuminating Company, along with the contractor and authorized agent for the project, shall resolve the field conflicts and determine if there are associated compensable costs.   The Illuminating Company will not accept contractor delay costs that the Company has not had opportunity to dispute or resolve.

Important!   Instances that require the Illuminating Company to de-energize our transmission circuitry for contractor related work, is to be requested in writing to the Illuminating Company in accordance to the current pjm requirements in advance of need.  The charge to de-energize the circuitry will be communicated.  Written approval of the Illuminating Company’s Customer Charge Application is to be completed in advance by the requestor that is requiring the transmission circuitry de-energized

I.  WOOD-POLE AERIAL DISTRIBUTION FACILITIES

The Illuminating Company has facilities in conflict and will be required to rearrange them according to the attached drawings.  In effort to coordinate and represent existing and proposed Overhead facilities The Illuminating Company is requesting that proposed facilities be represented on improvement drawings by design build contract HNTB/Wash.

OH WR # 54858482 Fairfield Ave. & W. 15th St

Sheet 1

Symbol #1 new pole 206208  to be set 5’ East of existing pole

Symbol #2 pole 13129 remove and  reconfigure eqipment

Symbol #3 pole 13131 remove equipment and abandon pole on future job.

Symbol #4 pole 101666 remove equipment and abandon pole

Symbol #5 pole 540471 remove equipment and abandon pole

Removal of primary and secondary wire

II.  BELOW-GRADE ELECTRIC DISTRIBUTION FACILITIES

The Illuminating Company has facilities in conflict and will be required to rearrange them according to the attached drawings.  In effort to coordinate and represent existing and proposed underground facilities The Illuminating Company is requesting that proposed facilities be represented on improvement drawings by design build contract HNTB/Wash.

UG WR# 52060694 Fairfield and Scranton

Pull conductor via designated route on drawing from Manhole 9312-02 –Manhole 9306-01- Manhole -9309-02-  Manhole 9308-06  to cable pole 527113 amd proposed cable pole.

Intallation of new 1-4” conduit 45’ shall  be installed on Fairfield to proposed pole 206208 sheet 9312W.   Represented on OH 54858482 Symbol #1

Installation of new 2-4” 60’ conduits shall be installed on Abbey Ave. Viaduct to existing pole 529113.

Installation of  new 4-4” conduit 25’ & 6-4” conduit on Abbey Ave connecting Manhol 9309-09- 9309-02.

Installation of new 2-4” conduits 60’ to existing pole 527113 on Abbey Ave.

Work Week:

The Illuminating Company’s workweek is comprised of 5 days per week, 8 hours per day, Monday through Friday.  Any overtime costs incurred, as a result of contractor project escalation or requests from ODOT, Cuyahoga County or other project administering agencies shall be billed directly to the contractor.   Authorization for payment for the requested overtime shall be received in advance of the overtime being worked.

Additional Comments:

All contractors/owners must know & comply with Occupational Safety Health Administration (OSHA) safe-working clearances between persons or any conductive object and the energized bare wires (conductors).

Illuminating Company facility UG and OH relocation and underground conversion work  has started and a schedule of events associated with these designs have been communicated with ODOT and design build contractor Walsh/HNTB.

As previously discussed associated work with reimbursables have been communicated with ODOT for approval.  Progress billing is expected.

____________________________________________________________________________________________________

Notice: The Illuminating Company denies permission to any contractor or other utility to remove Illuminating Company manhole castings, cut down Illuminating Company manhole necks, and to temporarily plate over project-created Illuminating Company manhole roof openings.  This practice often results in construction debris falling into manholes, thus damaging energized circuits.  Under any circumstances if project construction debris is found in Illuminating Company manholes on the subject project, the Illuminating Company shall charge the responsible party for the required clean out.    In the event circuitry is damaged as a direct result of project construction debris, the Illuminating Company shall also file a claim, and pursue reimbursement for the damage. It is the Project General Contractor responsibility to notify the Illuminating Company in advance of any existing debris found in Illuminating Company manholes.

____________________________________________________________________________________________

Notice:  Customer-owned secondary cables/wire and equipment that requires relocation caused by a public works project is not the responsibility of The Illuminating Company.   The relocation cost for customer owned facilities generally is the responsibility of the requesting agency.  ____________________________________________________________________________________________

Notice:  In the event of a major storm in our service territory, the Illuminating Company’s priority becomes the safety of the general public and employees.  Efforts are directed to the safe and timely restoration of electrical service to our customers which may affect the projects overall schedule.

The Illuminating Company

Mark Robinson

Public Works Coordinator

Northern Region Operations

CC 	Paul Fatica, P.E.  KS Associates;

Edward Kisiel HNTB

Mark Hendrick- Walsh Construction

Brian Thompson – Project Manager

Dean Chatfield

Steve Gill

Don Bockrath

Dick Straka

Ted Rader

Kirt Limmer

Phil Smith

Terry Perona

Louie Decrent