# Northern Region Engineering Services

Project Response for PID 85531

Reference Illuminating Company File

OH WR # 54858442 West 15th & Abbey Road

September 30, 2011

ODOT

5500 Transportation Blvd.

Garfield Heights, OH 44125

Attention: Curt Malone,

The following information indicates the Illuminating Company’s findings after examining the information previously received by the Illuminating Company for the aforementioned project.

1.    The Illuminating Company has no facilities in conflict on this project.

2.    Rearrangement of the Illuminating Company’s facilities is not necessary.

- The Illuminating Company has facilities in conflict and will be required to rearrange them.

- Based upon plans or information received, it is indeterminate if rearrangement of our facilities is necessary.  Please provide the additional information requested below.

Prior to the Illuminating Company commencing work on aerial or underground facilities in support of roadway, sanitary, storm or water line projects, all clearing, grubbing, necessary forestry (tree/bush trimming) in the Public Right of way is to be completed by others.   Final grade shall be established prior to the Illuminating Company installing or relocating underground electric distribution facilities.  Also, the project construction limits are to be surveyed and staked by the requesting engineering consulting firm or by the municipality in order ensure the Illuminating Company is properly locating aerial facilities in the public right of way and within the construction limits.

Relocation costs that are determined to be compensable, such as, sanitary sewer projects, water lines and other compensable rights or where the relocation of our overhead facilities is only caused by the installation of sidewalks, shall be invoiced by the Illuminating Company per our standard Aid to Construction form.   Payment shall be received in advance of work commencing.  Estimates are only valid for 30 days and will be re-estimated to provide current estimated costs should approvals be extended beyond the 30 days.

In the event additional conflicts are identified which are not part of the Project 4A Note/Project Response Form, due to field conditions, the Illuminating Company shall be notified immediately, both verbally and in writing by the authorized agent for the project.   The Illuminating Company, along with the contractor and authorized agent for the project, shall resolve the field conflicts and determine if there are associated compensable costs.   The Illuminating Company will not accept contractor delay costs that the Company has not had opportunity to dispute or resolve.

Important!   Instances that require the Illuminating Company to de-energize our transmission circuitry for contractor related work, is to be requested in writing to the Illuminating Company in accordance to the current pjm requirements in advance of need.  The charge to de-energize the circuitry will be communicated.  Written approval of the Illuminating Company’s Customer Charge Application is to be completed in advance by the requestor that is requiring the transmission circuitry de-energized

I.  WOOD-POLE AERIAL DISTRIBUTION FACILITIES

The Illuminating Company has facilities in conflict and will be required to rearrange them according to the attached drawings.  In effort to coordinate and represent existing and proposed Overhead facilities The Illuminating Company is requesting that proposed facilities be represented on improvement drawings by design build contract HNTB/Wash.

OH WR # 54858442 West 15th & Abbey Road

Sheet 1

West 15th

Symbol #1 pole 13131 Removal of equipment  & abandon pole

Symbol #2 pole 206207  Removal of equipment  & abandon pole

Symbol #3 pole 622463 Removal of equipment  & abandon pole

Symbol # 4 pole 622462 Removal of equipment  & abandon pole

Symbol # 5 pole 13133 Removal of equipment  & abandon pole

Symbol #6 pole  13134 Removal of equipment  & abandon pole

Symbol #7 pole 13135 Removal of equipment  & abandon pole

Symbol #8 pole 201907 Removal of equipment  & abandon pole

Symbol #9 pole 220691 Removal of equipment  & abandon pole

Removal of primary and secondary wire as noted

Sheet 2

Further North on West 15th

Symbol #1 pole 535366 Removal of equipment  & abandon pole

Symbol #2 pole 314027 Removal of equipment  & abandon pole

Symbol #3 pole 540831 Removal of equipment  & abandon pole

Symbol #4 pole 513974 Removal of equipment  & abandon pole

Further West 15th    North of Abbey Road

Symbol #5 pole 13140 Removal of equipment  & abandon pole

Symbol #6 pole 206206 Removal of equipment  & abandon pole

Abbey Road

Symbol # 7 pole 13141 to be subbed to 10’ North of existing location

Symbol #8 set pole734950 35’ East of  Symbol # 7 pole 13141

Symbol # 9 pole 722995 Removal of equipment  & abandon pole

South of Abbey West of West 15th  Paved parking Lot

Symbol # 10 pole 628120 Removal of equipment  & abandon pole

Symbol # 11 pole 628121 Removal of equipment  & abandon pole

Symbol # 12 pole 628122 Removal of equipment  & abandon pole

Removal of primary and secondary wire as noted

Sheet 3

Abbey Road East of West 15th & under proposed Innerbelt bridge Span

Symbol # 1 304617 Removal of equipment  & abandon pole

Symbol #2 pole 266143 Removal of equipment  & abandon pole

Symbol # 3 pole 651364 Removal of equipment  & abandon pole

Symbole #4 pole 536735 Removal of equipment  & abandon pole

Removal of primary and secondary wire as noted.

Work Week:

The Illuminating Company’s workweek is comprised of 5 days per week, 8 hours per day, Monday through Friday.  Any overtime costs incurred, as a result of contractor project escalation or requests from ODOT, Cuyahoga County or other project administering agencies shall be billed directly to the contractor.   Authorization for payment for the requested overtime shall be received in advance of the overtime being worked.

Additional Comments:

All contractors/owners must know & comply with Occupational Safety Health Administration (OSHA) safe-working clearances between persons or any conductive object and the energized bare wires (conductors).

Please forward revised drawings to Mark Robinson @ 6896 Miller Road Brecksville Ohio 44141 as they are available for further review.

The job as attached and represented on overhead  WR # 54858442 is contingent on the completion of previously approved & submitted (8-23-2011 via email)  underground WR# 52060694 Fairfield and Scranton design.  CEI will need to energize the proposed underground conductors prior to removal of existing overhead conducts represented on overhead WR # 54858442.

Illuminating Company facility UG and OH relocation and underground conversion work has started and schedules of events associated with these designs have been communicated with ODOT and design build contractor Walsh/HNTB.

As previously discussed associated work with reimbursable have been communicated with ODOT for approval.  Progress billing is expected.

____________________________________________________________________________________________________

Notice: The Illuminating Company denies permission to any contractor or other utility to remove Illuminating Company manhole castings, cut down Illuminating Company manhole necks, and to temporarily plate over project-created Illuminating Company manhole roof openings.  This practice often results in construction debris falling into manholes, thus damaging energized circuits.  Under any circumstances if project construction debris is found in Illuminating Company manholes on the subject project, the Illuminating Company shall charge the responsible party for the required clean out.    In the event circuitry is damaged as a direct result of project construction debris, the Illuminating Company shall also file a claim, and pursue reimbursement for the damage. It is the Project General Contractor responsibility to notify the Illuminating Company in advance of any existing debris found in Illuminating Company manholes.

____________________________________________________________________________________________

Notice:  Customer-owned secondary cables/wire and equipment that requires relocation caused by a public works project is not the responsibility of The Illuminating Company.   The relocation cost for customer owned facilities generally is the responsibility of the requesting agency.  ____________________________________________________________________________________________

Notice:  In the event of a major storm in our service territory, the Illuminating Company’s priority becomes the safety of the general public and employees.  Efforts are directed to the safe and timely restoration of electrical service to our customers which may affect the projects overall schedule.

The Illuminating Company

Mark Robinson

Public Works Coordinator

Northern Region Operations

CC 	Paul Fatica, P.E.  KS Associates

Ed Kisiel- HNTB

Mark Hendrick- Walsh Construction

Brian Thompson

Dean Chatfield

Steve Gill

Don Bockrath

Dick Straka

Ted Rader

Kirt Limmer

Phil Smith

Terry Perona

Louie Descent