## SUBSUMMARY
1 |  |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[5 empty] | INSTRUCTIONS: | 2) | DO NOT ENTER ANY DATA INTO THE ITEM NUMBER, ITEM DESCRIPTION & ITEM UNITS
[6 empty] | 3) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[6 empty] | 4) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[6 empty] | 5) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | SUBSUMMARY SHEET | [29 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
|  | ITEM_CODE | [6 empty] | 625e26253 | 625e27503 | 625e00450 | 625e00460 | 625e10490 | 625e10490 | 625e10500 | 625e10614 | 625E14100 | 625E23200 | 625E23400 | 625E24100 | 625E25400 | 625E25910 | 625E29000 | 625E29940 | 625E32000 | 625E33000 | 625E36010 | 625E37000 | 625E75400 | 625E75500 | 625E75506
|  | ADDITIONAL_DESCRIPTION | [10 empty] | A10B35 | AT10B35 | POLE IDENTIFIERS
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  |  | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[9 empty] | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN | LUMINAIRE, UNDERPASS, SOLID STATE (LED), AS PER PLAN | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PULL APART | LIGHT POLE, CONVENTIONAL A10B35 | LIGHT POLE, CONVENTIONAL AT10B35 | LIGHT POLE, MISC.: POLE IDENTIFIERS | LIGHT POLE ANCHOR BOLTS ON STRUCTURE | LIGHT POLE FOUNDATION, 24" X 8' DEEP | NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE | NO. 10 AWG POLE AND BRACKET CABLE | 1-1/2" DUCT CABLE WITH TWO NO. 4 AWG 2400 VOLT CABLES | CONDUIT, 2", 725.04 | CONDUIT CLEANED AND CABLES REMOVED | TRENCH | BARRIER JUNCTION BOX | GROUND ROD | STRUCTURE GROUNDING SYSTEM | UNDERGROUND WARNING/MARKING TAPE | SERVICE TO UNDERPASS LIGHTING | LIGHT POLE REMOVED | LIGHT POLE FOUNDATION REMOVED | LUMINAIRE REMOVED
[9 empty] | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | EACH | EACH | EACH | FT | LS | EACH | EACH | EACH
|  | 1H12 | 50 | 357 |  |  |  | RT |  | 1 | [17 empty] | LS |  |  | 1
|  |  | 50 | 357 | RT | TO | 435 | RT | [9 empty] | 176 |  |  |  | 156
|  | 1H11 | 50 | 435 |  |  |  | RT |  | 1 | [17 empty] | LS |  |  | 1
|  |  | 50 | 435 | RT | TO | 573 | RT | [9 empty] | 296 |  |  | 138
|  | R-1 | 50 | 5+67 |  |  |  | RT | [20 empty] | 1 |  | 1
|  | 1H8 | 50 | 573 |  |  |  | RT | 1 |  | 1 | 1 | 1 |  | 1 | 4 |  |  | 110
|  |  | 50 | 573 | RT | TO | 775 | RT | [9 empty] | 414 |  |  | 202
|  | R-2 | 50 | 762 |  |  |  | RT | [20 empty] | 1 |  | 1
|  | JB-1 | 50 | 775 |  |  |  | RT | [15 empty] | 1
|  |  | 50 | 775 | RT | TO | 975 | RT | [9 empty] | 400 |  |  | 200
1
| 1 | R-3 | 50 | 947 |  |  |  | RT | [20 empty] | 1 |  | 1
|  |  | 50 | 975 | RT | TO | 1175 | RT | [9 empty] | 400 |  |  | 200
|  | JB-2 | 50 | 975 |  |  |  | RT | [15 empty] | 1
|  | R-4 | 50 | 1141 |  |  |  | RT | [20 empty] | 1 |  | 1
|  | JB-3 | 50 | 1175 |  |  |  | RT | [15 empty] | 1
|  |  |  | 1175 | RT | TO | 1336 | RT | [9 empty] | 356 |  |  | 173
|  | JB-4 | 50 | 1275 |  |  |  | RT | [15 empty] | 1
|  | 1H4 | 50 | 1336 |  |  |  | RT | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 110 | [5 empty] | 1
|  | R-5 | 50 | 1335 |  |  |  | RT | [20 empty] | 1 | 1 | 1
|  |  | 50 | 1336 | RT | TO | CC | [12 empty] | 210 |  |  | 190 |  |  |  | 190
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 2 | 2 | 2 | 2 | 1 | 1 | 2 | 4 | 1 | 2042 | 220 | 210 | 913 | 156 | 190 | 4 | 1 | 1 | 190 | LS | 5 | 1 | 7
| Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY