## Stage 3 Lighting Qtys
ITEM NO. | DESCRIPTION | UNIT | W 220th Bridge over I-480
625E00450 | CONNECTION, FUSED PULL APART | EACH | 12
625E00460 | CONNECTION, UNFUSED PERMANENT | EACH | 12
625E10480 | LIGHT POLE, AESTHETIC | EACH | 4
625E10614 | LIGHT POLE ANCHOR BOLTS ON STRUCTURE | EACH | 16
625E18000 | BRACKET ARM, 10' | EACH | 4
625E23306 | DISTRIBUTION CABLE NO. 10 AWG 2400 VOLT | FT | 575
625E23400 | NO. 10 POLE AND BRACKET CABLE | FT | 930
625E25802 | CONDUIT, CONCRETE ENCASED, 2" | FT | 500
625E25802 | CONDUIT, CONCRETE ENCASED, 3" | FT | 70
625E27506 | LUMINAIRE, TEARDROP, SOLID STATE (LED) | EACH | 4
625E27402 | LUMINAIRE, POST TOP, SOLID STATE (LED) | EACH | 4
625E29002 | TRENCH, 24", DEEP | FT | 60
625E29400 | TRENCH IN PAVED AREA | FT | 70
625E30510 | PULL BOX, 725.06, SIZE 4 | EACH | 1
625E30530 | PULL BOX, 725.06, SIZE 18 | EACH | 1
625E29930 | MEDIAN JUNCTION BOX | EACH | 4
625E32000 | GROUND ROD | EACH | 4
625E34001 | POWER SERVICE, AS PER PLAN | EACH | 1
625E36010 | UNDERGROUND WARNING/MARKING TAPE | FT | 130
623E70400 | CONDUIT RISER, 2" DIAMETER | EACH | 1

## Subsum
1 |  |  |  |  | SPREADSHEET | 1)
[5 empty] | INSTRUCTIONS: | 2)
3)
4)
| Page # | 1 | [22 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
|  | ITEM_CODE |  |  |  |  | 611e00400 | 625E27507 | 625e27403 | 625E10481 | 625e10614 | 625E30530 | 625E30510 | 625E29900 | 625E29002 | 625E25400 | 625E25500 | 625E23306 | 625e34001 | 625e36010 | 625E00450 | 625E00480 | 625E23400 | 625e33000
|  | ADDITIONAL_DESCRIPTION | [5 empty] | , TEARDROP, 3000K, BLACK FINISH, AS PER PLAN | , LANTERN STYLE, 3000K, BLACK, AS PER PLAN
| Split # | SHEET NO. | STATION |  | SIDE | POLE/PULL BOX NO. | 611 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[7 empty] | 4" CONDUIT, TYPE E | LUMINAIRE, TEARDROP, SOLID STATE (LED), 3000K, BLACK FINISH, AS PER PLAN | LUMINAIRE, POST TOP, SOLID STATE (LED), AS PER PLAN, LANTERN STYLE, 3000K, BLACK, AS PER PLAN | LIGHT POLE, AESTHETIC, AS PER PLAN | LIGHT POLE ANCHOR BOLTS ON STRUCTURE | PULL BOX, 725.06, SIZE 18 | PULL BOX, 725.06, SIZE 4 | JUNCTION BOX | TRENCH, 24" DEEP | CONDUIT, 2", 725.04 | CONDUIT, 3", 725.04 | NO. 10 AWG 600 VOLT DISTRIBUTION CABLE | POWER SERVICE, AS PER PLAN | UNDERGROUND WARNING/MARKING TAPE | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PERMANENT | NO. 10 AWG POLE AND BRACKET CABLE | STRUCTURE GROUNDING SYSTEM
|  |  | FROM | TO |  |  | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | EACH | FT | EACH | EACH | FT | EACH
|  | P.45 | 10+13.71 | - | RT/LT | - | [17 empty] | 1
|  | P.45 | 12+02.48 | - | RT | EX-LP | [12 empty] | 1
|  | P.45 | 11+78.49 | - | RT | PB-A1 | 20 |  |  |  |  | 1 | [9 empty] | 2
|  | P.45 | 11+78.08 | - | LT | PB-B1 | 20 | [5 empty] | 1
|  | P.45 | 11+35.79 | - | LT | JB-B2
|  | P.45 | 11+25.01 | - | RT | JB-A2 | [7 empty] | 1
|  | P.45 | 10+83.88 | - | RT | LP-A1 |  | 1 | 1 | 1 | 4 |  |  | 1 | [6 empty] | 2 |  | 100
|  | P.45 | 9+20.04 | - | RT | LP-A2 |  | 1 | 1 | 1 | 4 |  |  | 1 | [6 empty] | 2 |  | 100
|  | P.45 | 1135.79 | - | LT | LP-B1 |  | 1 | 1 | 1 | 4 |  |  | 1 | [6 empty] | 2 |  | 100
|  | P.45 | 10+06.39 | - | LT | LP-B2 |  | 1 | 1 | 1 | 4 |  |  | 1 | [6 empty] | 2 |  | 100
|  | P.45 | 12+02.48 | 11+78.49 | RT | EX-LP - PB-A1 | [8 empty] | 25 | 25 |  | 70 |  | 25
|  | P.45 | 11+78.49 | 10+83.88 | RT | PB-A1 - LP-A1 | [8 empty] | 35 | 100 |  | 220 |  | 35
|  | P.45 | 10+83.88 | 9+20.04 | RT | LP-A1 - LP-A2 | [9 empty] | 165 |  | 350
|  | P.45 | 11+78.49 | 11+78.08 | RT/LT | PB-A1 - PB-B1 | [8 empty] | 55 |  | 55 | 130 |  | 55
|  | P.45 | 11+78.08 | 11+35.79 | LT | PB-B1 - LP-B1 | [9 empty] | 45 |  | 110
|  | P.45 | 11+35.79 | 10+06.39 | LT | LP-B1 - LP-B2 | [9 empty] | 130 |  | 280
| Total | TOTALS CARRIED TO GENERAL SUMMARY |  |  |  |  | 40 | 4 | 4 | 4 | 16 | 1 | 1 | 5 | 115 | 465 | 55 | 1160 | 1 | 115 | 8 | 2 | 400 | 1
| Page # | 2
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | 3
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | 4
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
Note on Q36: Maggie: Only a portion of this is outside of the bridge area and will require trenching. 35 of 100' total for this run.