## WO
MAINTENANCE LOCATIONS | STATE LOG MM | SHEET NUMBER | WORK ORDER NUMBER | 625 | [9 empty] | 632 |  | 633 |  |  | 809
|  |  |  | CONNECTION, UNFUSED PERMANENT | NO. 6 AWG 600 VOLT DISTRIBUTION CABLE | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE | CONDUIT, 2", 725.052 | TRENCH, 30" DEEP | PULL BOX, 725.08, 18" | PULL BOX REMOVED | PULL BOX, MISC.: MOW PAD | GROUND ROD, AS PER PLAN | UNDERGROUND WARNING/MARKING TAPE | STRAIN POLE, TYPE TC-81.11, DESIGN 10, AS PER PLAN | STRAIN POLE FOUNDATION | CABINET FOUNDATION, AS PER PLAN | CONTROLLER WORK PAD, AS PER PLAN A | CONTROLLER WORK PAD, AS PER PLAN B | 32" ITS PULL BOX WITH PAD AND STANDARD LID ASSEMBLY | 32" ITS PULL BOX WITH PAD AND HINGED LID ASSEMBLY | CONDUIT, MULTICELL,MISC.: 4", INSTALL ONLY | CONDUIT, MULTICELL,MISC.: 4", JACKED OR DRILLED, INSTALL ONLY | CONDUIT, MULTICELL,MISC.: INSTALL ONLY THROUGH EXISTING DUCT | ITS DEVICE, MISC: MAINTENANCE OF EXISTING POWER SERVICE | CCTV IP-CAMERA SYSTEM, PTZ | CCTV IP-CAMERA SYSTEM, QUAD MULTI-VIEW FIXED WITH PTZ | CCTV POLE, 70' TALL | CCTV LOWERING UNIT | ETHERNET CABLE, OUTDOOR-RATED | ITS CABINET - GROUND MOUNTED | ITS DEVICE, MISC.: REMOVAL AND DELIVERY OF STEEL POLE AND EQUIPMENT | ITS DEVICE, MISC.: REMOVAL AND DELIVERY OF WOOD POLE AND EQUIPMENT
|  |  |  | EACH | FEET | FEET | FEET | FEET | EACH | EACH | EACH | EACH | FEET | EACH | EACH | EACH | EACH | EACH | EACH | EACH | FEET | FEET | FEET | EACH | EACH | EACH | EACH | EACH | FEET | EACH | EACH | EACH
I-70 AT N WILSON RD | 94.01 | 9 | 1.1 | 3 | 150 |  | 50 | 50 | 1 | 1 |  | 2 | 50 |  |  | 1 | 1 | [6 empty] | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1
I-670 AT 4TH ST | 3.83 | 10 | 1.2 |  | 75 |  | 25 | 175 |  | 3 |  | 1 | 175 |  |  | 1 | 1 |  | 1 | 1 | 150 |  |  |  |  | 1 | 1 | 1 |  | 1 | 1
I-270 AT W OF HAMILTON RD/SR-317 | 36.46 | 11 | 1.3 |  |  | 750 | 250 | 250 | 1 | 3 | 6 | 2 | 250 | 1 | 1 | 1 |  | 1 | 1 |  | 250 | 100 |  |  | 1 |  |  |  | 50 | 1 |  | 1
1-270 AT HAMILTON RD/SR-317 | 37.41 | 12 | 1.4 | [6 empty] | 1 | 3 | 0 | 0 |  |  |  | 1 | [8 empty] | 1 | 1 | 1 |  |  | 1
I-270 FROM US-23 TO WORTHINGTON GALENA RD | 23.81 | 13 | 1.5 | [7 empty] | 1 | 0 | 0 | [9 empty] | 8000
SHEET TOTALS (CARRIED TO GENERAL SUMMARY) |  |  |  | 3 | 225 | 750 | 325 | 475 | 2 | 8 | 10 | 5 | 475 | 1 | 1 | 3 | 3 | 1 | 2 | 1 | 400 | 100 | 8000 | 1 | 1 | 3 | 3 | 3 | 50 | 3 | 3 | 2