## existing drainage
Maximum Overland Length
[8 empty] | acres | 43560
[8 empty] | i | 4.82
[8 empty] | C | 0.9
Storm System design
[10 empty] | area | Q
Design Storm 25 year |  |  |  | Design Storm 100 year |  |  |  |  | CB#1 | 1983 | 0.19748 | CB#1 | 5677 | 0.56535
a | 95.736 |  |  | a | 80.436 |  |  |  | CB#2 | 3106 | 0.30932 | CB#2 | 10384 | 1.0341
b | 14 |  |  | b | 11.5 |  |  |  | CB#3 | 3617 | 0.36021 | CB#3 | 3627 | 0.3612
c | 0.871 |  |  | c | 0.794 |  |  |  | CB#4 | 3696 | 0.36807 | CB#4 | 4668 | 0.46487
[9 empty] | CB#5 | 3694 | 0.36787
[9 empty] | CB#6 | 3693 | 0.36777
42" Culvert drainage Area 25 year storm |  |  |  | 42" Culvert drainage Area 100 year storm |  |  |  | Pass | CB#7 | 3691 | 0.36757 | CB#1 | 16304 | 1.6237
Q | 76.1806 | cfs |  | Q | 90.5499 | cfs |  |  | CB#8 | 875 | 0.087138 | CB#2 | 2874 | 0.28621
C | 0.46 |  |  | C | 0.46
i | 2.8295 |  | 42" Ex. Pipe | i | 3.3632 |  | 42" Ex. Pipe |  |  |  |  | CB#1 | 15963 | 1.5897
Area #1 | 58.53 | Acres |  | Area #1 | 58.53 | Acres |  |  | CB#1 | 2077 | 0.20684 | CB#2 | 2589 | 0.25783
Tc | 43 | Minutes |  | Tc | 43 | Minutes |  |  | CB#2 | 3264 | 0.32505
Detension Pond A 25 year storm |  |  |  | Detension Pond A 100 year storm |  |  |  | Fail | CB#3 | 3920 | 0.39038 | CB#1 | 3647 | 0.36319
Q | 24.9717 | cfs |  | Q | 29.2721 | cfs |  |  | CB#4 | 4804 | 0.47841 | CB#2 | 12657 | 1.2605
C | 0.69 |  |  | C | 0.69 |  |  |  | CB#5 | 4801 | 0.47812 | CB#3 | 2874 | 0.28621
i | 5.0971 |  | 15" Ex. Pipe | i | 5.962 |  | 15" Ex. Pipe |  | CB#6 | 4799 | 0.47792
Area #2 | 4.9 | Acres |  | Area #2 | 4.9 | Acres |  |  | CB#8 | 691 | 0.068814
Tc | 15 | Minutes |  | Tc | 15 | Minutes
24" Culver Drainage Area 25 year storm |  |  |  | 24" Culver Drainage Area 100 year storm |  |  |  | Pass
Q | 7.7382 | cfs |  | Q | 9.1145 | cfs
C | 0.68 |  |  | C | 0.68
i | 3.5451 |  | 24" Ex. Pipe | i | 4.1756 |  | 24" Ex. Pipe
Area #3 | 3.21 | Acres |  | Area #3 | 3.21 | Acres
Tc | 30 | Minutes |  | Tc | 30 | Minutes
Ditch along Exit Ramp South Side 25 year storm |  |  |  | Ditch along Exit Ramp South Side 100 year storm |  |  |  | Pass
Q | 11.1747 | cfs |  | Q | 13.2259 | cfs
C | 0.63 |  |  | C | 0.63
i | 3.1173 |  | 24"x38" Conduit | i | 3.6895 |  | 24"x38" Conduit
Area #4 | 5.69 | Acres |  | Area #4 | 5.69 | Acres
Tc | 37 | Minutes |  | Tc | 37 | Minutes
Detension Pond B 25 year storm |  |  |  | Detension Pond B 100 year storm |  |  |  | Pass
Q | 17.2914 | cfs |  | Q | 20.3031 | cfs
C | 0.63 |  |  | C | 0.63
i | 3.9378 |  | 24" Ex. Type B | i | 4.6237 |  | 24" Ex. Type B
Area #5 | 6.97 | Acres |  | Area #5 | 6.97 | Acres
Tc | 25 | Minutes |  | Tc | 25 | Minutes
Area #6 Costco Developed Area 25 year storm |  |  |  | Area #6 Costco Developed Area 100 year storm |  |  |  | `
Q | 203.1975 | cfs |  | Q | 237.6758 | cfs
C | 0.85 |  |  | C | 0.85
i | 5.0971 |  | xx" | i | 5.962 |  | xx"
Area #5 | 46.9 | Acres |  | Area #5 | 46.9 | Acres
Tc | 15 | Minutes |  | Tc | 15 | Minutes
Area #7 270 ODOT Development Morse Road Side 25 year storm |  |  |  | Area #7 270 ODOT Development Morse Road Side 100 year storm
Q | 44.2344 | cfs | Pond Discharge | Q | 56.4712 | cfs | Pond Discharge
C | 0.71 |  | 7.53 | C | 0.71 |  | 13.06
i | 3.1716 |  | xx" | i | 3.7511 |  | xx"
Area #5 | 16.3 | Acres |  | Area #5 | 16.3 | Acres
Tc | 36 | Minutes |  | Tc | 36 | Minutes
48" Culvert Discharge Calculations 25 year storm |  |  |  | 48" Culvert Discharge Calculations100 year storm
Q | 24.2473 | cfs |  | Q | 28.5956 | cfs
C | 0.55 |  |  | C | 0.55
i | 3.29 |  | xx" | i | 3.88
Area #5 | 13.4 | Acres |  | Area #5 | 13.4 | Acres
Tc | 34 | Minutes |  | Tc | 34 | Minutes
𝑡_𝑐 = 𝑡_0+ 𝑡_𝑠+ 𝑡_𝑑
𝑡_0=((1.8 (1.1 −𝐶)∗𝐿^.5 ))/𝑆^.33
𝑉=3.3 ∗𝑘 ∗ 𝑆^.5
𝑡_𝑑=𝐿/60𝑉
Undersized unless roadway drains elsewear
Existing Pond at Costco Discharge Details
25 yr
5.10 cfs max discharge from structure
7.53 cfs Potential discharged if Weir overtopped
100 yr
5.58 cfs max discharge from structure
13.06 cfs Potential discharge if Weir overtopped
Information taken from existing storm water report of costco pond:
\\cmharc01\archiveo\2011\20110641\Reports\Stormwater\Revised Report 7-11-13\Stormwater Report - 07-16-2013.pdf
I created a link to it within the project folder: Stormwater Report - 07-16-2013

## Proposed Drainage
Design Storm 25 year |  |  |  | Design Storm 100 year
a | 95.736 |  |  | a | 80.436
b | 14 |  |  | b | 11.5
c | 0.871 |  |  | c | 0.794
42" Culvert drainage Area 25 year storm |  |  |  | 42" Culvert drainage Area 100 year storm
Q | 77.8367 | cfs |  | Q | 92.5184 | cfs
C | 0.47 |  |  | C | 0.47
i | 2.8295 |  | 42" Ex. Pipe | i | 3.3632 |  | 42" Ex. Pipe
Area #1 | 58.53 | Acres |  | Area #1 | 58.53 | Acres
Tc | 43 | Minutes |  | Tc | 43 | Minutes
Detension Pond A 25 year storm |  |  |  | Detension Pond A 100 year storm
Q | 18.2325 | cfs |  | Q | 21.3261 | cfs
C | 0.73 |  |  | C | 0.73
i | 5.0971 |  | 15" Ex. Pipe | i | 5.962 |  | 15" Ex. Pipe
Area #2 | 4.9 | Acres |  | Area #2 | 4.9 | Acres
Tc | 15 | Minutes |  | Tc | 15 | Minutes
24" Culver Drainage Area 25 year storm |  |  |  | 24" Culver Drainage Area 25 year storm
Q | 8.3072 | cfs |  | Q | 9.7847 | cfs
C | 0.73 |  |  | C | 0.73
i | 3.5451 |  | 24" Ex. Pipe | i | 4.1756 |  | 24" Ex. Pipe
Area #3 | 3.21 | Acres |  | Area #3 | 3.21 | Acres
Tc | 30 | Minutes |  | Tc | 30 | Minutes
Ditch along Exit Ramp South Side 25 year storm |  |  |  | Ditch along Exit Ramp South Side 25 year storm
Q | 11.1747 | cfs |  | Q | 13.2259 | cfs
C | 0.63 |  |  | C | 0.63
i | 3.1173 |  | 24"x38" Conduit | i | 3.6895 |  | 24"x38" Conduit
Area #4 | 5.69 | Acres |  | Area #4 | 5.69 | Acres
Tc | 37 | Minutes |  | Tc | 37 | Minutes
Detension Pond B 25 year storm |  |  |  | Detension Pond B 25 year storm
Q | 17.2914 | cfs |  | Q | 20.2158 | cfs
C | 0.63 |  |  | C | 0.63
i | 3.9378 |  | 24" Ex. Type B | i | 4.6237 |  | 24" Ex. Type B
Area #5 | 6.97 | Acres |  | Area #5 | 6.94 | Acres
Tc | 25 | Minutes |  | Tc | 25 | Minutes
Area #6 Costco Developed Area 25 year storm |  |  |  | Area #6 Costco Developed Area 100 year storm
Q | 203.1975 | cfs | Pond Discharge | Q | 237.6758 | cfs | Pond Discharge
C | 0.85 |  | 17.05 | C | 0.85 |  | 53.29
i | 5.0971 |  | xx" | i | 5.962 |  | xx"
Area #5 | 46.9 | Acres |  | Area #5 | 46.9 | Acres
Tc | 15 | Minutes |  | Tc | 15 | Minutes
Area #7 270 ODOT Development Morse Road Side 25 year storm |  |  |  | Area #7 270 ODOT Development Morse Road Side 100 year storm
Q | 54.7883 | cfs | Pond Discharge | Q | 99.567 | cfs | Pond Discharge
C | 0.73 |  | 17.05 | C | 0.73 |  | 53.29
i | 3.1716 |  | xx" | i | 3.7511 |  | xx"
Area #5 | 16.3 | Acres |  | Area #5 | 16.9 | Acres
Tc | 36 | Minutes |  | Tc | 36 | Minutes
48" culvert Drainage Area 25 year storm |  |  |  | 48" culvert Drainage Area 100 year storm
Q | 25.5873 | cfs |  | Q | 29.6462 | cfs
C | 0.57 |  |  | C | 0.57
i | 3.35 |  | xx" | i | 3.8814
Area #5 | 13.4 | Acres |  | Area #5 | 13.4 | Acres
Tc | 34 | Minutes |  | Tc | 34 | Minutes
Undersized unless roadway drains elsewear
Existing Pond at Costco Discharge Details
25 yr
5.10 cfs max discharge from structure
7.53 cfs Potential discharged if Weir overtopped
100 yr
5.58 cfs max discharge from structure
13.06 cfs Potential discharge if Weir overtopped
Q = 98.41 cfs (for a Full 48" Pipe at existing plans Slope)
Information taken from existing storm water report of costco pond:
\\cmharc01\archiveo\2011\20110641\Reports\Stormwater\Revised Report 7-11-13\Stormwater Report - 07-16-2013.pdf
I created a link to it within the project folder: Stormwater Report - 07-16-2013

## Summary Sheet
|  | Design Storm 25 year |  | Design Storm 100 year
|  | a | 95.736 | a | 80.436
|  | b | 14 | b | 11.5
|  | c | 0.871 | c | 0.794
Existing 42" Culvert Discharge Calculations
42" Culvert drainage Area 25 year storm |  |  |  | 42" Culvert drainage Area 100 year storm
Q | 76.1806 | cfs |  | Q | 90.5499 | cfs
C | 0.46 |  |  | C | 0.46
i | 2.8295 |  |  | i | 3.3632
Area #1 | 58.53 | Acres |  | Area #1 | 58.53 | Acres
Tc | 43 | Minutes |  | Tc | 43 | Minutes
Proposed 42" Culvert Discharge Calculations
42" Culvert drainage Area 25 year storm |  |  |  | 42" Culvert drainage Area 100 year storm
Q | 77.8367 | cfs |  | Q | 92.5184 | cfs
C | 0.47 |  |  | C | 0.47
i | 2.8295 |  |  | i | 3.3632
Area #1 | 58.53 | Acres |  | Area #1 | 58.53 | Acres
Tc | 43 | Minutes |  | Tc | 43 | Minutes
Existing 24" Culvert Discharge Calculations
24" Culvert drainage Area 25 year storm |  |  |  | 24" Culvert drainage Area 100 year storm
Q | 7.7382 | cfs |  | Q | 9.1145 | cfs
C | 0.68 |  |  | C | 0.68
i | 3.5451 |  |  | i | 4.1756
Area #1 | 3.21 | Acres |  | Area #1 | 3.21 | Acres
Tc | 30 | Minutes |  | Tc | 30 | Minutes
Proposed 24" Culvert Discharge Calculations
24" Culvert drainage Area 25 year storm |  |  |  | 24" Culvert drainage Area 100 year storm
Q | 8.3072 | cfs |  | Q | 9.7847 | cfs
C | 0.73 |  |  | C | 0.73
i | 3.5451 |  |  | i | 4.1756
Area #1 | 3.21 | Acres |  | Area #1 | 3.21 | Acres
Tc | 30 | Minutes |  | Tc | 30 | Minutes
Existing 48" Culvert Discharge Calculations
48" Culvert drainage Area 25 year storm |  |  |  | 48" Culvert drainage Area 100 year storm
Q | 24.2204 | cfs |  | Q | 28.606 | cfs
C | 0.55 |  |  | C | 0.55
i | 3.2864 |  |  | i | 3.8814
Area #1 | 13.4 | Acres |  | Area #1 | 13.4 | Acres
Tc | 34 | Minutes |  | Tc | 34 | Minutes
Proposed 48" Culvert Discharge Calculations
48" Culvert drainage Area 25 year storm |  |  |  | 48" Culvert drainage Area 100 year storm
Q | 25.1012 | cfs |  | Q | 29.6462 | cfs
C | 0.57 |  |  | C | 0.57
i | 3.2864 |  |  | i | 3.8814
Area #1 | 13.4 | Acres |  | Area #1 | 13.4 | Acres
Tc | 34 | Minutes |  | Tc | 34 | Minutes