## SUBSUMMARY
| SPECIAL |  |  |  |  | 638 |  |  | SPECIAL | SPECIAL | SPECIAL | SPECIAL |  | SPECIAL |  |  | 638 | SPECIAL | SPECIAL | SPECIAL
| INCREASE OR DECREASE IN EXCAVATION AND BACKFILL (COLUMBUS 811) |  |  |  |  | WATER WORK, MISC.: 24" x 24" TAPPING SLEEVE AND VALVE AND APPURTENANCES |  |  | 24" BUTTERFLY VALVE WITH VALVE BOX (COLUMBUS 802) | 12" WATER MAIN DIP AND FITTINGS (COLUMBUS 801) | 24" WATER MAIN DIP AND FITTINGS (COLUMBUS 801) | 12" GATE VALVE WITH VALVE BOX (COLUMBUS 802) |  | 42" STEEL PIPE ENCASEMENT, BORED OR JACKED (COLUMBUS 806) |  |  | WATER WORK, MISC.: CORROSION PROTECTION (20" DIAMETER & GREATER) (COLUMBUS 801) | CUT AND PLUG EXISTING 12" WATER LINE (COLUMBUS 808) | CUT AND PLUG EXISTING 16" WATER LINE (COLUMBUS 808) | CUT AND PLUG EXISTING 24" WATER LINE (COLUMBUS 808)
SHEET
NO.
| CY |  |  |  |  | EACH |  |  | EACH | FT | FT | EACH |  | FT |  |  | LUMP | EACH | EACH | EACH
| 01/IMS/04 |  |  |  |  | 01/IMS/04 |  |  | 01/IMS/04 | 01/IMS/04 | 01/IMS/04 | 01/IMS/04 |  | 01/IMS/04 |  |  | 01/IMS/04 | 01/IMS/04 | 01/IMS/04 | 01/IMS/04
175 | [5 empty] | 1 |  |  | 4 | 9 | 698 | 1 |  | 207 |  |  | LS | 3 | 3 | 2
TOTALS CARRIED TO | 40 |  |  |  |  | 1 |  |  | 4 | 9 | 698 | 1 |  | 207 |  |  | LS | 3 | 3 | 2
GENERAL SUMMARY
| 638 | 638 | 638 | 638 | 611 |  | 638 | 638 |  | SPECIAL |  | SPECIAL | SPECIAL | 638 | 638 | SPECIAL | SPECIAL | SPECIAL | 611 | 611
| WATER WORK, MISC.: 16" WATER MAIN ABANDONED (COLUMBUS 808) | WATER WORK, MISC.: 24" WATER MAIN ABANDONED (COLUMBUS 808) | WATER WORK, MISC.: 12" WATER MAIN ABANDONED (COLUMBUS 808) | WATER WORK, MISC.: 1/2 INCH WATER SERVICE LINE TRANSFER (COLUMBUS 805) | MANHOLE ADJUSTED TO GRADE, AS PER PLAN |  | WATER WORK, MISC.: FIRE HYDRANT, RELOCATED (COLUMBUS 809) | FIRE HYDRANT ADJUSTED TO GRADE |  | VALVE BOX ADJUSTED TO GRADE (COLUMBUS 807) |  | DUCTILE IRON FITTINGS, INCREASE OR DECREASE (COLUMBUS 801) | CITY OF COLUMBUS MANHOLE, TYPE C (AA-S102) | WATER WORK, MISC.: DRY STANDPIPE | WATER WORK, MISC.: FIRE DEPARTMENT CONNECTION | CITY OF COLUMBUS 6" PIPE, 801.03, WITH TYPE 1 BEDDING, WITH ITEM 912 COMPACTED GRANULAR MATERIAL | CITY OF COLUMBUS 8" C905 PIPE, WITH TYPE 1 BEDDING, WITH ITEM 912 COMPACTED GRANULAR MATERIAL | CITY OF COLUMBUS 8" C905 PIPE, WITH TYPE 1 BEDDING, WITH ITEM 912 COMPACTED GRANULAR MATERIAL, AS PER PLAN | MANHOLE ADJUSTED TO GRADE, AS PER PLAN (SANITARY) | MANHOLE RECONSTRUCTED TO GRADE, AS PER PLAN (SANITARY)
SHEET
NO.
| EACH | EACH | EACH | EACH |  |  | EACH | EACH |  | EACH |  | LB | EACH | FT | EACH | FT | FT | FT | EACH | EACH
| 01/IMS/04 | 01/IMS/04 | 01/IMS/04 | 01/IMS/04 | 01/IMS/04 |  | 01/IMS/04 | 01/IMS/04 |  | 01/IMS/04 |  | 01/IMS/04 | 07/NHS/ 04/COL | 01/IMS/04 | 01/IMS/04 | 07/NHS/ 04/COL | 07/NHS/ 04/COL | 07/NHS/ 04/COL | 01/IMS/04 | 01/IMS/04
171 | [12 empty] | 3 |  |  | 21 | 267 | 31 | 4 | 1
175 | 2 | 1 | 1 | 1
176 |  |  |  |  | 1 |  | 2 | 1 |  | 16 |  |  |  | 288 | 2
TOTALS CARRIED TO | 2 | 1 | 1 | 1 | 1 |  | 2 | 1 |  | 16 |  | 500 | 3 | 288 | 2 | 21 | 267 | 31 | 4 | 1
GENERAL SUMMARY