## Sheet1
Grid-to-ground factor |  |  |  | https://www.ngs.noaa.gov/NCAT/
1.0001
Description | Locate # | Lat | Long | Northing | Easting | Northing Converted | Easting Converted
East of Race Road south of Highway 52 at pipeline inflection point | 3 | 39.1861 | -84.6279 | 439105.725 | 1365403.411 | 439145.5116 | 1365527.1278
Southern edge of eastbound lanes for Highway 52 | 4 | 39.1864 | -84.6277 | 439208.035 | 1365467.913 | 439247.8309 | 1365591.6356
Between eastbound and westbound lanes for Highway 52 | 5 | 39.1866 | -84.6277 | 439276.334 | 1365476.044 | 439316.136 | 1365599.7673
Northern edge of westbound lanes for Highway 52 | 6 | 39.1868 | -84.6277 | 439350.877 | 1365482.053 | 439390.6858 | 1365605.7769
East of Race Road north of Highway 52 at pipeline inflection point | 7 | 39.1871 | -84.6278 | 439451.539 | 1365446.434 | 439491.3569 | 1365570.1547
East of Race Road north of Highway 52 at driveway | 8 | 39.1876 | -84.6278 | 439642.478 | 1365460.291 | 439682.3132 | 1365584.0129

## Background Info
Jon,
BP and Entrust do not provide any engineering design services for third party requests such as this project. We can provide typical drawings, such as the attached document that we have provided previously, and we will review your proposed designs and provide feedback, but the design must be submitted to BP for review.
Due to site conditions, potholing will be required to determine the depth of the pipeline. Please reach out to BP Damage Prevention Specialist Kim Miller at (513) 939-4794 or kimble.miller@bp.com to coordinate a time and date to perform pipeline potholes. Please note that a BP Damage Prevention Specialist must be on site to supervise any potholing. Please make sure you provide the results of the potholes once they have been completed.
Please include the following locations using the including aerial as a reference when determining where you will pothole. Note that additional locations can be added at your discretion.
Please let me know if you have any additional questions or concerns. Thank you.
Best,
Marco Gasca
Design Engineer
28100 Torch Parkway ¦ Suite 400 ¦ Warrenville, IL 60555
(630) 967-6752 (Office)
mgasca@entrustsol.com