## SUBSUMMARY
1 |  |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
[5 empty] | INSTRUCTIONS: | 2) | DO NOT ENTER ANY DATA INTO THE ITEM NUMBER, ITEM DESCRIPTION & ITEM UNITS
[6 empty] | 3) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[6 empty] | 4) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[6 empty] | 5) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | SUBSUMMARY SHEET | [33 empty] | 1 | <--- ENTER STARTING SHEET NUMBER
|  | ITEM_CODE | [6 empty] | 625e00450 | 625e00480 | 625e17951 | 625e14101 | 625e26253 | 625e35011 | 625E23100 | 625E23000 | 625E23304 | 625E23306 | 625E25300 | 625E25304 | 625E25100 | 625E25102 | 625E25000 | 625E25012 | 625E25802 | 625E25920 | 625E29002 | 625E36010 | 625E32000 | 625E34001 | 625E30700 | 625E29901 | 625E70001 | 625E76000 | 632E89301
|  | ADDITIONAL_DESCRIPTION | [19 empty] | 1 |  |  | , 1 1/2" | 3/4" LIQUIDTIGHT FLEXIBLE CONDUIT, NON-METALLIC | [7 empty] | , LCC-A
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  |  | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 632
[9 empty] | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PERMANENT | BRACKET ARM, 6', AS PER PLAN | LIGHT POLE FOUNDATION, 24" X 8' DEEP, AS PER PLAN | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN | REMOVE AND REERECT EXISTING LIGHT POLE, AS PER PLAN | NO. 2 AWG 600 VOLT DISTRIBUTION CABLE | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE | NO. 8 AWG 600 VOLT DISTRIBUTION CABLE | NO. 10 AWG 600 VOLT DISTRIBUTION CABLE | CONDUIT, 1-1/2", 725.04 | CONDUIT, 1-1/2", 725.051 | CONDUIT, 1", 725.04 | CONDUIT, 1", 725.051 | CONDUIT, 3/4", 725.04 | CONDUIT, 3/4", 725.051 | CONDUIT, CONCRETE ENCASED, 1 1/2" | CONDUIT, MISC.: 3/4" LIQUIDTIGHT FLEXIBLE CONDUIT, NON-METALLIC | TRENCH, 24" DEEP | UNDERGROUND WARNING/MARKING TAPE | GROUND ROD | POWER SERVICE, AS PER PLAN | PULL BOX, 725.08, 18" | JUNCTION BOX, AS PER PLAN | LIGHTING CONTACTOR, AS PER PLAN | ARC FLASH CALCULATIONS AND LABEL, LCC-A | WOOD POLE, AS PER PLAN
[9 empty] | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH
SR 126 WB
|  | EX. LP | P.83 | 26212.77 | LT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 26212.77 | LT | TO | 26458.96 | LT | [7 empty] | 756 |  |  |  | 246 | [6 empty] | 246 | 246
|  | EX. LP | P.83 | 26458.96 | LT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 26458.96 | LT | TO | 26546.2 | LT | [7 empty] | 348 |  |  |  | 110 | [6 empty] | 110 | 110
|  | EX. LP | P.83 | 26546.2 | LT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
P.83
|  |  | P.83 | SR 126 EB
|  | EX. LP | P.83 | 25978.95 | RT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 25978.95 | RT | TO | 26183.34 | RT | [7 empty] | 669 |  |  |  | 203 | [6 empty] | 203 | 203
|  | EX. LP | P.83 | 26183.34 | RT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 26183.34 | RT | TO | 26371.95 | RT | [7 empty] | 576 |  |  |  | 186 | [6 empty] | 186 | 186
|  | EX. LP | P.83 | 26371.95 | RT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 26371.95 | RT | TO | 26630 | RT | [7 empty] | 798 |  |  |  | 260 | [6 empty] | 260 | 260
P.83
|  |  | P.83 | LCC-A SERVICE
|  | SERVE. POLE | P.83 | 25940 |  | RT | [23 empty] | 1
|  |  | P.83 | 25940 | RT | TO | 25956 | RT | [8 empty] | 72 |  |  | 18 | [6 empty] | 18 | 18
|  | PB-7 | P.83 | 25956 | RT |  |  |  |  | 3 | [20 empty] | 1
|  |  | P.83 | 25956 | RT | TO | 26227 | RT | [6 empty] | 1116 |  |  |  |  | 273 | [6 empty] | 273 | 273
|  | PB-8 | P.83 | 26227 | RT |  |  |  |  | 3 | [20 empty] | 1
|  |  | P.83 | 26227 | RT | TO | 158 | LT | [6 empty] | 868 |  |  |  |  | 211 | [6 empty] | 211 | 211
|  | PB-9 | P.83 | 158 | LT |  |  |  |  | 3 | [20 empty] | 1
|  |  | P.84 | 158 | LT | TO | 175.16 | RT | [8 empty] | 156 |  |  | 33 | [6 empty] | 33 | 33
|  | LCC-A | P.84 | 175.16 | RT | [11 empty] | 44 |  | 5 | [9 empty] | 1 |  |  |  | 1 | 1
CKT NO. 1 (ON LCC-A RACK)
|  | LCC-A | P.84 | 175.16 | RT | [12 empty] | 72 |  |  | 18
CKT NO. 2 (ON LCC-A RACK)
|  | LCC-A | P.84 | 175.16 | RT | [12 empty] | 33 |  |  | 5
CKT NO. 1 AND NO. 2
|  |  |  | 175.13 | RT | TO | 305.5 | RT | [9 empty] | 66 |  |  |  | 16 |  |  |  |  | 8 | 8
|  | PB-1 | P.84 | 305.5 | RT |  |  |  |  | 6 | [20 empty] | 1
|  |  | P.84 | 305.5 | RT | TO | 430 | RT | [9 empty] | 246 |  |  |  | 76 |  |  |  |  | 38 | 38
|  | PB-2 | P.84 | 430 | RT |  |  |  |  | 6 | [20 empty] | 1
|  |  | P.84 | 430 | RT |  | 428 | RT | [9 empty] | 186 |  |  | 40 | 16 |  |  |  |  | 8 | 8
|  | JBA-1 | P.84 | 428 | RT |  |  |  |  | 9 | [21 empty] | 1
CKT NO. 1 (JBA-1 TO DRV-4,5,6)
|  | DRV-4 | P.84 | 428 | RT | [12 empty] | 27 |  |  | 3
|  | DRV-5 | P.84 | 428 | RT | TO | 428 | LT | [9 empty] | 48 |  |  | 10
|  | DRV-6 | P.84 | 428 | RT | TO | 428 | LT | [9 empty] | 57 |  |  | 13
CKT NO. 2
|  |  | P.84 | 428 | RT | TO | 422 | RT | [9 empty] | 69 |  |  | 17
|  | JBB-2 | P.84 | 422 | RT |  |  |  |  | 3 | [21 empty] | 1
|  |  | P.84 | 422 | RT | TO | 563.5 | RT | [9 empty] | 453 |  |  | 145
|  | JBB-3 | P.84/P.85 | 563.5 | RT |  |  |  |  | 3 | [21 empty] | 1
|  |  | P.85 | 536.5 | RT | TO | 559.5 | RT | [9 empty] | 69 |  |  | 17
|  | JBA-4 | P.85 | 559.5 | RT |  |  |  |  | 3 | [21 empty] | 1
|  | DRV-7 | P.85 | 559.5 | RT | TO | 559.5 | LT | [9 empty] | 51 |  |  | 11
|  |  | P.85 | 559.5 | RT | TO | 559.5 | RT | [9 empty] | 108 |  |  | 20 | 10 |  |  |  |  | 10 | 10
|  | PB-4 | P.85 | 559.5 | RT |  |  |  |  | 3 | [20 empty] | 1
|  |  | P.85 | 559.5 | RT | TO | 724.33 | RT | [9 empty] | 126 |  |  |  | 36 |  |  |  |  | 36 | 36
|  | PB-5 | P.85 | 724.33 | RT |  |  |  |  | 3 | [20 empty] | 1
|  | DRV RACK | P.85 | 724.33 | RT | TO | 724.33 | RT | [9 empty] | 54 |  |  | 6 | 6 |  |  |  |  | 6 | 6 | 1
| Total | TOTALS CARRIED TO SHEET P.82 | [6 empty] | 12 | 45 |  | 6 |  | 6 | 1984 | 3147 | 272 | 1665 | 5 | 1540 | 305 | 160 |  |  |  |  | 1646 | 1646 | 8 | 1 | 7 | 4 | 1 | 1
| Page # | SUBSUMMARY SHEET
|  | ITEM_CODE | [6 empty] | 625e00450 | 625e00480 | 625e17951 | 625e14101 | 625e26253 | 625e35011 | 625E23100 | 625E23000 | 625E23304 | 625E23306 | 625E25300 | 625E25304 | 625E25100 | 625E25102 | 625E25000 | 625E25012 | 625E25802 | 625E25920 | 625E29002 | 625E36010 | 625E32000 | 625E34001 | 625E30700 | 625E29901 | 625E70001 | 625E76000 | 632E89301
|  | ADDITIONAL_DESCRIPTION | [19 empty] | 1 |  |  | , 1 1/2" | 3/4" LIQUIDTIGHT FLEXIBLE CONDUIT, NON-METALLIC | [7 empty] | , LCC-A
| Split # | REF NO. | SHEET NO. | STATION TO STATION |  |  |  |  | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 632
[9 empty] | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PERMANENT | BRACKET ARM, 6', AS PER PLAN | LIGHT POLE FOUNDATION, 24" X 8' DEEP, AS PER PLAN | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN | REMOVE AND REERECT EXISTING LIGHT POLE, AS PER PLAN | NO. 2 AWG 600 VOLT DISTRIBUTION CABLE | NO. 4 AWG 600 VOLT DISTRIBUTION CABLE | NO. 8 AWG 600 VOLT DISTRIBUTION CABLE | NO. 10 AWG 600 VOLT DISTRIBUTION CABLE | CONDUIT, 1-1/2", 725.04 | CONDUIT, 1-1/2", 725.051 | CONDUIT, 1", 725.04 | CONDUIT, 1", 725.051 | CONDUIT, 3/4", 725.04 | CONDUIT, 3/4", 725.051 | CONDUIT, CONCRETE ENCASED, 1 1/2" | CONDUIT, MISC.: 3/4" LIQUIDTIGHT FLEXIBLE CONDUIT, NON-METALLIC | TRENCH, 24" DEEP | UNDERGROUND WARNING/MARKING TAPE | GROUND ROD | POWER SERVICE, AS PER PLAN | PULL BOX, 725.08, 18" | JUNCTION BOX, AS PER PLAN | LIGHTING CONTACTOR, AS PER PLAN | ARC FLASH CALCULATIONS AND LABEL, LCC-A | WOOD POLE, AS PER PLAN
[9 empty] | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | FT | EACH | EACH | EACH | EACH | EACH | EACH | EACH
DRV-1 CKT TO HL-1 THRU HL-12
|  | DRV-1 | P.84 | DRV-1 |  | TO | HL-12 | [10 empty] | 364 |  |  |  |  | 4 | 40 |  | 2 | 40 | 40
DRV-2 CKT TO HL-13 THRU HL-23
|  | DRV-2 | P.84 | DRV-2 |  | TO | HL-23 | [10 empty] | 310 |  |  |  |  | 4 | 34 |  | 2 | 34 | 34
DRV-3 CKT TO HL-25 THRU HL-36
|  | DRV-3 | P.84 | DRV-3 |  | TO | HL-23 | [10 empty] | 328 |  |  |  |  | 4 | 30 |  | 2 | 30 | 30
DRV-4 CKT TO HL-48, 50, 52, 54, 56, 58, 60, 62
64, 66, 68, 70, 72, 74
|  | DRV-4 | P.84 | DRV-4 |  | TO | JBB-2 | [10 empty] | 346 |  |  |  |  | 12
|  |  | P.84/P.85 | JBB-2 |  | TO | HL-74 | [15 empty] | 9 |  |  | 2
DRV-5 CKT TO HL-49, 51, 53, 54, 57, 56, 59, 61
63, 65, 67, 69, 71, 73, 75
|  | DRV-6 | P.84 | DRV-5 |  | TO | JBB-5 | [10 empty] | 360 |  |  |  |  | 12
|  |  | P.84/P.85 | JBB-5 |  | TO | HL-75 | [15 empty] | 9 |  |  | 2
DRV-6 CKT TO HL-24, 37 TO 47
|  | DRV-6 | P.84 | DRV-6 |  | TO | HL-47 | [10 empty] | 364 |  |  |  |  | 18 |  |  | 2
DRV-7 CKT TO HL-77 THRU HL-92
|  | DRV-7 | P.85 | DRV-7 |  | TO | HL-92 | [10 empty] | 390 |  |  |  |  | 18 |  |  | 2
DRV-8 CKT TO HL-76, 93 TO 109
|  | DRV-8 | P.85 | DRV-8 |  | TO | HL-109 | [10 empty] | 412 |  |  |  |  | 4 | 12 |  | 2 | 12 | 12
DRV-9 CKT TO HL-111 THRU HL-125
|  | DRV-9 | P.85 | DRV-9 |  | TO | HL-125 | [10 empty] | 356 |  |  |  |  | 4 | 12 |  | 2 | 12 | 12
DRV-10 CKT TO HL-110, 126 TO 141
|  | DRV-10 | P.85 | DRV-10 |  | TO | PB-6 | [10 empty] | 42 | [5 empty] | 15 |  |  | 15 | 15 |  |  |  | 1
|  |  |  | PB-6 |  | TO | HL-141 | [10 empty] | 410 |  |  |  |  | 4 | 17 |  | 2 | 17 | 17
CKT NO. 3
|  | LCC-A | P.84 | 1+75.15 | RT | [12 empty] | 15 |  |  | 5
|  |  | P.84 | 1+75.15 | RT | TO | 152 | LT | [9 empty] | 120 |  |  |  | 40 |  |  |  |  | 40 | 40
|  | POLE | P.84 | 152 | LT |  |  |  | 2 |  | 1 |  | 1 |  |  |  |  | 96 |  |  |  | 26 | [12 empty] | 1
SR 126 NORTH SIDE REINSTALL LIGHT POLES AND CKTS
|  | PB-10 | P.83 | 262+06.00, 55.0 | LT |  |  |  |  | 3 | [21 empty] | 1
|  |  | P.83 | 262+06.00, 55.0 | LT | TO | 262+12.77, 55.96 | LT | [7 empty] | 39 | [8 empty] | 7 |  | 7 | 7
|  | POLE | P.83 | 262+12.77, 55.96 | LT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 262+12.77, 55.96 | LT | TO | 264+44.27, 58.96 | LT | [7 empty] | 732 | [8 empty] | 238 |  | 238 | 238
|  | POLE | P.83 | 264+44.27, 58.96 | LT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 264+44.27, 58.96 | LT | TO | 265+46.20, 69.67 | LT | [7 empty] | 342 | [8 empty] | 108 |  | 108 | 108
|  | POLE | P.83 | 265+46.20, 69.67 | LT |  |  |  | 2 |  |  | 1 |  | 1 | [14 empty] | 1
|  |  | P.83 | 265+46.20, 69.67 | LT | TO | 265+54.00, 69.67 | LT | [7 empty] | 39 | [8 empty] | 7 |  | 7 | 7
|  | PB-11 | P.83 | 265+54.00, 69.67 | LT |  |  |  |  | 3 | [21 empty] | 1
SR 126 SOUTH SIDE REINSTALL LIGHT POLES AND CKTS
|  | EX. LCC | P.83 | 259+51.00, 53.0 | RT
|  |  | P.83 | 259+51.00, 53.0 | RT | TO | 259+96.95, 45.20 | RT | [7 empty] | 108 | [8 empty] | 30 |  | 30 | 30
|  | POLE | P.83 | 259+96.95, 45.20 | RT |  |  |  |  | 2 |  | 1 |  | 1 | [17 empty] | 1
|  |  | P.83 | 259+96.95, 45.20 | RT | TO | 262+00.00, 44.88 | RT | [7 empty] | 645 | [8 empty] | 209 |  | 209 | 209
|  |  | P.83 | 262+00.00, 44.88 | RT |  |  |  |  | 2 |  | 1 |  | 1 | [17 empty] | 1
|  |  | P.83 | 262+00.00, 44.88 | RT | TO | 264+65.35, 56.95 | RT | [7 empty] | 813 | [8 empty] | 265 |  | 265 | 265
|  |  | P.83 | 264+65.35, 56.95 | RT |  |  |  |  | 2 |  | 1 |  | 1 | [17 empty] | 1
|  |  | P.83 | 264+65.35, 56.95 | RT | TO | 266+65.33, 59.0 | RT | [7 empty] | 543 | [8 empty] | 175 |  | 175 | 175
|  |  | P.83 | 266+65.33, 59.0 | RT |  |  |  |  | 2
|  | SUBSUMMARY | [6 empty] | 8 | 14 | 1 | 6 | 1 | 6 | 0 | 3261 | 0 | 3913 | 0 | 0 | 5 | 66 | 102 | 160 | 1039 | 20 | 1239 | 1239 | 3 | 0 | 0 | 6 | 0 | 0 | 1
|  | TOTALS FROM SHEET P.81 | [6 empty] | 12 | 45 |  | 6 |  | 6 | 1984 | 3147 | 272 | 1665 | 5 | 1540 | 305 | 160 |  |  |  |  | 1646 | 1646 | 8 | 1 | 7 | 4 | 1 | 1
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 20 | 59 | 1 | 12 | 1 | 12 | 1984 | 6408 | 272 | 5578 | 5 | 1540 | 310 | 226 | 102 | 160 | 1039 | 20 | 2885 | 2885 | 11 | 1 | 7 | 10 | 1 | 1 | 1
| Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY
| Page # | SUBSUMMARY SHEET
ITEM_CODE
ADDITIONAL_DESCRIPTION
| Split # | REF NO. | SHEET NO. | STATION TO STATION
TO
| Total | TOTALS CARRIED TO GENERAL SUMMARY

## Sheet1
625e00450
625e00480
625e10491
625e14100
625E23000
625E23100
625E23304
625E23306
625E25000
625E25012
625E25100
625E25102
625E25300
625E25304
625E25920
625e26253
625E29002
625E29901
625E30700
625E32000
625E33000
625E34001
625e35011
625E36010
625E70001
625E98200