## Wall-1 RA
[9 empty] | Made by: | AI | Date: | 2025-01-09 | Job No: | 20230339
[9 empty] | Checked by: | TDA | Date: | 2025-01-20 | Sheet No: | 1
[9 empty] | Project: | Bridge ST St_Bowerston |  | PID: | 120494
[9 empty] | Subject: | Temporary Shoring 2 at Rear Abutment
Temporary Shoring 2 at Rear Abutment
Boring Data
Soil Properties Based off of Borring B-002-0-24 | [15 empty] | Layer | Top | Bottom | Depth | Φ | gamma | ka1 | ka2 | Cohesive Strength | E50 | K (py) | typ
[16 empty] | 1 | 943.7 | 940.2 | 3.5 | 24 | 124 | 0.42173 | 0.42173 | 750 | 0.015 | 80 | Stiff Clay W/O Free Water (Reese)
|  |  | Top of Wall Elevation = | 943.33 | ft | [10 empty] | 2 | 940.2 | 935.2 | 8.5 | - | 124 | #VALUE! | #VALUE! | 750 | 0.015 | 80 | Stiff Clay W/O Free Water (Reese)
|  |  | Bottom of Wall Elevation = | 931.28 | ft | [10 empty] | 3 | 935.2 | 932.2 | 11.5 | - | 122 | #VALUE! | #VALUE! | 250 | 0.03 | 15 | Stiff Clay W/O Free Water (Reese)
|  |  | Water Table Elevation = | 935.2 | [11 empty] | 4 | 932.2 | 929.2 | 14.5 | 28 | 110 | 0.36103 | 0.36103 | - | - | 20 | Sand (Reese)
|  |  | H (design)= | 9.64 | ft | [10 empty] | 5 | 929.2 | 924.7 | 19 | 28 | 110 | 0.36103 | 0.36103 | - | - | 20 | Sand (Reese)
|  |  | Su = | 0 | psf | (Conservative) | [9 empty] | 6 | 924.7 | 920.2 | 23.5 | - | 124 | #VALUE! | #VALUE! | 750 | 0.015 | 80 | Stiff Clay With Free Water (Reese)
|  |  | Gamma = | 125 | pcf | [10 empty] | 7 | 920.2 | 910.2 | 33.5 | - | 126 | #VALUE! | #VALUE! | 1500 | 0.01 | 350 | Stiff Clay With Free Water (Reese)
|  |  | Backslope Angle = | 0 | [11 empty] | 8 | 910.2 | 893.7 | 50 | - | 131 | #VALUE! | #VALUE! | 4500 | 0.004 | 1500 | Stiff Clay With Free Water (Reese)
|  |  | Piling Spacing S = | 0 | ft
|  |  | ka1 = | 0.42173
|  |  | ka2 = | 0.42173
|  |  | Water Density = | 62.4 | pcf
|  |  | Surcharge Load Equivalent Height = | 2
|  |  | p multiplier inputted into L-Pile | #REF! | BDM 305.1.2
AASHTO LRFD Load Factors
Reference Tbl. 3.4.1-1 & 3.4.1-2
Limit State |  | EH | LL | WA
Service I |  | 1 | 1 | 1
Strength I |  | 1.5 | 1.75 | 1
Load Pressure Calculations | [14 empty] | y | x
Limit State |  | Depth Below Head (ft) | EH | LL | WA | [9 empty] | 0 | 0
Top of Wall |  | 0 | 0 | 105.4326 | 0 | psf | [8 empty] | 0 | 105.4326
Water Table |  | 8.13 | 428.5833 | 105.4326 | 0 | psf | [8 empty] | 9.64 | 668.1044
Bottom of Wall |  | 9.64 | 468.4478 | 105.4326 | 94.224 | psf | [8 empty] | 9.64 | 0
PYWALL Unfiromly Distributed Load (LL Surcharge) Inputs
Location |  | Service I Min (lbs/in) | Strength I Max (lbs/in)
Top of Wall |  | 250 | 291.6667 | Note: Pywall uses a active earth modification factor, for service case it is 1 but for strength case it is 1.5 and it multiplies surcharge load by 1.5 by default so to get around this in strength case surchage load needs to be multiplied by 1.75/1.5.
Bottom of Wall |  | 250 | 291.6667
SOIL LAYER SETUP FOR PYWALL
No |  | Type |  | Depth at Top of the Layer | Depth at Bottom of Layer | Friction angle Φ | Unit Weight | Cohesive Strength | E50 | K (py) (pci) | Pressure coefficient
1 |  | Stiff Clay W/O Free Water (Reese) |  | -0.37 | 3.13 | 24 | 124 | 750 | 0.015 | 80 | 0.42173 | 0.42173
2 |  | Stiff Clay W/O Free Water (Reese) |  | 3.13 | 8.13 | - | 124 | 750 | 0.015 | 80 | 0.42173 | 0.42173
3 |  | Stiff Clay W/O Free Water (Reese) |  | 8.13 | 9.64 | - | 122 | 250 | 0.03 | 15 | 0.42173 | 0.42173
4 |  | Stiff Clay W/O Free Water (Reese) |  | 9.64 | 11.13 | - | 122 | 250 | 0.03 | 15 | 0.0001 | 0.0001
5 |  | Sand (Reese) |  | 11.13 | 14.13 | 28 | 110 | - | - | 20 | 0.0001 | 0.0001
6 |  | Sand (Reese) |  | 14.13 | 18.63 | 28 | 110 | - | - | 20 | 0.0001 | 0.0001
7 |  | Stiff Clay With Free Water (Reese) |  | 18.63 | 23.13 | - | 124 | 750 | 0.015 | 80 | 0.0001 | 0.0001 | all load effects are zero below excavation line.
8 |  | Stiff Clay With Free Water (Reese) |  | 23.13 | 33.13 | - | 126 | 1500 | 0.01 | 350 | 0.001 | 0.0001
9 |  | Stiff Clay With Free Water (Reese) |  | 33.13 | 49.63 | - | 131 | 4500 | 0.004 | 1500 | 0.001 | 0.0001
PYWALL results
SHEET PILE
[5 empty] | SECTION = | PZ 35
[5 empty] | Depth = | 32 | ft
[5 empty] | Service Level Deflection = | 1.191 | in | < OK | 1.1568 | in within 3% so OK
[5 empty] | Strength Level Deflection = | 2.276 | in | < OK | 2.3136 | in
[5 empty] | Max Strength I Moment Above Excavation Line = | 37.3333 | kip-ft | < OK | 181.875 | k-ft
[5 empty] | Max Strength I Moment Below Excavation Line = | 93.75 | kip-ft | < OK | 181.875 | k-ft
[5 empty] | Max Strength I Shear = | 10.47 | kips | < OK | 137.417 | kips (LRFD Section 6.10.9.2)
STA I | X | DEFL. | SLOPE | MOMENT | SHEAR | SOIL_REACT | NET_FORCE/STA | EI |  |  | Depth (ft) | Deflection (in) | Moment (in-lbs) | Shear ( lbs) |  | Max Moment above |  |  | Max Shear
| FT | IN | RAD | LBS-IN | LBS | LBS/IN | LBS | LBS-IN**2 |  |  | 0 | 2.276 | 0 | 0 |  | 448000 | lb-in |  | 10470 |  | lbs
------ | ---- | ---- | ----- | ------ | ------ | --------- | --------- | --------- |  |  | 0.32 | 2.235 | 0 | 63.28
0 | 0 | 2.276 | -0.01057 | 0 | 0 | 0 | 0 | 19760000000 |  |  | 0.64 | 2.195 | 486 | 197.4
1 | 0.32 | 2.235 | -0.01057 | 0 | 63.28 | 0 | 126.6 | 19760000000 |  |  | 0.96 | 2.154 | 1516 | 346.7 |  | Max Moment below
2 | 0.64 | 2.195 | -0.01057 | 486 | 197.4 | 0 | 141.7 | 19760000000 |  |  | 1.28 | 2.113 | 3148 | 511.1 |  | 1125000 | kip-in |  | 1.0296
3 | 0.96 | 2.154 | -0.01057 | 1516 | 346.7 | 0 | 156.9 | 19760000000 |  |  | 1.6 | 2.073 | 5441 | 690.7
4 | 1.28 | 2.113 | -0.01057 | 3148 | 511.1 | 0 | 172 | 19760000000 |  |  | 1.92 | 2.032 | 8453 | 885.4
5 | 1.6 | 2.073 | -0.01057 | 5441 | 690.7 | 0 | 187.2 | 19760000000 |  |  | 2.24 | 1.992 | 12240 | 1095
6 | 1.92 | 2.032 | -0.01057 | 8453 | 885.4 | 0 | 202.3 | 19760000000 |  |  | 2.56 | 1.951 | 16870 | 1320
7 | 2.24 | 1.992 | -0.01057 | 12240 | 1095 | 0 | 217.5 | 19760000000 |  |  | 2.88 | 1.91 | 22380 | 1561
8 | 2.56 | 1.951 | -0.01057 | 16870 | 1320 | 0 | 232.6 | 19760000000 |  |  | 3.2 | 1.87 | 28850 | 1816
9 | 2.88 | 1.91 | -0.01056 | 22380 | 1561 | 0 | 247.8 | 19760000000 |  |  | 3.52 | 1.829 | 36330 | 2086
10 | 3.2 | 1.87 | -0.01056 | 28850 | 1816 | 0 | 262.9 | 19760000000 |  |  | 3.84 | 1.789 | 44870 | 2372
11 | 3.52 | 1.829 | -0.01055 | 36330 | 2086 | 0 | 278.1 | 19760000000 |  |  | 4.16 | 1.748 | 54550 | 2673
12 | 3.84 | 1.789 | -0.01054 | 44870 | 2372 | 0 | 293.3 | 19760000000 |  |  | 4.48 | 1.708 | 65400 | 2989
13 | 4.16 | 1.748 | -0.01053 | 54550 | 2673 | 0 | 308.4 | 19760000000 |  |  | 4.8 | 1.668 | 77500 | 3320
14 | 4.48 | 1.708 | -0.01052 | 65400 | 2989 | 0 | 323.6 | 19760000000 |  |  | 5.12 | 1.627 | 90900 | 3666
15 | 4.8 | 1.668 | -0.01051 | 77500 | 3320 | 0 | 338.7 | 19760000000 |  |  | 5.44 | 1.587 | 105700 | 4028
16 | 5.12 | 1.627 | -0.01049 | 90900 | 3666 | 0 | 353.9 | 19760000000 |  |  | 5.76 | 1.547 | 121800 | 4404
17 | 5.44 | 1.587 | -0.01047 | 105700 | 4028 | 0 | 369 | 19760000000 |  |  | 6.08 | 1.507 | 139500 | 4796
18 | 5.76 | 1.547 | -0.01045 | 121800 | 4404 | 0 | 384.2 | 19760000000 |  |  | 6.4 | 1.467 | 158700 | 5203
19 | 6.08 | 1.507 | -0.01043 | 139500 | 4796 | 0 | 399.3 | 19760000000 |  |  | 6.72 | 1.427 | 179400 | 5625
20 | 6.4 | 1.467 | -0.0104 | 158700 | 5203 | 0 | 414.5 | 19760000000 |  |  | 7.04 | 1.387 | 201900 | 6062
21 | 6.72 | 1.427 | -0.01036 | 179400 | 5625 | 0 | 429.6 | 19760000000 |  |  | 7.36 | 1.348 | 226000 | 6515
22 | 7.04 | 1.387 | -0.01033 | 201900 | 6062 | 0 | 444.8 | 19760000000 |  |  | 7.68 | 1.308 | 251900 | 6982
23 | 7.36 | 1.348 | -0.01029 | 226000 | 6515 | 0 | 460 | 19760000000 |  |  | 8 | 1.269 | 279600 | 7465
24 | 7.68 | 1.308 | -0.01024 | 251900 | 6982 | 0 | 475.1 | 19760000000 |  |  | 8.32 | 1.23 | 309200 | 7963
25 | 8 | 1.269 | -0.01019 | 279600 | 7465 | 0 | 490.3 | 19760000000 |  |  | 8.64 | 1.191 | 340800 | 8479
26 | 8.32 | 1.23 | -0.01013 | 309200 | 7963 | 0 | 505.4 | 19760000000 |  |  | 8.96 | 1.153 | 374400 | 9019
27 | 8.64 | 1.191 | -0.01007 | 340800 | 8479 | 0 | 527.4 | 19760000000 |  |  | 9.28 | 1.114 | 410100 | 9584
28 | 8.96 | 1.153 | -0.009997 | 374400 | 9019 | 0 | 553 | 19760000000 |  |  | 9.6 | 1.076 | 448000 | 10160
29 | 9.28 | 1.114 | -0.009921 | 410100 | 9584 | 0 | 576.8 | 19760000000 |  |  | 9.92 | 1.039 | 488100 | 10460
30 | 9.6 | 1.076 | -0.009838 | 448000 | 10160 | -0.8075 | 581.9 | 19760000000 |  |  | 10.24 | 1.002 | 528300 | 10440
31 | 9.92 | 1.039 | -0.009747 | 488100 | 10460 | -11.77 | 1.579 | 19760000000 |  |  | 10.56 | 0.9647 | 568300 | 10410
32 | 10.24 | 1.002 | -0.009648 | 528300 | 10440 | -18.63 | -24.77 | 19760000000 |  |  | 10.88 | 0.9283 | 608200 | 10370
33 | 10.56 | 0.9647 | -0.009542 | 568300 | 10410 | -22.43 | -39.37 | 19760000000 |  |  | 11.2 | 0.8923 | 647900 | 10300
34 | 10.88 | 0.9283 | -0.009427 | 608200 | 10370 | -26.25 | -54.02 | 19760000000 |  |  | 11.52 | 0.8568 | 687300 | 10180
35 | 11.2 | 0.8923 | -0.009305 | 647900 | 10300 | -33.36 | -81.33 | 19760000000 |  |  | 11.84 | 0.8218 | 726100 | 9997
36 | 11.52 | 0.8568 | -0.009176 | 687300 | 10180 | -51.33 | -150.3 | 19760000000 |  |  | 12.16 | 0.7874 | 764100 | 9745
37 | 11.84 | 0.8218 | -0.009038 | 726100 | 9997 | -69.11 | -218.6 | 19760000000 |  |  | 12.48 | 0.7535 | 801000 | 9426
38 | 12.16 | 0.7874 | -0.008894 | 764100 | 9745 | -86.57 | -285.7 | 19760000000 |  |  | 12.8 | 0.7202 | 836500 | 9042
39 | 12.48 | 0.7535 | -0.008742 | 801000 | 9426 | -103.7 | -351.5 | 19760000000 |  |  | 13.12 | 0.6876 | 870400 | 8614
40 | 12.8 | 0.7202 | -0.008582 | 836500 | 9042 | -120.6 | -416.3 | 19760000000 |  |  | 13.44 | 0.6556 | 902600 | 8161
41 | 13.12 | 0.6876 | -0.008417 | 870400 | 8614 | -127 | -440.8 | 19760000000 |  |  | 13.76 | 0.6243 | 933100 | 7683
42 | 13.44 | 0.6556 | -0.008244 | 902600 | 8161 | -133.3 | -465.2 | 19760000000 |  |  | 14.08 | 0.5937 | 961600 | 7181
43 | 13.76 | 0.6243 | -0.008066 | 933100 | 7683 | -139.7 | -489.7 | 19760000000 |  |  | 14.4 | 0.5637 | 988200 | 6655
44 | 14.08 | 0.5937 | -0.007882 | 961600 | 7181 | -146.1 | -514.1 | 19760000000 |  |  | 14.72 | 0.5346 | 1013000 | 6104
45 | 14.4 | 0.5637 | -0.007693 | 988200 | 6655 | -152.4 | -538.6 | 19760000000 |  |  | 15.04 | 0.5062 | 1035000 | 5524
46 | 14.72 | 0.5346 | -0.007498 | 1013000 | 6104 | -158.8 | -563 | 19760000000 |  |  | 15.36 | 0.4785 | 1055000 | 4910
47 | 15.04 | 0.5062 | -0.007299 | 1035000 | 5524 | -167.7 | -597.3 | 19760000000 |  |  | 15.68 | 0.4517 | 1073000 | 4261
48 | 15.36 | 0.4785 | -0.007096 | 1055000 | 4910 | -176.7 | -631.6 | 19760000000 |  |  | 16 | 0.4256 | 1088000 | 3593
49 | 15.68 | 0.4517 | -0.006889 | 1073000 | 4261 | -185.6 | -665.9 | 19760000000 |  |  | 16.32 | 0.4004 | 1100000 | 2925
50 | 16 | 0.4256 | -0.006679 | 1088000 | 3593 | -186.3 | -668.7 | 19760000000 |  |  | 16.64 | 0.3759 | 1110000 | 2259
51 | 16.32 | 0.4004 | -0.006467 | 1100000 | 2925 | -186 | -667.5 | 19760000000 |  |  | 16.96 | 0.3523 | 1118000 | 1597
52 | 16.64 | 0.3759 | -0.006252 | 1110000 | 2259 | -185.2 | -664.4 | 19760000000 |  |  | 17.28 | 0.3296 | 1123000 | 941
53 | 16.96 | 0.3523 | -0.006036 | 1118000 | 1597 | -183.9 | -659.6 | 19760000000 |  |  | 17.6 | 0.3077 | 1125000 | 291.4
54 | 17.28 | 0.3296 | -0.005818 | 1123000 | 941 | -182.3 | -653.3 | 19760000000 |  |  | 17.92 | 0.2866 | 1125000 | -349.9
55 | 17.6 | 0.3077 | -0.0056 | 1125000 | 291.4 | -180.3 | -645.7 | 19760000000 |  |  | 18.24 | 0.2663 | 1122000 | -981.8
56 | 17.92 | 0.2866 | -0.005381 | 1125000 | -349.9 | -178 | -636.9 | 19760000000 |  |  | 18.56 | 0.2469 | 1117000 | -1603
57 | 18.24 | 0.2663 | -0.005163 | 1122000 | -981.8 | -175.4 | -626.9 | 19760000000 |  |  | 18.88 | 0.2284 | 1110000 | -2200
58 | 18.56 | 0.2469 | -0.004945 | 1117000 | -1603 | -172.6 | -615.9 | 19760000000 |  |  | 19.2 | 0.2106 | 1100000 | -2763
59 | 18.88 | 0.2284 | -0.004729 | 1110000 | -2200 | -162.5 | -577.3 | 19760000000 |  |  | 19.52 | 0.1937 | 1089000 | -3302
60 | 19.2 | 0.2106 | -0.004514 | 1100000 | -2763 | -155.3 | -549.4 | 19760000000 |  |  | 19.84 | 0.1776 | 1075000 | -3825
61 | 19.52 | 0.1937 | -0.004301 | 1089000 | -3302 | -150 | -528.9 | 19760000000 |  |  | 20.16 | 0.1623 | 1059000 | -4337
62 | 19.84 | 0.1776 | -0.004091 | 1075000 | -3825 | -146.7 | -516.4 | 19760000000 |  |  | 20.48 | 0.1477 | 1042000 | -4838
63 | 20.16 | 0.1623 | -0.003884 | 1059000 | -4337 | -144.6 | -508.4 | 19760000000 |  |  | 20.8 | 0.134 | 1022000 | -5324
64 | 20.48 | 0.1477 | -0.00368 | 1042000 | -4838 | -140.7 | -493.4 | 19760000000 |  |  | 21.12 | 0.121 | 1001000 | -5796
65 | 20.8 | 0.134 | -0.003479 | 1022000 | -5324 | -137 | -479.1 | 19760000000 |  |  | 21.44 | 0.1088 | 977700 | -6253
66 | 21.12 | 0.121 | -0.003283 | 1001000 | -5796 | -133 | -464 | 19760000000 |  |  | 21.76 | 0.09729 | 952800 | -6689
67 | 21.44 | 0.1088 | -0.00309 | 977700 | -6253 | -129.3 | -449.7 | 19760000000 |  |  | 22.08 | 0.0865 | 926300 | -7100
68 | 21.76 | 0.09729 | -0.002903 | 952800 | -6689 | -122.5 | -423.5 | 19760000000 |  |  | 22.4 | 0.0764 | 898300 | -7486
69 | 22.08 | 0.0865 | -0.00272 | 926300 | -7100 | -115.8 | -397.9 | 19760000000 |  |  | 22.72 | 0.06697 | 868900 | -7850
70 | 22.4 | 0.0764 | -0.002543 | 898300 | -7486 | -109.8 | -374.7 | 19760000000 |  |  | 23.04 | 0.05819 | 838000 | -8193
71 | 22.72 | 0.06697 | -0.002371 | 868900 | -7850 | -104.1 | -352.9 | 19760000000 |  |  | 23.36 | 0.05003 | 805900 | -8531
72 | 23.04 | 0.05819 | -0.002206 | 838000 | -8193 | -98.75 | -332.3 | 19760000000 |  |  | 23.68 | 0.04248 | 772500 | -8874
73 | 23.36 | 0.05003 | -0.002046 | 805900 | -8531 | -101.8 | -344 | 19760000000 |  |  | 24 | 0.0355 | 737800 | -9215
74 | 23.68 | 0.04248 | -0.001892 | 772500 | -8874 | -101.3 | -342 | 19760000000 |  |  | 24.32 | 0.02907 | 701700 | -9541
75 | 24 | 0.0355 | -0.001746 | 737800 | -9215 | -101 | -340.9 | 19760000000 |  |  | 24.64 | 0.02317 | 664500 | -9831
76 | 24.32 | 0.02907 | -0.001606 | 701700 | -9541 | -93.1 | -310.6 | 19760000000 |  |  | 24.96 | 0.01776 | 626200 | -10080
77 | 24.64 | 0.02317 | -0.001473 | 664500 | -9831 | -82.48 | -269.8 | 19760000000 |  |  | 25.28 | 0.01282 | 587100 | -10270
78 | 24.96 | 0.01776 | -0.001348 | 626200 | -10080 | -69.57 | -220.3 | 19760000000 |  |  | 25.6 | 0.008312 | 547400 | -10400
79 | 25.28 | 0.01282 | -0.00123 | 587100 | -10270 | -54.8 | -163.5 | 19760000000 |  |  | 25.92 | 0.004216 | 507200 | -10470
80 | 25.6 | 0.008312 | -0.00112 | 547400 | -10400 | -38.51 | -101 | 19760000000 |  |  | 26.24 | 0.0004994 | 467000 | -10460
81 | 25.92 | 0.004216 | -0.001017 | 507200 | -10470 | -19.65 | -28.56 | 19760000000 |  |  | 26.56 | -0.002869 | 426900 | -10380
82 | 26.24 | 0.0004994 | -0.0009226 | 467000 | -10460 | -2.34 | 37.9 | 19760000000 |  |  | 26.88 | -0.005919 | 387300 | -10230
83 | 26.56 | -0.002869 | -0.0008358 | 426900 | -10380 | 18.36 | 117.4 | 19760000000 |  |  | 27.2 | -0.00868 | 348400 | -10000
84 | 26.88 | -0.005919 | -0.0007567 | 387300 | -10230 | 38.04 | 193 | 19760000000 |  |  | 27.52 | -0.01118 | 310500 | -9707
85 | 27.2 | -0.00868 | -0.0006852 | 348400 | -10000 | 56.02 | 262 | 19760000000 |  |  | 27.84 | -0.01345 | 273800 | -9353
86 | 27.52 | -0.01118 | -0.0006212 | 310500 | -9707 | 72.45 | 325.1 | 19760000000 |  |  | 28.16 | -0.01552 | 238600 | -8943
87 | 27.84 | -0.01345 | -0.0005644 | 273800 | -9353 | 87.51 | 382.9 | 19760000000 |  |  | 28.48 | -0.0174 | 205100 | -8483
88 | 28.16 | -0.01552 | -0.0005147 | 238600 | -8943 | 101.3 | 435.9 | 19760000000 |  |  | 28.8 | -0.01914 | 173500 | -7976
89 | 28.48 | -0.0174 | -0.0004715 | 205100 | -8483 | 114 | 484.7 | 19760000000 |  |  | 29.12 | -0.02074 | 143900 | -7425
90 | 28.8 | -0.01914 | -0.0004348 | 173500 | -7976 | 125.8 | 530 | 19760000000 |  |  | 29.44 | -0.02224 | 116500 | -6832
91 | 29.12 | -0.02074 | -0.0004039 | 143900 | -7425 | 136.8 | 572.4 | 19760000000 |  |  | 29.76 | -0.02365 | 91390 | -6201
92 | 29.44 | -0.02224 | -0.0003786 | 116500 | -6832 | 147.2 | 612.3 | 19760000000 |  |  | 30.08 | -0.02499 | 68830 | -5533
93 | 29.76 | -0.02365 | -0.0003585 | 91390 | -6201 | 157.1 | 650.2 | 19760000000 |  |  | 30.4 | -0.02628 | 48900 | -4660
94 | 30.08 | -0.02499 | -0.0003429 | 68830 | -5533 | 166.6 | 686.6 | 19760000000 |  |  | 30.72 | -0.02754 | 33040 | -3751
95 | 30.4 | -0.02628 | -0.0003315 | 48900 | -4660 | 263.7 | 1060 | 19760000000 |  |  | 31.04 | -0.02877 | 20090 | -2977
96 | 30.72 | -0.02754 | -0.0003235 | 33040 | -3751 | 184.9 | 757 | 19760000000 |  |  | 31.36 | -0.02998 | 10180 | -2168
97 | 31.04 | -0.02877 | -0.0003183 | 20090 | -2977 | 193.9 | 791.5 | 19760000000 |  |  | 31.68 | -0.03119 | 3437 | -1325
98 | 31.36 | -0.02998 | -0.0003154 | 10180 | -2168 | 202.9 | 825.9 | 19760000000 |  |  | 32 | -0.0324 | 0 | -447.5
99 | 31.68 | -0.03119 | -0.0003141 | 3437 | -1325 | 211.8 | 860.4 | 19760000000
100 | 32 | -0.0324 | -0.0003137 | 0 | -447.5 | 220.9 | 895 | 19760000000
Note on E18: tadams: Enter these into the soil properties in PYWall
Note on A66: aibrahimkhail: results from Pywall

## Wall-2 SW WW
[9 empty] | Made by: | AI | Date: | 2025-01-09 | Job No: | 20230339
[9 empty] | Checked by: | TDA | Date: | 2025-01-20 | Sheet No: | 1
[9 empty] | Project: | Bridge ST St_Bowerston |  | PID: | 120494
[9 empty] | Subject: | Temporary Shoring 2 at Southwest Wingwall
Temporary Shoring 2 at Southwest Wingwall
Boring Data
Soil Properties Based off of Borring B-002-0-24 | [15 empty] | Layer | Top | Bottom | Depth | Φ | gamma | ka1 | ka2 | Cohesive Strength | E50 | K (py) | typ
[16 empty] | 1 | 943.7 | 940.2 | 3.5 | 24 | 124 | 0.42173 | 0.42173 | 750 | 0.015 | 80 | Stiff Clay W/O Free Water (Reese)
|  |  | Top of Wall Elevation = | 942 | ft | [10 empty] | 2 | 940.2 | 935.2 | 8.5 | - | 124 | #VALUE! | #VALUE! | 750 | 0.015 | 80 | Stiff Clay W/O Free Water (Reese)
|  |  | Bottom of Wall Elevation = | 931.28 | ft | 6.8 | [9 empty] | 3 | 935.2 | 932.2 | 11.5 | - | 122 | #VALUE! | #VALUE! | 250 | 0.03 | 15 | Stiff Clay W/O Free Water (Reese)
|  |  | Water Table Elevation = | 935.2 | [11 empty] | 4 | 932.2 | 929.2 | 14.5 | 28 | 110 | 0.36103 | 0.36103 | - | - | 20 | Sand (Reese)
|  |  | H (design)= | 10.72 | ft | [10 empty] | 5 | 929.2 | 924.7 | 19 | 28 | 110 | 0.36103 | 0.36103 | - | - | 20 | Sand (Reese)
|  |  | Su = | 0 | psf | (Conservative) | [9 empty] | 6 | 924.7 | 920.2 | 23.5 | - | 124 | #VALUE! | #VALUE! | 750 | 0.015 | 80 | Stiff Clay With Free Water (Reese)
|  |  | Gamma = | 125 | pcf | [10 empty] | 7 | 920.2 | 910.2 | 33.5 | - | 126 | #VALUE! | #VALUE! | 1500 | 0.01 | 350 | Stiff Clay With Free Water (Reese)
|  |  | Backslope Angle = | 0 | [11 empty] | 8 | 910.2 | 893.7 | 50 | - | 131 | #VALUE! | #VALUE! | 4500 | 0.004 | 1500 | Stiff Clay With Free Water (Reese)
|  |  | Piling Spacing S = | 0 | ft
|  |  | ka1 = | 0.42173
|  |  | ka2 = | 0.42173
|  |  | Water Density = | 62.4 | pcf
|  |  | Surcharge Load Equivalent Height = | 0
|  |  | p multiplier inputted into L-Pile | #REF! | BDM 305.1.2
AASHTO LRFD Load Factors
Reference Tbl. 3.4.1-1 & 3.4.1-2
Limit State |  | EH | LL | WA
Service I |  | 1 | 1 | 1
Strength I |  | 1.5 | 1.75 | 1
Load Pressure Calculations | [14 empty] | y | x
Limit State |  | Depth Below Head (ft) | EH | LL | WA | [9 empty] | 0 | 0 | 942
Top of Wall |  | 0 | 0 | 0 | 0 | psf | [8 empty] | 0 | 0 | 942
Water Table |  | 6.8 | 358.4707 | 0 | 0 | psf | [8 empty] | 10.72 | 706.5679 | 952.72
Bottom of Wall |  | 10.72 | 461.9599 | 0 | 244.608 | psf | [8 empty] | 10.72 | 0 | 952.72
PYWALL Unfiromly Distributed Load (LL Surcharge) Inputs
Location |  | Service I Min (lbs/in) | Strength I Max (lbs/in)
Top of Wall |  | 0 | 0 | Note: Pywall uses a active earth modification factor, for service case it is 1 but for strength case it is 1.5 and it multiplies surcharge load by 1.5 by default so to get around this in strength case surchage load needs to be multiplied by 1.75/1.5.
Bottom of Wall |  | 0 | 0
SOIL LAYER SETUP FOR PYWALL
No |  | Type |  | Depth at Top of the Layer | Depth at Bottom of Layer | Friction angle Φ | Unit Weight | Cohesive Strength | E50 | K (py) (pci) | Pressure coefficient
1 |  | Stiff Clay W/O Free Water (Reese) |  | -1.7 | 1.8 | 24 | 124 | 750 | 0.015 | 80 | 0.42173 | 0.42173
2 |  | Stiff Clay W/O Free Water (Reese) |  | 1.8 | 6.8 | - | 124 | 750 | 0.015 | 80 | 0.42173 | 0.42173
3 |  | Stiff Clay W/O Free Water (Reese) |  | 6.8 | 9.8 | - | 122 | 250 | 0.03 | 15 | 0.42173 | 0.42173
3 |  | Sand (Reese) |  | 9.8 | 10.72 | 28 | 110 | - | - | 20 | 0.42173 | 0.42173
3 |  | Sand (Reese) |  | 10.72 | 12.8 | 28 | 110 | - | - | 20 | 0.0001 | 0.0001
4 |  | Sand (Reese) |  | 12.8 | 17.3 | 28 | 110 | - | - | 20 | 0.0001 | 0.0001
4 |  | Stiff Clay With Free Water (Reese) |  | 17.3 | 21.8 | - | 124 | 750 | 0.015 | 80 | 0.0001 | 0.0001
5 |  | Stiff Clay With Free Water (Reese) |  | 21.8 | 31.8 | - | 126 | 1500 | 0.01 | 350 | 0.0001 | 0.0001
6 |  | Stiff Clay With Free Water (Reese) |  | 31.8 | 48.3 | - | 131 | 4500 | 0.004 | 1500 | 0.0001 | 0.0001
7 | [12 empty] | all load effects are zero below excavation line.
PYWALL results
SHEET PILE
[5 empty] | SECTION = | PZ 35
[5 empty] | Depth = | 36 | ft
[5 empty] | Service Level Deflection = | 1.304 | in | < OK | 1.2864 | " Ok within 1.3%
[5 empty] | Strength Level Deflection = | 2.56 | in | < OK | 2.5728 | "
[5 empty] | Max Strength I Moment Above Excavation Line = | 31.95 | kip-ft | < OK | 227.625 | k-ft
[5 empty] | Max Strength I Moment Below Excavation Line = | 91.25 | kip-ft | < OK | 227.625 | k-ft
[5 empty] | Max Strength I Shear = | 10.31 | kips | < OK | 170.7303 | kips (LRFD Section 6.10.9.2)
STA I | X | DEFL. | SLOPE | MOMENT | SHEAR | SOIL_REACT | NET_FORCE/STA | EI |  |  | Depth (ft) | Deflection (in) | Moment (in-lbs) | Shear ( lbs) |  | Max Moment above |  |  | Max Shear
| FT | IN | RAD | LBS-IN | LBS | LBS/IN | LBS | LBS-IN**2 |  |  | 0 | 2.56 | 0 | 0 |  | 383400 | lb-in |  | 10310 |  | lbs
------ | ---- | ---- | ----- | ------ | ------ | --------- | --------- | --------- |  |  | 0.36 | 2.514 | 0 | 9.59
0 | 0 | 2.56 | -0.01068 | 0 | 0 | 0 | 0 | 19760000000 |  |  | 0.72 | 2.468 | 82.86 | 38.36
1 | 0.36 | 2.514 | -0.01068 | 0 | 9.59 | 0 | 19.18 | 19760000000 |  |  | 1.08 | 2.422 | 331.4 | 86.31 |  | Max Moment below
2 | 0.72 | 2.468 | -0.01068 | 82.86 | 38.36 | 0 | 38.36 | 19760000000 |  |  | 1.44 | 2.376 | 828.6 | 153.4 |  | 1095000 | kip-in
3 | 1.08 | 2.422 | -0.01068 | 331.4 | 86.31 | 0 | 57.54 | 19760000000 |  |  | 1.8 | 2.33 | 1657 | 239.8
4 | 1.44 | 2.376 | -0.01068 | 828.6 | 153.4 | 0 | 76.72 | 19760000000 |  |  | 2.16 | 2.284 | 2900 | 345.2
5 | 1.8 | 2.33 | -0.01068 | 1657 | 239.8 | 0 | 95.9 | 19760000000 |  |  | 2.52 | 2.238 | 4640 | 469.9 |  |  |  | 1.0137
6 | 2.16 | 2.284 | -0.01068 | 2900 | 345.2 | 0 | 115.1 | 19760000000 |  |  | 2.88 | 2.191 | 6960 | 613.8
7 | 2.52 | 2.238 | -0.01068 | 4640 | 469.9 | 0 | 134.3 | 19760000000 |  |  | 3.24 | 2.145 | 9943 | 776.8
8 | 2.88 | 2.191 | -0.01067 | 6960 | 613.8 | 0 | 153.4 | 19760000000 |  |  | 3.6 | 2.099 | 13670 | 959
9 | 3.24 | 2.145 | -0.01067 | 9943 | 776.8 | 0 | 172.6 | 19760000000 |  |  | 3.96 | 2.053 | 18230 | 1160
10 | 3.6 | 2.099 | -0.01067 | 13670 | 959 | 0 | 191.8 | 19760000000 |  |  | 4.32 | 2.007 | 23700 | 1381
11 | 3.96 | 2.053 | -0.01067 | 18230 | 1160 | 0 | 211 | 19760000000 |  |  | 4.68 | 1.961 | 30160 | 1621
12 | 4.32 | 2.007 | -0.01066 | 23700 | 1381 | 0 | 230.2 | 19760000000 |  |  | 5.04 | 1.915 | 37700 | 1880
13 | 4.68 | 1.961 | -0.01066 | 30160 | 1621 | 0 | 249.3 | 19760000000 |  |  | 5.4 | 1.869 | 46400 | 2158
14 | 5.04 | 1.915 | -0.01065 | 37700 | 1880 | 0 | 268.5 | 19760000000 |  |  | 5.76 | 1.823 | 56340 | 2455
15 | 5.4 | 1.869 | -0.01064 | 46400 | 2158 | 0 | 287.7 | 19760000000 |  |  | 6.12 | 1.777 | 67610 | 2772
16 | 5.76 | 1.823 | -0.01063 | 56340 | 2455 | 0 | 306.9 | 19760000000 |  |  | 6.48 | 1.731 | 80290 | 3107
17 | 6.12 | 1.777 | -0.01061 | 67610 | 2772 | 0 | 326.1 | 19760000000 |  |  | 6.84 | 1.686 | 94460 | 3462
18 | 6.48 | 1.731 | -0.0106 | 80290 | 3107 | 0 | 345.2 | 19760000000 |  |  | 7.2 | 1.64 | 110200 | 3839
19 | 6.84 | 1.686 | -0.01058 | 94460 | 3462 | 0 | 364.4 | 19760000000 |  |  | 7.56 | 1.594 | 127600 | 4246
20 | 7.2 | 1.64 | -0.01056 | 110200 | 3839 | 0 | 390.2 | 19760000000 |  |  | 7.92 | 1.549 | 146900 | 4685
21 | 7.56 | 1.594 | -0.01053 | 127600 | 4246 | 0 | 422.6 | 19760000000 |  |  | 8.28 | 1.504 | 168100 | 5156
22 | 7.92 | 1.549 | -0.0105 | 146900 | 4685 | 0 | 455 | 19760000000 |  |  | 8.64 | 1.459 | 191400 | 5659
23 | 8.28 | 1.504 | -0.01047 | 168100 | 5156 | 0 | 487.4 | 19760000000 |  |  | 9 | 1.414 | 217000 | 6195
24 | 8.64 | 1.459 | -0.01043 | 191400 | 5659 | 0 | 519.8 | 19760000000 |  |  | 9.36 | 1.369 | 245000 | 6763
25 | 9 | 1.414 | -0.01038 | 217000 | 6195 | 0 | 552.1 | 19760000000 |  |  | 9.72 | 1.324 | 275400 | 7364
26 | 9.36 | 1.369 | -0.01033 | 245000 | 6763 | 0 | 584.5 | 19760000000 |  |  | 10.08 | 1.28 | 308600 | 7997
27 | 9.72 | 1.324 | -0.01028 | 275400 | 7364 | 0 | 616.8 | 19760000000 |  |  | 10.44 | 1.236 | 344500 | 8661
28 | 10.08 | 1.28 | -0.01021 | 308600 | 7997 | 0 | 648.9 | 19760000000 |  |  | 10.8 | 1.192 | 383400 | 9126
29 | 10.44 | 1.236 | -0.01014 | 344500 | 8661 | 0 | 679.1 | 19760000000 |  |  | 11.16 | 1.149 | 423400 | 9320
30 | 10.8 | 1.192 | -0.01006 | 383400 | 9126 | -0.3825 | 251.6 | 19760000000 |  |  | 11.52 | 1.106 | 463900 | 9407
31 | 11.16 | 1.149 | -0.009973 | 423400 | 9320 | -23.01 | 135.2 | 19760000000 |  |  | 11.88 | 1.064 | 504700 | 9398
32 | 11.52 | 1.106 | -0.009876 | 463900 | 9407 | -45.26 | 39.06 | 19760000000 |  |  | 12.24 | 1.022 | 545100 | 9293
33 | 11.88 | 1.064 | -0.00977 | 504700 | 9398 | -67.5 | -57.04 | 19760000000 |  |  | 12.6 | 0.9804 | 584900 | 9132
34 | 12.24 | 1.022 | -0.009655 | 545100 | 9293 | -89.75 | -153.1 | 19760000000 |  |  | 12.96 | 0.9395 | 624000 | 8954
35 | 12.6 | 0.9804 | -0.009532 | 584900 | 9132 | -93.48 | -169.3 | 19760000000 |  |  | 13.32 | 0.8992 | 662300 | 8761
36 | 12.96 | 0.9395 | -0.009399 | 624000 | 8954 | -97.21 | -185.4 | 19760000000 |  |  | 13.68 | 0.8595 | 699700 | 8551
37 | 13.32 | 0.8992 | -0.009259 | 662300 | 8761 | -100.9 | -201.5 | 19760000000 |  |  | 14.04 | 0.8205 | 736200 | 8326
38 | 13.68 | 0.8595 | -0.00911 | 699700 | 8551 | -104.7 | -217.6 | 19760000000 |  |  | 14.4 | 0.7821 | 771700 | 8074
39 | 14.04 | 0.8205 | -0.008953 | 736200 | 8326 | -108.4 | -233.7 | 19760000000 |  |  | 14.76 | 0.7445 | 806000 | 7787
40 | 14.4 | 0.7821 | -0.008788 | 771700 | 8074 | -116.6 | -269.2 | 19760000000 |  |  | 15.12 | 0.7077 | 838900 | 7465
41 | 14.76 | 0.7445 | -0.008616 | 806000 | 7787 | -124.9 | -304.8 | 19760000000 |  |  | 15.48 | 0.6716 | 870400 | 7107
42 | 15.12 | 0.7077 | -0.008436 | 838900 | 7465 | -133.1 | -340.3 | 19760000000 |  |  | 15.84 | 0.6364 | 900300 | 6711
43 | 15.48 | 0.6716 | -0.008249 | 870400 | 7107 | -141.3 | -375.8 | 19760000000 |  |  | 16.2 | 0.602 | 928400 | 6274
44 | 15.84 | 0.6364 | -0.008056 | 900300 | 6711 | -150.6 | -416.1 | 19760000000 |  |  | 16.56 | 0.5685 | 954500 | 5798
45 | 16.2 | 0.602 | -0.007856 | 928400 | 6274 | -159.9 | -456.4 | 19760000000 |  |  | 16.92 | 0.5359 | 978500 | 5281
46 | 16.56 | 0.5685 | -0.00765 | 954500 | 5798 | -169.3 | -496.6 | 19760000000 |  |  | 17.28 | 0.5043 | 1000000 | 4724
47 | 16.92 | 0.5359 | -0.007439 | 978500 | 5281 | -178.6 | -536.9 | 19760000000 |  |  | 17.64 | 0.4735 | 1019000 | 4163
48 | 17.28 | 0.5043 | -0.007223 | 1000000 | 4724 | -187.9 | -577.2 | 19760000000 |  |  | 18 | 0.4438 | 1036000 | 3637
49 | 17.64 | 0.4735 | -0.007002 | 1019000 | 4163 | -180.4 | -544.5 | 19760000000 |  |  | 18.36 | 0.415 | 1051000 | 3144
50 | 18 | 0.4438 | -0.006777 | 1036000 | 3637 | -172.1 | -508.7 | 19760000000 |  |  | 18.72 | 0.3872 | 1063000 | 2665
51 | 18.36 | 0.415 | -0.006549 | 1051000 | 3144 | -164.6 | -476.2 | 19760000000 |  |  | 19.08 | 0.3604 | 1074000 | 2183
52 | 18.72 | 0.3872 | -0.006318 | 1063000 | 2665 | -165.7 | -481.1 | 19760000000 |  |  | 19.44 | 0.3346 | 1082000 | 1699
53 | 19.08 | 0.3604 | -0.006084 | 1074000 | 2183 | -166.3 | -483.6 | 19760000000 |  |  | 19.8 | 0.3099 | 1088000 | 1214
54 | 19.44 | 0.3346 | -0.005849 | 1082000 | 1699 | -166.6 | -485 | 19760000000 |  |  | 20.16 | 0.2861 | 1093000 | 732.2
55 | 19.8 | 0.3099 | -0.005612 | 1088000 | 1214 | -166.3 | -483.8 | 19760000000 |  |  | 20.52 | 0.2634 | 1095000 | 253.6
56 | 20.16 | 0.2861 | -0.005373 | 1093000 | 732.2 | -165.6 | -480.7 | 19760000000 |  |  | 20.88 | 0.2418 | 1095000 | -218
57 | 20.52 | 0.2634 | -0.005134 | 1095000 | 253.6 | -164.6 | -476.4 | 19760000000 |  |  | 21.24 | 0.2211 | 1093000 | -680.2
58 | 20.88 | 0.2418 | -0.004895 | 1095000 | -218 | -162.4 | -466.8 | 19760000000 |  |  | 21.6 | 0.2015 | 1089000 | -1131
59 | 21.24 | 0.2211 | -0.004656 | 1093000 | -680.2 | -160.3 | -457.7 | 19760000000 |  |  | 21.96 | 0.183 | 1083000 | -1568
60 | 21.6 | 0.2015 | -0.004417 | 1089000 | -1131 | -157.1 | -444.1 | 19760000000 |  |  | 22.32 | 0.1654 | 1075000 | -2034
61 | 21.96 | 0.183 | -0.00418 | 1083000 | -1568 | -153.7 | -429.4 | 19760000000 |  |  | 22.68 | 0.1489 | 1066000 | -2571
62 | 22.32 | 0.1654 | -0.003944 | 1075000 | -2034 | -170.9 | -503.6 | 19760000000 |  |  | 23.04 | 0.1334 | 1053000 | -3170
63 | 22.68 | 0.1489 | -0.00371 | 1066000 | -2571 | -186.1 | -569.1 | 19760000000 |  |  | 23.4 | 0.1189 | 1038000 | -3826
64 | 23.04 | 0.1334 | -0.003478 | 1053000 | -3170 | -199.9 | -629 | 19760000000 |  |  | 23.76 | 0.1053 | 1020000 | -4535
65 | 23.4 | 0.1189 | -0.00325 | 1038000 | -3826 | -212.7 | -684.4 | 19760000000 |  |  | 24.12 | 0.09272 | 999000 | -5284
66 | 23.76 | 0.1053 | -0.003025 | 1020000 | -4535 | -224 | -733 | 19760000000 |  |  | 24.48 | 0.08107 | 974500 | -6062
67 | 24.12 | 0.09272 | -0.002804 | 999000 | -5284 | -231.1 | -763.9 | 19760000000 |  |  | 24.84 | 0.07035 | 946600 | -6832
68 | 24.48 | 0.08107 | -0.002589 | 974500 | -6062 | -238 | -793.5 | 19760000000 |  |  | 25.2 | 0.06052 | 915500 | -7542
69 | 24.84 | 0.07035 | -0.002379 | 946600 | -6832 | -227 | -746.1 | 19760000000 |  |  | 25.56 | 0.05156 | 881400 | -8181
70 | 25.2 | 0.06052 | -0.002175 | 915500 | -7542 | -210.1 | -672.9 | 19760000000 |  |  | 25.92 | 0.04343 | 844800 | -8756
71 | 25.56 | 0.05156 | -0.001979 | 881400 | -8181 | -194.5 | -605.7 | 19760000000 |  |  | 26.28 | 0.03609 | 805800 | -9272
72 | 25.92 | 0.04343 | -0.00179 | 844800 | -8756 | -180.3 | -544.4 | 19760000000 |  |  | 26.64 | 0.02952 | 764700 | -9698
73 | 26.28 | 0.03609 | -0.00161 | 805800 | -9272 | -167.4 | -488.7 | 19760000000 |  |  | 27 | 0.02367 | 722000 | -10000
74 | 26.64 | 0.02952 | -0.001438 | 764700 | -9698 | -138.1 | -361.9 | 19760000000 |  |  | 27.36 | 0.0185 | 678300 | -10200
75 | 27 | 0.02367 | -0.001275 | 722000 | -10000 | -111.4 | -246.4 | 19760000000 |  |  | 27.72 | 0.01397 | 633900 | -10290
76 | 27.36 | 0.0185 | -0.001122 | 678300 | -10200 | -87.55 | -143.5 | 19760000000 |  |  | 28.08 | 0.01004 | 589300 | -10310
77 | 27.72 | 0.01397 | -0.000979 | 633900 | -10290 | -66.5 | -52.62 | 19760000000 |  |  | 28.44 | 0.006668 | 544900 | -10250
78 | 28.08 | 0.01004 | -0.0008453 | 589300 | -10310 | -48.07 | 27.01 | 19760000000 |  |  | 28.8 | 0.003809 | 500800 | -10120
79 | 28.44 | 0.006668 | -0.0007214 | 544900 | -10250 | -32.11 | 95.99 | 19760000000 |  |  | 29.16 | 0.001423 | 457400 | -9941
80 | 28.8 | 0.003809 | -0.0006071 | 500800 | -10120 | -18.44 | 155 | 19760000000 |  |  | 29.52 | -0.0005312 | 414900 | -9714
81 | 29.16 | 0.001423 | -0.0005024 | 457400 | -9941 | -6.929 | 204.7 | 19760000000 |  |  | 29.88 | -0.002094 | 373500 | -9444
82 | 29.52 | -0.0005312 | -0.000407 | 414900 | -9714 | 3.293 | 248.9 | 19760000000 |  |  | 30.24 | -0.003303 | 333300 | -9137
83 | 29.88 | -0.002094 | -0.0003209 | 373500 | -9444 | 13.04 | 291 | 19760000000 |  |  | 30.6 | -0.004198 | 294500 | -8800
84 | 30.24 | -0.003303 | -0.0002436 | 333300 | -9137 | 20.66 | 323.9 | 19760000000 |  |  | 30.96 | -0.004815 | 257300 | -8443
85 | 30.6 | -0.004198 | -0.000175 | 294500 | -8800 | 26.37 | 348.6 | 19760000000 |  |  | 31.32 | -0.005189 | 221600 | -8072
86 | 30.96 | -0.004815 | -0.0001147 | 257300 | -8443 | 30.37 | 365.9 | 19760000000 |  |  | 31.68 | -0.005354 | 187500 | -7693
87 | 31.32 | -0.005189 | -6.234e-05 | 221600 | -8072 | 32.87 | 376.7 | 19760000000 |  |  | 32.04 | -0.005342 | 155100 | -7231
88 | 31.68 | -0.005354 | -1.763e-05 | 187500 | -7693 | 34.06 | 381.8 | 19760000000 |  |  | 32.4 | -0.005183 | 125100 | -6616
89 | 32.04 | -0.005342 | 1.982e-05 | 155100 | -7231 | 71.02 | 541.5 | 19760000000 |  |  | 32.76 | -0.004906 | 97960 | -5867
90 | 32.4 | -0.005183 | 5.044e-05 | 125100 | -6616 | 104.8 | 687.6 | 19760000000 |  |  | 33.12 | -0.004536 | 74360 | -5011
91 | 32.76 | -0.004906 | 7.482e-05 | 97960 | -5867 | 133.3 | 810.3 | 19760000000 |  |  | 33.48 | -0.004097 | 54670 | -4140
92 | 33.12 | -0.004536 | 9.365e-05 | 74360 | -5011 | 154.7 | 902.9 | 19760000000 |  |  | 33.84 | -0.003605 | 38600 | -3336
93 | 33.48 | -0.004097 | 0.0001078 | 54670 | -4140 | 140 | 839.6 | 19760000000 |  |  | 34.2 | -0.003078 | 25850 | -2606
94 | 33.84 | -0.003605 | 0.0001179 | 38600 | -3336 | 123.5 | 768.4 | 19760000000 |  |  | 34.56 | -0.002525 | 16090 | -1955
95 | 34.2 | -0.003078 | 0.000125 | 25850 | -2606 | 105.7 | 691.4 | 19760000000 |  |  | 34.92 | -0.001958 | 8959 | -1387
96 | 34.56 | -0.002525 | 0.0001296 | 16090 | -1955 | 86.91 | 610.2 | 19760000000 |  |  | 35.28 | -0.001382 | 4106 | -903
97 | 34.92 | -0.001958 | 0.0001323 | 8959 | -1387 | 67.51 | 526.3 | 19760000000 |  |  | 35.64 | -0.0008025 | 1157 | -475.2
98 | 35.28 | -0.001382 | 0.0001337 | 4106 | -903 | 47.74 | 440.9 | 19760000000 |  |  | 36 | -0.0002217 | -5.741e-11 | -134
99 | 35.64 | -0.0008025 | 0.0001343 | 1157 | -475.2 | 41.65 | 414.6 | 19760000000
100 | 36 | -0.0002217 | 0.0001344 | -5.741e-11 | -134 | 7.69 | 267.9 | 19760000000
Note on E18: tadams: Enter these into the soil properties in PYWall
Note on A67: aibrahimkhail: results from Pywall

## Wall-3 FA
[9 empty] | Made by: | AI | Date: | 2025-01-09 | Job No: | 20230339
[9 empty] | Checked by: | TDA | Date: |  | Sheet No: | 1
[9 empty] | Project: | Bridge ST St_Bowerston |  | PID: | 120494
[9 empty] | Subject: | Temporary Shoring 2 at FWD Abutment
Temporary Shoring 2 at FWD Abutment
Boring Data
Soil Properties Based off of Borring B-001-0-24 | [15 empty] | Layer | Top | Bottom | Depth | Φ | gamma | ka1 | ka2 | Cohesive Strength | K (py) | E50 | typ
[16 empty] | 1 | 939.8 | 933.8 | 6 | 24 | 124 | 0.42173 | 0.42173 | 750 | 80 | 0.015 | Stiff Clay W/O Free Water (Reese)
|  |  | Top of Wall Elevation = | 939.86 | ft | [10 empty] | 2 | 933.8 | 928.3 | 11.5 | 28 | 110 | 0.36103 | 0.36103 | - | 25 | - | Sand (Reese)
|  |  | Bottom of Wall Elevation = | 928 | ft | 16.06 | [9 empty] | 3 | 928.3 | 923.8 | 16 | 28 | 110 | 0.36103 | 0.36103 | - | 25 | - | Sand (Reese)
|  |  | Water Table Elevation = | 923.8 |  |  |  |  | 930.372 | [6 empty] | 4 | 923.8 | 919.3 | 20.5 | 30 | 115 | 0.33333 | 0.33333 | - | 50 | - | Sand (Reese)
|  |  | H (design)= | 9.488 | ft | [10 empty] | 5 | 919.3 | 916.3 | 23.5 | 35 | 127 | 0.27099 | 0.27099 | - | 90 | - | Sand (Reese)
|  |  | Su = |  | psf | (Conservative) | [9 empty] | 6 | 916.3 | 906.3 | 33.5 | - | 126 | #VALUE! | #VALUE! | 1500 | 350 | 0.01 | Stiff Clay With Free Water (Reese)
|  |  | Gamma = | 125 | pcf | [10 empty] | 7 | 906.3 | 901.3 | 38.5 | - | 131 | #VALUE! | #VALUE! | 4500 | 1500 | 0.004 | Stiff Clay With Free Water (Reese)
|  |  | Backslope Angle = | 0
|  |  | Piling Spacing S = | 0 | ft
|  |  | ka1 = | 0.42173
|  |  | ka2 = | 0.42173
|  |  | Water Density = | 62.4 | pcf
|  |  | Surcharge Load Equivalent Height = | 2
|  |  | p multiplier inputted into L-Pile | #REF! | BDM 305.1.2
AASHTO LRFD Load Factors
Reference Tbl. 3.4.1-1 & 3.4.1-2
Limit State |  | EH | LL | WA
Service I |  | 1 | 1 | 1
Strength I |  | 1.5 | 1.75 | 1
Load Pressure Calculations | [14 empty] | y | x
Limit State |  | Depth Below Head (ft) | EH | LL | WA | [9 empty] | 0 | 0
Top of Wall |  | 0 | 0 | 105.4326 | 0 | psf | [8 empty] | 0 | 105.4326
Water Table |  | 16.06 | 846.6234 | 105.4326 | 0 | psf | [8 empty] | 9.488 | 605.6046
Bottom of Wall |  | 9.488 | 500.172 | 105.4326 | 0 | psf | [8 empty] | 9.488 | 0
PYWALL Unfiromly Distributed Load (LL Surcharge) Inputs
Location |  | Service I Min (lbs/in) | Strength I Max (lbs/in)
Top of Wall |  | 250 | 291.6667 | Note: Pywall uses a active earth modification factor, for service case it is 1 but for strength case it is 1.5 and it multiplies surcharge load by 1.5 by default so to get around this in strength case surchage load needs to be multiplied by 1.75/1.5.
Bottom of Wall |  | 250 | 291.6667
SOIL LAYER SETUP FOR PYWALL
No |  | Type |  | Depth at Top of the Layer | Depth at Bottom of Layer | Friction angle Φ | Unit Weight | Cohesive Strength | K (py) (pci) | E50 | Pressure coefficient
1 |  | Stiff Clay W/O Free Water (Reese) |  | 0.06 | 6.06 | 24 | 124 | 750 | 80 | 0.015 | 0.42173 | 0.42173
2 |  | Sand (Reese) |  | 6.06 | 9.488 | 28 | 110 | - | 25 | - | 0.42173 | 0.42173
3 |  | Sand (Reese) |  | 9.488 | 24.38 | 28 | 110 | - | 25 | - | 0.0001 | 0.0001 | all load effects are zero below excavation line.
5 |  | Stiff Clay With Free Water (Reese) |  | 24.38 | 33.56 | - | 126 | 1500 | 350 | 0.01 | 0.0001 | 0.0001
7 |  | Stiff Clay With Free Water (Reese) |  | 33.56 | 38.56 | - | 131 | 4500 | 1500 | 0.004 | 0.0001 | 0.0001
PYWALL results
SHEET PILE
[5 empty] | SECTION = | PZ 27
[5 empty] | Depth = | 32 | ft
[5 empty] | Service Level Deflection = | 1.129 | in | < OK | 1.1386 | "
[5 empty] | Strength Level Deflection = | 1.981 | in | < OK | 2.2771 | "
[5 empty] | Max Strength I Moment Above Excavation Line = | 24.7833 | kip-ft | < OK | 171.75 | k-ft
[5 empty] | Max Strength I Moment Below Excavation Line = | 54.875 | kip-ft | < OK | 171.75 | k-ft
[5 empty] | Max Strength I Shear = | 7.775 | kips | < OK | 108.025 | kips (LRFD Section 6.10.9.2)
STA I | X | DEFL. | SLOPE | MOMENT | SHEAR | SOIL_REACT | NET_FORCE/STA | EI |  |  | Depth (ft) | Deflection (in) | Moment (in-lbs) | Shear ( lbs) |  | Max Moment above |  |  | Max Shear
| FT | IN | RAD | LBS-IN | LBS | LBS/IN | LBS | LBS-IN**2 |  |  | 0 | 1.981 | -1.207e-07 | -6.284e-08 |  | 297400 | lb-in |  | 7775 |  | lbs
------ | ---- | ---- | ----- | ------ | ------ | --------- | --------- | --------- |  |  | 0.32 | 1.937 | -3.62e-07 | 50.28
0 | 0 | 1.981 | -0.01136 | -1.207e-07 | -6.284e-08 | 0 | -3.142e-08 | 8013000000 |  |  | 0.64 | 1.893 | 386.1 | 156.9
1 | 0.32 | 1.937 | -0.01136 | -3.62e-07 | 50.28 | 0 | 100.6 | 8013000000 |  |  | 0.96 | 1.85 | 1205 | 275.5 |  | Max Moment below
2 | 0.64 | 1.893 | -0.01136 | 386.1 | 156.9 | 0 | 112.6 | 8013000000 |  |  | 1.28 | 1.806 | 2502 | 406.2 |  | 658500 | kip-in
3 | 0.96 | 1.85 | -0.01136 | 1205 | 275.5 | 0 | 124.7 | 8013000000 |  |  | 1.6 | 1.763 | 4324 | 548.9
4 | 1.28 | 1.806 | -0.01136 | 2502 | 406.2 | 0 | 136.7 | 8013000000 |  |  | 1.92 | 1.719 | 6718 | 703.7
5 | 1.6 | 1.763 | -0.01136 | 4324 | 548.9 | 0 | 148.8 | 8013000000 |  |  | 2.24 | 1.675 | 9729 | 870.5
6 | 1.92 | 1.719 | -0.01136 | 6718 | 703.7 | 0 | 160.8 | 8013000000 |  |  | 2.56 | 1.632 | 13400 | 1049
7 | 2.24 | 1.675 | -0.01135 | 9729 | 870.5 | 0 | 172.9 | 8013000000 |  |  | 2.88 | 1.588 | 17790 | 1240
8 | 2.56 | 1.632 | -0.01135 | 13400 | 1049 | 0 | 184.9 | 8013000000 |  |  | 3.2 | 1.545 | 22930 | 1443
9 | 2.88 | 1.588 | -0.01134 | 17790 | 1240 | 0 | 196.9 | 8013000000 |  |  | 3.52 | 1.501 | 28870 | 1658
10 | 3.2 | 1.545 | -0.01133 | 22930 | 1443 | 0 | 209 | 8013000000 |  |  | 3.84 | 1.458 | 35660 | 1885
11 | 3.52 | 1.501 | -0.01132 | 28870 | 1658 | 0 | 221 | 8013000000 |  |  | 4.16 | 1.414 | 43350 | 2125
12 | 3.84 | 1.458 | -0.0113 | 35660 | 1885 | 0 | 233.1 | 8013000000 |  |  | 4.48 | 1.371 | 51980 | 2376
13 | 4.16 | 1.414 | -0.01128 | 43350 | 2125 | 0 | 245.1 | 8013000000 |  |  | 4.8 | 1.328 | 61600 | 2639
14 | 4.48 | 1.371 | -0.01126 | 51980 | 2376 | 0 | 257.2 | 8013000000 |  |  | 5.12 | 1.285 | 72250 | 2914
15 | 4.8 | 1.328 | -0.01123 | 61600 | 2639 | 0 | 269.2 | 8013000000 |  |  | 5.44 | 1.242 | 83980 | 3201
16 | 5.12 | 1.285 | -0.0112 | 72250 | 2914 | 0 | 281.3 | 8013000000 |  |  | 5.76 | 1.199 | 96840 | 3501
17 | 5.44 | 1.242 | -0.01116 | 83980 | 3201 | 0 | 293.3 | 8013000000 |  |  | 6.08 | 1.157 | 110900 | 3812
18 | 5.76 | 1.199 | -0.01112 | 96840 | 3501 | 0 | 305.4 | 8013000000 |  |  | 6.4 | 1.114 | 126100 | 4136
19 | 6.08 | 1.157 | -0.01107 | 110900 | 3812 | 0 | 317.4 | 8013000000 |  |  | 6.72 | 1.072 | 142600 | 4471
20 | 6.4 | 1.114 | -0.01101 | 126100 | 4136 | 0 | 329.5 | 8013000000 |  |  | 7.04 | 1.03 | 160500 | 4819
21 | 6.72 | 1.072 | -0.01095 | 142600 | 4471 | 0 | 341.5 | 8013000000 |  |  | 7.36 | 0.9884 | 179600 | 5178
22 | 7.04 | 1.03 | -0.01088 | 160500 | 4819 | 0 | 353.6 | 8013000000 |  |  | 7.68 | 0.9471 | 200200 | 5549
23 | 7.36 | 0.9884 | -0.0108 | 179600 | 5178 | 0 | 365.2 | 8013000000 |  |  | 8 | 0.9062 | 222300 | 5930
24 | 7.68 | 0.9471 | -0.0107 | 200200 | 5549 | 0 | 375.9 | 8013000000 |  |  | 8.32 | 0.8657 | 245800 | 6322
25 | 8 | 0.9062 | -0.0106 | 222300 | 5930 | 0 | 386.6 | 8013000000 |  |  | 8.64 | 0.8256 | 270800 | 6725
26 | 8.32 | 0.8657 | -0.01049 | 245800 | 6322 | 0 | 397.3 | 8013000000 |  |  | 8.96 | 0.7861 | 297400 | 7138
27 | 8.64 | 0.8256 | -0.01037 | 270800 | 6725 | 0 | 408 | 8013000000 |  |  | 9.28 | 0.747 | 325600 | 7562
28 | 8.96 | 0.7861 | -0.01023 | 297400 | 7138 | 0 | 418.7 | 8013000000 |  |  | 9.6 | 0.7086 | 355500 | 7775
29 | 9.28 | 0.747 | -0.01008 | 325600 | 7562 | 0 | 429.4 | 8013000000 |  |  | 9.92 | 0.6709 | 385300 | 7735
30 | 9.6 | 0.7086 | -0.009918 | 355500 | 7775 | -0.7 | -2.585 | 8013000000 |  |  | 10.24 | 0.6338 | 414900 | 7621
31 | 9.92 | 0.6709 | -0.009741 | 385300 | 7735 | -20.28 | -77.78 | 8013000000 |  |  | 10.56 | 0.5975 | 443900 | 7435
32 | 10.24 | 0.6338 | -0.009549 | 414900 | 7621 | -39.16 | -150.3 | 8013000000 |  |  | 10.88 | 0.5621 | 472000 | 7176
33 | 10.56 | 0.5975 | -0.009343 | 443900 | 7435 | -58.05 | -222.8 | 8013000000 |  |  | 11.2 | 0.5275 | 499000 | 6844
34 | 10.88 | 0.5621 | -0.009124 | 472000 | 7176 | -76.93 | -295.3 | 8013000000 |  |  | 11.52 | 0.4938 | 524600 | 6440
35 | 11.2 | 0.5275 | -0.008891 | 499000 | 6844 | -95.76 | -367.6 | 8013000000 |  |  | 11.84 | 0.4611 | 548400 | 5964
36 | 11.52 | 0.4938 | -0.008646 | 524600 | 6440 | -114.6 | -440 | 8013000000 |  |  | 12.16 | 0.4293 | 570400 | 5425
37 | 11.84 | 0.4611 | -0.008389 | 548400 | 5964 | -133.5 | -512.5 | 8013000000 |  |  | 12.48 | 0.3987 | 590100 | 4839
38 | 12.16 | 0.4293 | -0.008121 | 570400 | 5425 | -147.5 | -566.4 | 8013000000 |  |  | 12.8 | 0.3691 | 607500 | 4217
39 | 12.48 | 0.3987 | -0.007843 | 590100 | 4839 | -157.7 | -605.5 | 8013000000 |  |  | 13.12 | 0.3407 | 622500 | 3563
40 | 12.8 | 0.3691 | -0.007556 | 607500 | 4217 | -166.4 | -639 | 8013000000 |  |  | 13.44 | 0.3133 | 634900 | 2892
41 | 13.12 | 0.3407 | -0.007261 | 622500 | 3563 | -173.8 | -667.3 | 8013000000 |  |  | 13.76 | 0.2872 | 644700 | 2214
42 | 13.44 | 0.3133 | -0.00696 | 634900 | 2892 | -176 | -675.9 | 8013000000 |  |  | 14.08 | 0.2623 | 651900 | 1534
43 | 13.76 | 0.2872 | -0.006653 | 644700 | 2214 | -177.2 | -680.2 | 8013000000 |  |  | 14.4 | 0.2385 | 656500 | 854.9
44 | 14.08 | 0.2623 | -0.006342 | 651900 | 1534 | -177.2 | -680.4 | 8013000000 |  |  | 14.72 | 0.2159 | 658500 | 181.1
45 | 14.4 | 0.2385 | -0.006029 | 656500 | 854.9 | -176.3 | -677 | 8013000000 |  |  | 15.04 | 0.1946 | 657900 | -484.6
46 | 14.72 | 0.2159 | -0.005714 | 658500 | 181.1 | -174.6 | -670.5 | 8013000000 |  |  | 15.36 | 0.1745 | 654700 | -1139
47 | 15.04 | 0.1946 | -0.005398 | 657900 | -484.6 | -172.2 | -661 | 8013000000 |  |  | 15.68 | 0.1556 | 649100 | -1779
48 | 15.36 | 0.1745 | -0.005084 | 654700 | -1139 | -168.8 | -648 | 8013000000 |  |  | 16 | 0.1378 | 641100 | -2399
49 | 15.68 | 0.1556 | -0.004771 | 649100 | -1779 | -164.4 | -631.1 | 8013000000 |  |  | 16.32 | 0.1213 | 630700 | -2998
50 | 16 | 0.1378 | -0.004462 | 641100 | -2399 | -159 | -610.4 | 8013000000 |  |  | 16.64 | 0.1059 | 618100 | -3570
51 | 16.32 | 0.1213 | -0.004158 | 630700 | -2998 | -152.7 | -586.1 | 8013000000 |  |  | 16.96 | 0.09167 | 603300 | -4114
52 | 16.64 | 0.1059 | -0.003858 | 618100 | -3570 | -145.6 | -558.9 | 8013000000 |  |  | 17.28 | 0.07853 | 586500 | -4623
53 | 16.96 | 0.09167 | -0.003566 | 603300 | -4114 | -137.6 | -528.4 | 8013000000 |  |  | 17.6 | 0.06647 | 567800 | -5095
54 | 17.28 | 0.07853 | -0.003281 | 586500 | -4623 | -127.8 | -490.5 | 8013000000 |  |  | 17.92 | 0.05546 | 547300 | -5527
55 | 17.6 | 0.06647 | -0.003004 | 567800 | -5095 | -117.8 | -452.3 | 8013000000 |  |  | 18.24 | 0.04545 | 525300 | -5919
56 | 17.92 | 0.05546 | -0.002737 | 547300 | -5527 | -107.4 | -412.5 | 8013000000 |  |  | 18.56 | 0.03641 | 501900 | -6271
57 | 18.24 | 0.04545 | -0.00248 | 525300 | -5919 | -96.85 | -371.8 | 8013000000 |  |  | 18.88 | 0.0283 | 477200 | -6576
58 | 18.56 | 0.03641 | -0.002234 | 501900 | -6271 | -86.25 | -331.1 | 8013000000 |  |  | 19.2 | 0.02106 | 451400 | -6832
59 | 18.88 | 0.0283 | -0.001999 | 477200 | -6576 | -73.02 | -280.3 | 8013000000 |  |  | 19.52 | 0.01465 | 424700 | -7032
60 | 19.2 | 0.02106 | -0.001777 | 451400 | -6832 | -60.38 | -231.8 | 8013000000 |  |  | 19.84 | 0.009027 | 397400 | -7169
61 | 19.52 | 0.01465 | -0.001567 | 424700 | -7032 | -43.64 | -167.5 | 8013000000 |  |  | 20.16 | 0.004132 | 369600 | -7247
62 | 19.84 | 0.009027 | -0.00137 | 397400 | -7169 | -27.73 | -106.4 | 8013000000 |  |  | 20.48 | -8.13e-05 | 341700 | -7271
63 | 20.16 | 0.004132 | -0.001186 | 369600 | -7247 | -13.08 | -50.12 | 8013000000 |  |  | 20.8 | -0.003666 | 313800 | -7226
64 | 20.48 | -8.13e-05 | -0.001015 | 341700 | -7271 | 0.4963 | 2.009 | 8013000000 |  |  | 21.12 | -0.006674 | 286200 | -7102
65 | 20.8 | -0.003666 | -0.0008584 | 313800 | -7226 | 22.72 | 87.35 | 8013000000 |  |  | 21.44 | -0.009155 | 259200 | -6909
66 | 21.12 | -0.006674 | -0.0007146 | 286200 | -7102 | 42.03 | 161.5 | 8013000000 |  |  | 21.76 | -0.01116 | 233100 | -6657
67 | 21.44 | -0.009155 | -0.0005839 | 259200 | -6909 | 58.59 | 225.1 | 8013000000 |  |  | 22.08 | -0.01273 | 208100 | -6356
68 | 21.76 | -0.01116 | -0.0004659 | 233100 | -6657 | 72.54 | 278.6 | 8013000000 |  |  | 22.4 | -0.01392 | 184300 | -6015
69 | 22.08 | -0.01273 | -0.0003602 | 208100 | -6356 | 84.06 | 322.9 | 8013000000 |  |  | 22.72 | -0.01478 | 161900 | -5643
70 | 22.4 | -0.01392 | -0.0002662 | 184300 | -6015 | 93.34 | 358.5 | 8013000000 |  |  | 23.04 | -0.01533 | 141000 | -5247
71 | 22.72 | -0.01478 | -0.0001832 | 161900 | -5643 | 100.5 | 386.2 | 8013000000 |  |  | 23.36 | -0.01563 | 121600 | -4833
72 | 23.04 | -0.01533 | -0.0001106 | 141000 | -5247 | 105.9 | 406.7 | 8013000000 |  |  | 23.68 | -0.0157 | 103900 | -4408
73 | 23.36 | -0.01563 | -4.767e-05 | 121600 | -4833 | 109.5 | 420.6 | 8013000000 |  |  | 24 | -0.01558 | 87770 | -3978
74 | 23.68 | -0.0157 | 6.367e-06 | 103900 | -4408 | 111.6 | 428.6 | 8013000000 |  |  | 24.32 | -0.0153 | 73320 | -3548
75 | 24 | -0.01558 | 5.229e-05 | 87770 | -3978 | 112.3 | 431.4 | 8013000000 |  |  | 24.64 | -0.01488 | 60530 | -3132
76 | 24.32 | -0.0153 | 9.089e-05 | 73320 | -3548 | 111.8 | 429.6 | 8013000000 |  |  | 24.96 | -0.01435 | 49270 | -2743
77 | 24.64 | -0.01488 | 0.000123 | 60530 | -3132 | 104.9 | 402.9 | 8013000000 |  |  | 25.28 | -0.01373 | 39460 | -2384
78 | 24.96 | -0.01435 | 0.0001493 | 49270 | -2743 | 97.42 | 374.2 | 8013000000 |  |  | 25.6 | -0.01304 | 30970 | -2055
79 | 25.28 | -0.01373 | 0.0001705 | 39460 | -2384 | 89.63 | 344.3 | 8013000000 |  |  | 25.92 | -0.01229 | 23680 | -1756
80 | 25.6 | -0.01304 | 0.0001874 | 30970 | -2055 | 81.71 | 313.9 | 8013000000 |  |  | 26.24 | -0.0115 | 17480 | -1487
81 | 25.92 | -0.01229 | 0.0002005 | 23680 | -1756 | 73.81 | 283.5 | 8013000000 |  |  | 26.56 | -0.01068 | 12250 | -1248
82 | 26.24 | -0.0115 | 0.0002104 | 17480 | -1487 | 66.05 | 253.7 | 8013000000 |  |  | 26.88 | -0.009832 | 7893 | -1032
83 | 26.56 | -0.01068 | 0.0002175 | 12250 | -1248 | 58.52 | 224.8 | 8013000000 |  |  | 27.2 | -0.008971 | 4329 | -832.8
84 | 26.88 | -0.009832 | 0.0002223 | 7893 | -1032 | 54.09 | 207.8 | 8013000000 |  |  | 27.52 | -0.008102 | 1497 | -651.4
85 | 27.2 | -0.008971 | 0.0002252 | 4329 | -832.8 | 49.54 | 190.3 | 8013000000 |  |  | 27.84 | -0.00723 | -673.3 | -487.8
86 | 27.52 | -0.008102 | 0.0002266 | 1497 | -651.4 | 44.91 | 172.6 | 8013000000 |  |  | 28.16 | -0.00636 | -2250 | -342.3
87 | 27.84 | -0.00723 | 0.0002268 | -673.3 | -487.8 | 40.23 | 154.6 | 8013000000 |  |  | 28.48 | -0.005493 | -3302 | -214.9
88 | 28.16 | -0.00636 | 0.0002261 | -2250 | -342.3 | 35.52 | 136.5 | 8013000000 |  |  | 28.8 | -0.004633 | -3900 | -105.6
89 | 28.48 | -0.005493 | 0.0002248 | -3302 | -214.9 | 30.79 | 118.3 | 8013000000 |  |  | 29.12 | -0.00378 | -4113 | -14.53
90 | 28.8 | -0.004633 | 0.0002231 | -3900 | -105.6 | 26.05 | 100.2 | 8013000000 |  |  | 29.44 | -0.002934 | -4011 | 58.41
91 | 29.12 | -0.00378 | 0.0002212 | -4113 | -14.53 | 21.33 | 82 | 8013000000 |  |  | 29.76 | -0.002096 | -3664 | 113.3
92 | 29.44 | -0.002934 | 0.0002192 | -4011 | 58.41 | 16.61 | 63.88 | 8013000000 |  |  | 30.08 | -0.001265 | -3142 | 150.1
93 | 29.76 | -0.002096 | 0.0002174 | -3664 | 113.3 | 11.9 | 45.81 | 8013000000 |  |  | 30.4 | -0.0004393 | -2512 | 168.8
94 | 30.08 | -0.001265 | 0.0002157 | -3142 | 150.1 | 7.206 | 27.77 | 8013000000 |  |  | 30.72 | 0.0003816 | -1845 | 168.9
95 | 30.4 | -0.0004393 | 0.0002144 | -2512 | 168.8 | 2.511 | 9.745 | 8013000000 |  |  | 31.04 | 0.001199 | -1215 | 154.1
96 | 30.72 | 0.0003816 | 0.0002134 | -1845 | 168.9 | -2.5 | -9.495 | 8013000000 |  |  | 31.36 | 0.002015 | -661.3 | 127.1
97 | 31.04 | 0.001199 | 0.0002126 | -1215 | 154.1 | -5.261 | -20.1 | 8013000000 |  |  | 31.68 | 0.002829 | -238.5 | 86.11
98 | 31.36 | 0.002015 | 0.0002122 | -661.3 | 127.1 | -8.879 | -33.99 | 8013000000 |  |  | 32 | 0.003642 | 0 | 31.06
99 | 31.68 | 0.002829 | 0.000212 | -238.5 | 86.11 | -12.52 | -47.99 | 8013000000
100 | 32 | 0.003642 | 0.0002119 | 0 | 31.06 | -16.2 | -62.11 | 8013000000
Note on E18: tadams: Enter these into the soil properties in PYWall
Note on E21: tadams: Traffic is more than 0.5x the height of the wall away from the wall.
Note on A65: aibrahimkhail: results from Pywall

## SCRATCH
[6 empty] | degrees | radians
0.46947 |  |  |  | internal friction | Φ | 28 | 0.48869
0.46947 |  |  |  | backslope | ß | 0 | 0
1 |  |  |  | friction | delta | 0 | 0
1 |  |  |  | angle of … | 𝜃 or alpha | 90 | 1.5708
= (1+ | 0.46947 | = | 2.1593
0.88295
1
1
= | 0.36103

## Wall A - Section 2 OLD (hidden)
[6 empty] | Made by: | RJE | Date: | 2002-03-08 | Job No: | 20110903
[6 empty] | Checked by: |  | Date: |  | Sheet No: | 1
[6 empty] | Project: | HAM-75-7.85 |  | PID: | 77889
[6 empty] | Subject: | Temporary Wall A - Section 2
Temporary Wall A - Section 2
Soil Properties Based off of Borring B-162
Design Height Based on Pile #9
Top of Wall Elevation = | #REF!
Bottom of Wall Elevation = | 515.27 | ft
Water Table Elevation = | 511.7
H (design)= | #REF! | ft
Su = | 1000 | psf | (Conservative)
Gamma = | 115 | pcf
Piling Spacing S = | 8.5 | ft
ka = | 0.47 | Boring B-162 indicates upper layers are soft to medium stiff clay
Water Density = | 62.4 | pcf
Surcharge Load Equivalent Height = | 0 | Traffic is greater than .5*H from back of wall
p multiplier inputted into L-Pile | 0.76139 | BDM 305.1.2
AASHTO LRFD Load Factors
Reference Tbl. 3.4.1-1 & 3.4.1-2
Limit State |  | EH | LL | WA
Service I |  | 1 | 1 | 1
Strength I |  | 1.5 | 1.75 | 1
Load Pressure Calculations
Limit State |  | EH | LL | WA
Top of Wall | 0.1 | #REF! | 0 | #REF! | psf
Water Table | #REF! | #REF! | 0 | #REF! | psf
Bottom of Wall | #REF! | #REF! | 0 | #REF! | psf
Lpile Distributed Load Inputs
Location | Depth Below Head (ft) | Service I Min (lbs/in) | Strength I Max (lbs/in)
Top of Wall | 0.1 | #REF! | #REF!
Water Table | #REF! | #REF! | #REF!
Bottom of Wall | #REF! | #REF! | #REF!
Per L-Pile Results Below, Depth of 3'-0" Diameter Drilled Shaft = | 35 | ft
Diameter of Drilled Shaft = | 3 | ft
Soldier Pile Section = | W24x176 |  |  | Allowable/Capacity
Max Service Level Deflection = | 3.22 | in | #REF! | #REF!
Max Strength I Moment Above Drilled Shaft = | 382.9221 | kip-ft | < OK | 1748.45 | k-ft
Max Strength I Moment Below Drilled Shaft = | 763.2975 | kip-ft | < OK | 1916.25 | k-ft
Max Strength I Shear = | 76.426 | kips | < OK | 548.1 | kips (LRFD Section 6.10.9.2)
Note on B10: REly: Average Top of Ground elevation triburary to Pile #9.
Note on B16: rely: Average between the two adjacent spans of 12' and 5'.
Note on B21: rely: Conservatively set this to the 5' spacing p multiplier on the one side of the pile.
Note on B41: tadams: do we need to be this deep?
Note on B43: tadams: By upsizing to the W27-146 we have less than 3" clear from the edge of shaft to tip of pile, which is less than what is typically desired for steel clearance in drilled shafts. Lets switch this out to a 24x176.

## Walls A - Section 3_Old (hidden)
[6 empty] | Made by: | RJE | Date: | 2023-03-08 | Job No: | 20110903
[6 empty] | Checked by: |  | Date: |  | Sheet No: | 1
[6 empty] | Project: | HAM-75-7.85 |  | PID: | 77889
[6 empty] | Subject: | Temporary Wall A - Section 3
Temporary Wall A - Section 3
Soil Properties Based off of Borring B-162
Design Height Based on Pile #11
Top of Wall Elevation = | 527.33
Bottom of Wall Elevation = | 515.27 | ft
Water Table Elevation = | 511.7
H (design)= | 12.06 | ft
Su = | 1000 | psf | (Conservative)
Gamma = | 115 | pcf
Piling Spacing S = | 5 | ft
ka = | 0.47 | Boring B-162 indicates upper layers are soft to medium stiff clay
Water Density = | 62.4 | pcf
Surcharge Load Equivalent Height = | 0 | Traffic is greater than .5*H from back of wall
p multiplier inputted into L-Pile | 0.81008 | BDM 305.1.2
AASHTO LRFD Load Factors
Reference Tbl. 3.4.1-1 & 3.4.1-2
Limit State |  | EH | LL | WA
Service I |  | 1 | 1 | 1
Strength I |  | 1.5 | 1.75 | 1
Load Pressure Calculations
Limit State |  | EH | LL | WA
Top of Wall | 0.1 | 5.405 | 0 | 0 | psf
Water Table | 15.63 | 844.8015 | 0 | 0 | psf
Bottom of Wall | 12.06 | 651.843 | 0 | 0 | psf
Lpile Distributed Load Inputs
Location | Depth Below Head (ft) | Service I Min (lbs/in) | Strength I Max (lbs/in)
Top of Wall | 0.1 | 2.2521 | 3.3781
Water Table | 15.63 | 352.0006 | 528.0009
Bottom of Wall | 12.06 | 271.6013 | 407.4019
Per L-Pile Results Below, Depth of 3'-0" Diameter Drilled Shaft = | 25 | ft
Diameter of Drilled Shaft = | 2.5 | ft
Soldier Pile Section = | W21x44 |  |  | Allowable/Capacity
Max Service Level Deflection = | 2.8818 | in | < OK | 2.8944
Max Strength I Moment Above Drilled Shaft = | 123.5318 | kip-ft | < OK | 229.943 | k-ft
Max Strength I Moment Below Drilled Shaft = | 303.5763 | kip-ft | < OK | 357.75 | k-ft
Max Strength I Shear = | 29.478 | kips | < OK | 210.105 | kips (LRFD Section 6.10.9.2)
Note on B10: REly: Conservatively take existing top of concrete slope protection at face of abutment (elevation per survey points and record plan info)
Note on E45: tadams: just pulled this from enercalc
Note on E46: tadams: just pulled this from Enercalc