## WATER WORK
STAGE 3
|  | STATION |  | SIDE | LENGTH | 202 |  | 638
[6 empty] | PIPE REMOVED, 24" AND UNDER | VALVE BOX REMOVED | 8" WATER MAIN DUCTILE IRON PIPE ANSI CLASS 52, MECHANICAL JOINTS AND FITTINGS, AS PER PLAN | 10" WATER MAIN DUCTILE IRON PIPE ANSI CLASS 52, MECHANICAL JOINTS AND FITTINGS, AS PER PLAN | 1" COPPER SERVICE BRANCH | 8" GATE VALVE AND BOX, AS PER PLAN | 10" GATE VALVE AND BOX, AS PER PLAN | SPECIAL - 1" CURB VALVE AND BOX, CITY OF MEDINA STANDARDS | WATER WORK MISC.: WATER MAIN FITTINGS FOR USE WITH CLASS 52 DUCTILE IRON WATER MAIN | WATER WORK MISC.: TEMPORARY FLUSING ASSEMBLY
REF. | SHEET
NO. | NO.
|  | FROM | TO |  |  | FT | EACH | FT | FT | FT | EACH | EACH | EACH | EACH | EACH
10 " WATER MAIN
W1 | 33 | 1000 |  | ¦ | [7 empty] | 1 |  | 1
W2 | 33,34 | 1000 | 1156.93 | ¦ | 156.93 |  |  |  | 157 | [5 empty] | 1
W3 | 34 | 1005 |  | ¦ | [9 empty] | 1
W4 | 34 | 1024 |  | ¦ | [9 empty] | 1
W5 | 33 | 1030 |  | ¦ | [9 empty] | 1
W6 | 33 | 1042.76 |  | ¦ | [9 empty] | 1
W7 | 34 | 1080.9 |  | ¦ | [9 empty] | 1
W8 | 34 | 1097 |  | ¦ | [9 empty] | 1
W9 | 33 | 1152.16 |  | ¦ | [9 empty] | 1
W10 |  | 1156.93 |  | ¦ | [7 empty] | 1 |  | 1
RW1 |  | 1000 | 1156.93 | ¦ | 151 | 151
RW2 |  | 1156.9 |  | ¦ |  |  | 1
8 " WATER MAIN
W11 | 33 | 63204.5 | 2023.3 | RT | 29.4 |  |  |  |  | 30 |  |  | 1
W12 | 33 | 2000 |  | ¦ | [6 empty] | 1 |  |  | 1
W13 | 33 | 2000 | 2140.83 | ¦ | 140.83 |  |  | 141 | [6 empty] | 1
W14 | 33 | 2006.85 | [11 empty] | 1
W15 | 34 | 2038.5 | [11 empty] | 1
W16 | 34 | 2064.5 | [11 empty] | 1
W17 | 34 | 2094.5 | [11 empty] | 1
W18 | 34 | 2115.5 | [11 empty] | 1
W19 | 33 | 2131.36 | [11 empty] | 1
W20 | 33 | 2140.83 | [8 empty] | 1 |  |  | 1
RW3 | 33 | 2000 |  | ¦ |  |  | 1
RW4 | 33 | 2000 | 2140.83 | ¦ | 137 | 137
RW5 | 33 | 2023.27 |  |  |  |  | 1
RW6 | 33 | 2140.83 |  |  |  |  | 1
TOTALS CARRIED | [5 empty] | 288 | 4 | 141 | 157 | 30 | 2 | 2 | 1 | 17 | 2
TO GENERAL SUMMARY