## CONTROL CENTER DATA TABLE
CONTROL CENTER DATA
CONTROL CENTER DESIGNATION | LINE VOLTS | CONNECTED LOAD (KVA) | SERVICE ENTRANCE CONDUCTOR SIZE - AWG | ENCLOSURE RATING (AMPS) | CIRCUIT NO. | CIRCUIT LOAD AMPS | CIRCUIT FUSE SIZE AMPS | CIRCUIT CABLE SIZE AWG | MAINTAINING AGENCY
PROPOSED CC - 'GR' | 480 | 3.7104 | 2 | 60 | 1 | 7.73 | 10 | # 4 | ODOT DISTRICT 4
| 120 |  | 1/0
| 240 |  | 2/0
| 480 |  | 2