## SUBSUMMARY
1 |  |  |  | SPREADSHEET | 1) | SAVE THIS FILE TO THE PROPER FOLDER FOR YOUR PROJECT AS THE SAME NAME AS YOUR DGN (I.E. #####GS001.XLSX)
|  |  |  | INSTRUCTIONS: | 2) | DO NOT ENTER ANY DATA INTO THE ITEM NUMBER, ITEM DESCRIPTION & ITEM UNITS
[5 empty] | 3) | ENTER ITEM CODE (FOR EXAMPLE: 201E11000) AND ADDITIONAL DESCRIPTION INTO THE BLUE CELLS
[5 empty] | 4) | ENTER ALL DATA REQUIRED, PAGE # AND SPLIT # MUST BE FILLED OUT.
[5 empty] | 5) | DO NOT REMOVE THE PROTECTION FROM THIS SPREADSHEET, LEAVE THE PROTECTION ON SO THAT YOU DO NOT DELETE NEEDED FORMULAS OR RESIZE SHEET
| Page # | SUBSUMMARY SHEET P.99 | [23 empty] | <--- ENTER STARTING SHEET NUMBER
| P.99 | ITEM_CODE | [6 empty] | 625E00450 | 625E00480 | 625E10503 | 625E10503 | 625E14100 | 625E15700 | 625E23200 | 625E23400 | 625E24320 | 625E25500 | 625E26253 | 625E26263 | 625E29002 | 625E30700 | 625E32000 | 625E34001 | 625E36010
|  | ADDITIONAL_DESCRIPTION | [8 empty] | , CONVENTIONAL, AT20B40 | , HIGH MAST, BB45 |  | 36" X 8' DEEP |  |  |  |  | (IES-III, LED, 10,000-12,000 LUMENS) | (IES-III, LED, 39,000-48,500 LUMENS)
| Split # | SHEET NO. |  |  |  |  | SIDE | POLE/PULL BOX NO. | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625 | 625
[9 empty] | CONNECTION, FUSED PULL APART | CONNECTION, UNFUSED PERMANENT | LIGHT POLE (INSTALLATION ONLY), AS PER PLAN, CONVENTIONAL, AT20B40 | LIGHT POLE (INSTALLATION ONLY), AS PER PLAN, HIGH MAST, BB45 | LIGHT POLE FOUNDATION, 24" X 8' DEEP | LIGHT TOWER FOUNDATION, MISC.: 36" X 8' DEEP | NO. 4 AWG 2400 VOLT DISTRIBUTION CABLE | NO. 10 AWG POLE AND BRACKET CABLE | 1-1/2" DUCT CABLE WITH THREE NO. 4 AWG 2400 VOLT CABLES | CONDUIT, 3", 725.04 | LUMINAIRE, CONVENTIONAL, SOLID STATE (LED), AS PER PLAN (IES-III, LED, 10,000-12,000 LUMENS) | LUMINAIRE, HIGH MAST, SOLID STATE (LED), AS PER PLAN (IES-III, LED, 39,000-48,500 LUMENS) | TRENCH, 24" DEEP | PULL BOX, 725.08, 18" | GROUND ROD | POWER SERVICE, AS PER PLAN | UNDERGROUND WARNING/MARKING TAPE
STATION
ML - MATCHLINE 90 = I-90 R = RAMP R S = RAMP S TP = TRUCK PARKING
|  |  | FROM |  | TO |  |  |  | EACH | EACH | EACH | EACH | EACH | EACH | FT | FT | FT | FT | EACH | EACH | FT | EACH | EACH | EACH | FT
CKT 'GR'
| 1 | P.100 | 163+37 'R' |  |  |  | RT | GR-17 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 16337 |  | 16768 |  | RT | GR-17 - PB-1 | [8 empty] | 440 |  |  |  | 430 |  |  |  | 430
| 1 |  | 16768 |  |  |  | RT | PB-1 |  | 3 | [11 empty] | 1
| 1 |  | 16768 |  | 17200 |  | RT | PB-1 - GR-16 | [8 empty] | 440 |  |  |  | 430 |  |  |  | 430
| 1 |  | 17200 |  |  |  | RT | GR-16 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 17200 |  | 17400 |  | RT | GR-16 - GR-15 | [8 empty] | 208 |  |  |  | 198 |  |  |  | 198
| 1 |  | 17400 |  |  |  | RT | GR-15 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 17400 |  | 17404 |  | RT | GR-15 - ML | [8 empty] | 9 |  |  |  | 4 |  |  |  | 4
| 1 | P.101 | 17404 |  | 17532 |  | RT | ML - PB-2 | [8 empty] | 130 |  |  |  | 125 |  |  |  | 125
| 1 |  | 17532 |  |  |  | RT | PB-2 |  | 3 | [11 empty] | 1
| 1 |  | 17532 |  | 17550 |  | RT | PB-2 - GR-14 | [8 empty] | 29 |  |  |  | 19 |  |  |  | 19
| 1 |  | 17550 |  |  |  | RT | GR-14 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 17532 |  | 17532 |  | R/L | PB-2 - PB-3 | [6 empty] | 174 |  |  | 48 |  |  | 48 |  |  |  | 48
| 1 |  | 17532 |  |  |  | LT | PB-3 |  | 3 | [11 empty] | 1
| 1 |  | 17532 |  | 11+57 'TP' |  | LT | PB-3 - GR-13 | [8 empty] | 260 |  |  |  | 250 |  |  |  | 250
| 1 |  | 1157 |  |  |  | LT | GR-13 |  |  |  | 1 |  | 1 | [5 empty] | 2 |  |  | 2
| 1 |  | 1157 |  | 1385 |  | LT | GR-13 - GR-12 | [8 empty] | 237 |  |  |  | 227 |  |  |  | 227
| 1 |  | 1385 |  |  |  | LT | GR-12 |  |  |  | 1 |  | 1 | [5 empty] | 2 |  |  | 2
| 1 |  | 1385 |  | 181+43 'S' |  | LT | GR-12 - GR-11 | [8 empty] | 160 |  |  |  | 150 |  |  |  | 150
| 1 |  | 18143 |  |  |  | LT | GR-11 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 18143 |  | 18200 |  | LT | GR-11 - PB-4 | [8 empty] | 64 |  |  |  | 54 |  |  |  | 54
| 1 |  | 18200 |  |  |  | LT | PB-4 |  | 3 | [11 empty] | 1
| 1 |  | 18200 |  | 18200 |  | L/R | PB-4 - PB-5 | [6 empty] | 174 |  |  | 48 |  |  | 48 |  |  |  | 48
| 1 |  | 18200 |  |  |  | RT | PB-5 |  | 3 | [11 empty] | 1
| 1 |  | 11+57 'TP' |  |  |  | RT | GR-10 |  |  |  | 1 |  | 1 | [5 empty] | 2 |  |  | 2
| 1 |  | 1157 |  | 1385 |  | RT | GR-10 - GR-9 | [8 empty] | 238 |  |  |  | 228 |  |  |  | 228
| 1 |  | 1385 |  |  |  | RT | GR-9 |  |  |  | 1 |  | 1 | [5 empty] | 2 |  |  | 2
| 1 |  | 1385 |  | 182+00 'S' |  | RT | GR-9 - PB-5 | [8 empty] | 367 |  |  |  | 357 |  |  |  | 357
| 1 |  | 18200 |  | 18256 |  | RT | PB-5 - GR-8 | [8 empty] | 66 |  |  |  | 56 |  |  |  | 56
| 1 |  | 18256 |  |  |  | RT | GR-8 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 18256 |  | 18486 |  | RT | GR-8 - GR-7 | [8 empty] | 235 |  |  |  | 225 |  |  |  | 225
| 1 |  | 18486 |  |  |  | RT | GR-7 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 18486 |  | 18650 |  | RT | GR-7 - ML | [8 empty] | 168 |  |  |  | 163 |  |  |  | 163
| 1 | P.102 | 18650 |  | 187+16 '90' |  | RT | ML - GR-6 | [8 empty] | 71 |  |  |  | 66 |  |  |  | 66
| 1 |  | 18716 |  |  |  | RT | GR-6 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 18716 |  | 18946 |  | RT | GR-6 - GR-5 | [8 empty] | 240 |  |  |  | 230 |  |  |  | 230
| 1 |  | 18946 |  |  |  | RT | GR-5 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 18946 |  | 19176 |  | RT | GR-5 - GR-4 | [8 empty] | 240 |  |  |  | 230 |  |  |  | 230
| 1 |  | 19176 |  |  |  | RT | GR-4 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 19176 |  | 19406 |  | RT | GR-4 - GR-3 | [8 empty] | 240 |  |  |  | 230 |  |  |  | 230
| 1 |  | 19406 |  |  |  | RT | GR-3 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 19406 |  | 19635 |  | RT | GR-3 - GR-2 | [8 empty] | 240 |  |  |  | 230 |  |  |  | 230
| 1 |  | 19635 |  |  |  | RT | GR-2 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 19635 |  | 19864 |  | RT | GR-2 - GR-1 | [8 empty] | 240 |  |  |  | 230 |  |  |  | 230
| 1 |  | 19864 |  |  |  | RT | GR-1 | 2 |  | 1 |  | 1 |  |  | 180 |  |  | 1 |  |  |  | 1
| 1 |  | 19864 |  | 20025 |  | RT | GR-1 - PB-6 | [8 empty] | 173 |  |  |  | 163 |  |  |  | 163
| 1 |  | 20025 |  |  |  | RT | PB-6 |  | 3
| 1 |  | 20025 |  | 20025 |  | RT | PB-6 - CC 'GR' | [6 empty] | 90 |  |  | 15 |  |  | 15 |  |  |  | 15
| 1 |  | 20025 |  |  |  | RT | CC 'GR' | [15 empty] | 1
1
1
| Total | TOTALS CARRIED TO GENERAL SUMMARY | [6 empty] | 26 | 18 | 13 | 4 | 13 | 4 | 438 | 2340 | 4495 | 111 | 13 | 8 | 4406 | 5 | 21 | 1 | 4406