## ODOT Rain - Ramp S
ODOT rainfall - Area A |  |  |  | time of concentration DA3 |  | #REF!
|  |  |  | time of concentration DA4 |  | 20.7055
| storm yr | a | b | c | rainfall intensity (in/hr)
| 2 | 46.184 | 9 | 0.859 | #REF!
| 5 | 56.985 | 10.25 | 0.851 | #REF!
| 10 | 64.167 | 11 | 0.842 | #REF!
| 25 | 66.528 | 11 | 0.811 | #REF!
| 50 | 65.702 | 10.75 | 0.782 | #REF!
| 100 | 64.489 | 10.5 | 0.754 | #REF!
| Drainage Area 3 |  |  | Drainage Area 4
| Q5 |  |  | Q5
| C | #REF! |  | C | 0.78922
| I (in/hr) | #REF! |  | I (in/hr) | #REF!
| A | #REF! |  | A | 2.0803
| Q (cfs) | #REF! |  | Q (cfs) | #REF!
| Q10 |  |  | Q10
| C | #REF! |  | C | 0.78922
| I (in/hr) | #REF! |  | I (in/hr) | #REF!
| A | #REF! |  | A | 2.0803
| Q (cfs) | #REF! |  | Q (cfs) | #REF!
| Q50 |  |  | Q50
| C | #REF! |  | C | 0.78922
| I (in/hr) | #REF! |  | I (in/hr) | #REF!
| A | #REF! |  | A | 2.0803
| Q (cfs) | #REF! |  | Q (cfs) | #REF!
| Q25 |  |  | Q25
| C | #REF! |  | C | 0.78922
| I (in/hr) | #REF! |  | I (in/hr) | #REF!
| A | #REF! |  | A | 2.0803
| Q (cfs) | #REF! |  | Q (cfs) | #REF!
| Q100 |  |  | Q100
| C | #REF! |  | C | 0.78922
| I (in/hr) | #REF! |  | I (in/hr) | #REF!
| A | #REF! |  | A | 2.0803
| Q (cfs) | #REF! |  | Q (cfs) | #REF!

## ODOT ToC (DA 1)- Ramp S
TIME OF CONCENTRATION - DA-1
PID: | 122880
AREA: | 2.0803
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 | 0.7682 |  | 0.46092
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 1.3121 |  | 1.1809
C Average |  | 0.78922 | Total Area | 2.0803 | Total C x A | 1.6418
SHEET ELEVATIONS
HIGH PT | LOW POINT
1166 | 1164
SHALLOW ELEVATIONS
HIGH PT | LOW POINT
OPEN CHANNEL ELEVATIONS
HIGH PT | LOW POINT
1164 | 1159.79
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 300 |  | 0.001 |  | 683
S (Slope, %) |  | 0.66667 |  | 0 |  | 0.6164
k (Intercept coeff.) |  |  |  | 0.0001 |  | 0.457
Velocity (fps) |  |  |  | 0 |  | 1.184
Time of Concentration (min.) |  | 11.0914 |  | 0 |  | 9.6141
Total Time of Concentration (min.) | [5 empty] | 20.7055
Min. Tc (min.) |  | 15 |  |  |  | 20.7055

## ODOT ToC (DA 2a)- Ramp S
TIME OF CONCENTRATION - DA-2a
PID: | 122880
AREA: | 2.4164
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 | 1.5046 |  | 0.90276
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 0.9118 |  | 0.82062
C Average |  | 0.7132 | Total Area | 2.4164 | Total C x A | 1.7234
SHEET ELEVATIONS
HIGH PT | LOW POINT
1165 | 1163
SHALLOW ELEVATIONS
HIGH PT | LOW POINT
1163 | 1158.68
OPEN CHANNEL ELEVATIONS
HIGH PT | LOW POINT
1158.68 | 1154.95
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 282 |  | 488 |  | 185.6192
S (Slope, %) |  | 0.70922 |  | 0.88525 |  | 2.0095
k (Intercept coeff.) |  |  |  | 0.457 |  | 0.457
Velocity (fps) |  |  |  | 1.4189 |  | 2.1378
Time of Concentration (min.) |  | 13.1106 |  | 5.732 |  | 1.4471
Total Time of Concentration (min.) | [5 empty] | 20.2897
Min. Tc (min.) |  | 15 |  |  |  | 20.2897

## ODOT ToC (DA 2b)- Ramp S
TIME OF CONCENTRATION - DA-2b
PID: | 122880
AREA: | 0.6264
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 | 0.4071 |  | 0.24426
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 0.2193 |  | 0.19737
C Average |  | 0.70503 | Total Area | 0.6264 | Total C x A | 0.44163
SHEET ELEVATIONS
HIGH PT | LOW POINT
SHALLOW ELEVATIONS
HIGH PT | LOW POINT
OPEN CHANNEL ELEVATIONS
HIGH PT | LOW POINT
1154.95 | 1151.69
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 0 |  | 0.001 |  | 245.7725
S (Slope, %) |  | 0 |  | 0 |  | 1.3264
k (Intercept coeff.) |  |  |  | 0.0001 |  | 0.457
Velocity (fps) |  |  |  | 0 |  | 1.7369
Time of Concentration (min.) |  | 0 |  | 0 |  | 2.3584
Total Time of Concentration (min.) | [5 empty] | 2.3584
Min. Tc (min.) |  | 15 |  |  |  | 15

## ODOT ToC (DA 3)- Truck Parking
TIME OF CONCENTRATION - DA-3
PID: | 122880
AREA: | 0.2551
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 |  |  | 0
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 0.2551 |  | 0.22959
C Average |  | 0.9 | Total Area | 0.2551 | Total C x A | 0.22959
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 38 |  | 0.001 |  | 162
S (Slope, %) |  | 1.65 |  | 0 |  | 1.2
k (Intercept coeff.) |  |  |  | 0.0001 |  | 0.457
Velocity (fps) |  |  |  | 0 |  | 1.652
Time of Concentration (min.) |  | 1.878 |  | 0 |  | 1.6343
Total Time of Concentration (min.) | [5 empty] | 3.5124
Min. Tc (min.) |  | 10 |  |  |  | 10

## ODOT ToC (DA 4)- Truck Park
TIME OF CONCENTRATION - DA-4
PID: | 122880
AREA: | 0.2345
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 |  |  | 0
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 0.2345 |  | 0.21105
C Average |  | 0.9 | Total Area | 0.2345 | Total C x A | 0.21105
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 38 |  | 0.001 |  | 162
S (Slope, %) |  | 1.65 |  | 0 |  | 1.2
k (Intercept coeff.) |  |  |  | 0.0001 |  | 0.457
Velocity (fps) |  |  |  | 0 |  | 1.652
Time of Concentration (min.) |  | 1.878 |  | 0 |  | 1.6343
Total Time of Concentration (min.) | [5 empty] | 3.5124
Min. Tc (min.) |  | 10 |  |  |  | 10

## ODOT ToC (DA5-DA9)-Truck Park
TIME OF CONCENTRATION - DA-5 to DA-9
PID: | 122880
AREA: | 0.2357
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 |  |  | 0
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 0.2357 |  | 0.21213
C Average |  | 0.9 | Total Area | 0.2357 | Total C x A | 0.21213
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 38 |  | 0.001 |  | 162
S (Slope, %) |  | 1.65 |  | 0 |  | 1.2
k (Intercept coeff.) |  |  |  | 0.0001 |  | 0.457
Velocity (fps) |  |  |  | 0 |  | 1.652
Time of Concentration (min.) |  | 1.878 |  | 0 |  | 1.6343
Total Time of Concentration (min.) | [5 empty] | 3.5124
Min. Tc (min.) |  | 10 |  |  |  | 10

## ODOT ToC (DA 10)-Truck Parking
TIME OF CONCENTRATION - DA-10
PID: | 122880
AREA: | 0.4545
|  |  | C value | Area (ac) |  | C x A
|  | Woods | 0.3 |  |  | 0
|  |  | 0.35 |  |  | 0
|  |  | 0.4 |  |  | 0
|  |  | 0.45 |  |  | 0
|  | Residential | 0.5 |  |  | 0
|  |  | 0.55 |  |  | 0
|  | Cultivated | 0.6 |  |  | 0
|  |  | 0.65 |  |  | 0
|  |  | 0.7 |  |  | 0
|  | Paved | 0.9 | 0.4545 |  | 0.40905
C Average |  | 0.9 | Total Area | 0.4545 | Total C x A | 0.40905
NEIGHBOR |  | SHEET |  | SHALLOW |  | OPEN CHANNEL
L (Length of flow, ft.) |  | 38 |  | 0.001 |  | 162
S (Slope, %) |  | 1.65 |  | 0 |  | 1.2
k (Intercept coeff.) |  |  |  | 0.0001 |  | 0.457
Velocity (fps) |  |  |  | 0 |  | 1.652
Time of Concentration (min.) |  | 1.878 |  | 0 |  | 1.6343
Total Time of Concentration (min.) | [5 empty] | 3.5124
Min. Tc (min.) |  | 10 |  |  |  | 10

## SCS lag
SCS lag method
CN | 79
L (ft) | 6560
slope (%) | 4.9
Storage | 2.6582
T-lag (hr) | 0.66675
T-lag (min) | 40.0048
Tc (hr) | 1.1112
Tc (min) | 66.6747

## TR55 ToC
TR55 method
sheet flow
| L (ft) | 300
| n | 0.24
| s (ft/ft) | 0.03
| P2 (in) | 2.4
| sheet flow time (hr) |  | 0.56235
shallow concentrated flow
| L (ft) | 1145 |  | paved
| surface | unpaved |  | unpaved
| s (ft/ft) | 0.013
| velocity | 1.8396
| shallow conc flow time (hr) |  | 0.17289
channel/pipe flow
| L (ft) | 5115
| V (ft/sec) | 8
| channel/pipe flow itme (min) |  | 0.1776
TOTAL TIME OF CONCENTRATION (hr) |  |  | 0.91285
TOTAL TIME OF CONCENTRATION (min) |  |  | 54.771

## DA-RC-TOC Table
DA | AREA | RUNOFF COEFFICIENT | TIME OF CONCENTRATION
1 | 2.0803 | 0.78922 | 20.7055
2a | 2.4164 | 0.7132 | 20.2897
2b | 0.6264 | 0.70503 | 15
DA | AREA | RUNOFF COEFFICIENT | TIME OF CONCENTRATION
3 | 0.2551 | 0.9 | 10
4 | 0.2357 | 0.9 | 10
5 | 0.2357 | 0.9 | 10
6 | 0.2357 | 0.9 | 10
7 | 0.2357 | 0.9 | 10
8 | 0.2357 | 0.9 | 10
9 | 0.2357 | 0.9 | 10
10 | 0.4545 | 0.9 | 10
`