## A
W.E. QUICKSALL AND ASSOCIATES, INC. | [5 empty] | Index No.
New Philadelphia, Ohio
PROJECT: | TUS-GNADENHUTTEN |  |  | Made by | JSK | Date | 2024-07-28
Distribution Calculations |  | Comm No. | 2010 | Chkd. By |  | Date
REV Date
* = Per hand Calc.
Circuit A | [5 empty] | Conductors: | 3
[6 empty] | Ground Wire: | 2
Item (copied from voltage drop) |  | 3" JACK/DRILL | 3" CONDUIT | Length of Run |  | PB Slack | Totals (x5)
From | To
LP1 | PB1 | 41 |  | 41 |  | 5 | 230
LP6 | PB7 |  |  | 98 |  | 5 | 515
LP5 | PB7 | 68 |  | 68 |  | 5 | 365
PB7 | LP4 |  |  | 100 |  | 5 | 525
LP4 | PB5 |  |  | 112 |  | 5 | 585
PB5 | PB6 | 87 |  | 87 |  | 10 | 485
PB6 | DL2 |  |  | 6 |  | 5 | 55
PB5 | PB4 | 72 |  | 72 |  | 10 | 410
PB4 | DL1 |  |  | 8 |  | 5 | 65
PB4 | PB3 |  |  | 130 |  | 10 | 700
LP3 | PB3 | 65 |  | 65 |  | 5 | 350
PB3 | LP2 |  |  | 62 |  | 5 | 335
LP2 | PB2 |  |  | 64 |  | 5 | 345
PB2 | PB1 | 61 |  | 61 |  | 10 | 355
PB1 | CC1 |  |  | 5 |  | 5 | 50
0
0
0
0
0
0
0
0
0
0
0
0
|  | Item 625 - No. 8 AWG 600 Volt Distribution Cable |  |  |  |  | 5370 | ft
|  | Item 625 - Conduit, 3", 725.04 |  |  |  |  | 0 | ft
|  | Item 625 - Conduit, Jacked/Drilled, 3", 725.05 |  |  |  |  | 394 | ft
conductors = 2 (lights) + 1(recepts per ODOT neutral shared) = 3 total
grounds = 1 (lights)+ 1 (recepts) = 2 total
SAME SIZE FOR BOTH CIRCUITS = 6 AWG (THIS APPLIES TO ALL TABS)

## B
W.E. QUICKSALL AND ASSOCIATES, INC. | [5 empty] | Index No.
New Philadelphia, Ohio
PROJECT: | TUS-GNADENHUTTEN |  |  | Made by | JSK | Date | 2024-07-28
Distribution Calculations |  | Comm No. | 2010 | Chkd. By |  | Date
REV Date
* = Per hand Calc.
Circuit B | [5 empty] | Conductors: | 3
[6 empty] | Ground Wire: | 2
Item (copied from voltage drop) |  | 3" JACK/DRILL | 3" CONDUIT | Length of Run |  | PB Slack | Totals (x5)
From | To
LP13 | PB8 | 101 |  | 101 |  | 5 | 530
LP12 | PB8 | 80 |  | 80 |  | 5 | 425
PB8 | LP11 | 76 |  | 76 |  | 5 | 405
LP11 | PB9 | 104 |  | 104 |  | 5 | 545
LP10 | PB9 | 81 |  | 81 |  | 5 | 430
PB9 | PB6 |  |  | 25 |  | 10 | 175
PB6 | PB5 |  |  | 87 |  | 10 | 485
LP7 | PB10 |  |  | 129 |  | 5 | 670
LP8 | PB10 | 77 |  | 77 |  | 5 | 410
PB10 | LP9 |  |  | 70 |  | 5 | 375
LP9 | PB5 |  |  | 72 |  | 5 | 385
PB5 | PB4 |  |  | 72 |  | 10 | 410
PB4 | PB3 |  |  | 130 |  | 10 | 700
PB3 | PB2 |  |  | 126 |  | 10 | 680
PB2 | PB1 |  |  | 61 |  | 10 | 355
PB1 | CC1 |  |  | 5 |  | 5 | 50
0
0
0
0
0
0
0
0
0
0
0
|  | Item 625 - No. 8 AWG 600 Volt Distribution Cable |  |  |  |  | 7030 | ft
|  | Item 625 - Conduit, 3", 725.04 |  |  |  |  | 0 | ft
|  | Item 625 - Conduit, Jacked/Drilled, 3", 725.05 |  |  |  |  | 519 | ft
conductors = 2 (lights) + 1(recepts per ODOT neutral shared) = 3 total
grounds = 1 (lights)+ 1 (recepts) = 2 total
SAME SIZE FOR BOTH CIRCUITS = 6 AWG (THIS APPLIES TO ALL TABS)