WAR-123-28.55

PID 106224

DRAINAGE CALCULATION-RESIDENTIAL DRIVEWAYS LEFT

Due to the close proximity of the driveways, the downstream area was used for both locations.

DA=0.62 AC

TC=17 MIN.

C=0.50

I10=4.2 IN/HR

I50=5.3 IN/HR

Q10 = (0.5)(4.2)(0.62)=1.3 CFS

Q50 = (0.5)(5.3)(0.62)=1.6 CFS